Hellenic Accreditation System

Annex G1/10 to the Certificate No. 847-4 SCOPE of ACCREDITATION of the Clinical Laboratory of “Iatropolis Magnitiki Tomografia S.A.”

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Testing |
| Blood serum Blood serum (continued) | Determination of 25 parameters | Automated biochemical analyzers ALINITY AC03290, AC03291, AC04765 Abbott Laboratories ΜΤ-24-01 «Exam Catalog », version 6, 20/03/2024 |
|  | GLUCOSE | HEXOKINASE/G-6-PDH |
|  | UREA | UREASE |
|  | CHOLESTEROL | ENZYMATIC |
|  | HDL | ACCELERATOR SELECTIVE DETERGENT |
|  | LDL | CALCULATED |
|  | URIC ACID | URICASE |
|  | TRIGLYCERIDES | GLYCEROPHOSPHATE OXIDASE |
|  | CREATININE | PICRIC ACID IN ALCALINE SOLUTION |
|  | TOTAL BILIRUBIN | DIAZONIUM SALT |
|  | DIRECT BILIRUBIN | DIAZONIUM SALT |
|  | TOTAL PROTEIN | BIURET |
|  | ALBUMIN | BROMOCRESOL GREEN |
|  | IRON | FERENE |
|  | CALCIUM | PHOTOMETRIC DETERMINATION WITH ARSENAZO |
|  | PHOSPORUS | PHOSPHOMOLYBDIC ACID |
|  | SGOT/AST | NADH (without P-5'-P) |
|  | SGPT/ALT | NADH (without P-5'-P) |
|  | γGT | L-Gamma-glutamyl-3-carboxy-4-nitroanilide SUBSTRATE |
|  | CPK | IFCC METHOD |
|  | LDH | LACTATE DEHYDROGENASE |
|  | ALP | IFCC METHOD |
|  | MAGNESIUM | ENZYMATIC |
|  | POTASSIUM | ION SELECTIVE ELECTRODE |
|  | SODIUM | ION SELECTIVE ELECTRODE |
|  | CLORIDE | ION SELECTIVE ELECTRODE |
| Whole blood (EDTA) | Glycated hemoglobin (HBA1c (A1C-2) | Anosotholosimetria microparticle agglutination inhibition |
| Immunochemical Testing |
| Blood serum | Determination of 15 parameters | Automated immunochemical analyzers AI20317, AI20318, AI20319, AI03382 Abbott Laboratories ΜΤ-24-01 «Exam Catalog », version 6, 20/03/2024 |
|  | Ferritin | CHEMILUMINESCENCE (CLIA) |
|  | Triidothyronine total (T3) | CHEMILUMINESCENCE (CLIA) |
|  | Thyroxin total (Τ4) | CHEMILUMINESCENCE (CLIA) |
|  | Free Triidothyronine (FT3) | CHEMILUMINESCENCE (CLIA) |
|  | Free Thyroxin (FT4) | CHEMILUMINESCENCE (CLIA) |
|  | Thyrotropin Hormone (TSH) | CHEMILUMINESCENCE (CLIA) |
|  | Anti-thyroid peroxidase antibodies (anti-TPO) | CHEMILUMINESCENCE (CLIA) |
|  | Antithyroglobulin antibodies (anti-TG) | CHEMILUMINESCENCE (CLIA) |
|  | Total prostate-specific antigen (PSA) | CHEMILUMINESCENCE (CLIA) |
|  | Free prostate-specific antigen (Free PSA) | CHEMILUMINESCENCE (CLIA) |
|  | VITAMIN D | CHEMILUMINESCENCE (CLIA) |
|  | VITAMIN B12 | CHEMILUMINESCENCE (CLIA) |
|  | FOLATE | CHEMILUMINESCENCE (CLIA) |
|  | Carcinoembryonic antigen (CEA) | CHEMILUMINESCENCE (CLIA) |
|  | Beta human chorionic gonadotropin (HCG) | CHEMILUMINESCENCE (CLIA) |
| Hematology testing |
| Whole blood (EDTA) | Determination of 17 parameters | Automated analyzer ALINITY HQ0721, HQ1083 Abbott Laboratories ΜΤ-24-01 «Exam Catalog», version 6, 20/03/2024 |
|  | Red Blood Cells (RBC) | Flow cytometry |
|  | Hematocrit (HCT) | Calculated from RBC & MCV |
|  | Mean Cell Volume (ΜCV) | Flow cytometry |
|  | Platelets (PLTs) | Flow cytometry |
|  | Mean corpuscular haemoglobin (MCH) | Calculated from HGB & RBC |
|  | Mean cell haemoglobin concentration (MCHC) | Calculated from HGB & HCT |
|  | Hemoglobin (HGB) | Colorimetric determination |
|  | White Blood Cells (WBC) | Flow cytometry |
|  | Red Distribution Width (RDW) | Calculated |
|  | Mean Platelet Volume (MPV) | Calculated |
|  | PDW | Calculated from PLT & MPV |
|  | PCT | Calculated |
|  | Lymphocytes (LYMPH) | Flow cytometry |
|  | Basophils (BASO) | Flow cytometry |
|  | Monocytes (MONO) | Flow cytometry |
|  | Neutrophils (NEUT) | Flow cytometry |
|  | Eosinophils (EO) | Flow cytometry |
| Blood films | Red Blood Cells’ Morphology / Platelets’ Morphology/ White Blood Cell Differential Count (absolute number and %): Neutrophils, Lymphocytes, Monocytes, Eosinophils, Basophils, Abnormal Cells | Microscopic examination |
| Molecular Testing |
| Tissue Formalin Fixed and Paraffin Embedded (FFPE) | Detection of mutation V600E/V600complex of BRAF gene | EasyPGX ready BRAF multiplex PCR assay DiaTech Pharmacogenetics |
| Tissue Formalin Fixed and Paraffin Embedded (FFPE) | Mutation detection on KRAS gene (Exons: 2, 3, 4) | EasyPGX ready KRAS multiplex PCR assay DiaTech Pharmacogenetics |
| Tissue Formalin Fixed and Paraffin Embedded (FFPE) | Mutation detection on NRAS gene (exons: 2, 3, 4) | EasyPGX ready NRAS multiplex PCR assay DiaTech Pharmacogenetics |
| Tissue Formalin Fixed and Paraffin Embedded (FFPE) | Mutation detection on EGFR gene (exons:18,19,20,21) | EasyPGX ready EGFR multiplex PCR assay DiaTech Pharmacogenetics |
| 1)Cervical smear in PreservCyt Solution CE-IVD vial (ThinPrep PAP TEST) of HOLOGIC/ROCHE company or similar vial of cervical smear accepted by ROCHE, 2) Urine in Colli Pee device UCM CE-IVD of NOVOSANIS company | Qualitative detection and typing of high-risk subtypes 16 & 18 and detection of 12 additional high-risk subtypes (31, 33, 35, 39, 45, 51, 52, 56, 58, 59, 66, 68) collectively without typing them under the name Other High | HPV DNA Cobas Assay ROCHE Diagnostics |
| Histopathology |
| Biopsies and Surgical Specimens from whole Human Body Organs and Systems Formalin Fixed Tissues in 10% neutral buffered Formalin Paraffin Embedded Tissues Biopsy Excisional or Incisional Surgically Resected Specimens | Grossing and Microscopic Examination of tissues, in order to identify or exclude morphological and cytological aberrations from normal, and to establish Histological Diagnosis | Gross and Microscopic Examination Dissection Performed in Bio-Optika Trimming Teck Hood 180 Grossing Station Gross Description According to International and Hellenic Society of Pathology Guidelines (CAP, ADASP, AJCC, FIGO, RCP, TNM,WHO, EEΠΑ, AFIP etc). Tissue processing Αutomated processing dehydration, clearing and paraffin tissue infiltration in closed type tissue processor, τύπου Thermo Scientific EXCELSIOR AS or open type Epredia STP-120-2 Decalcification (mild) Paraffin Embedding System A complete system with a thermal unit, a dispenser unit and a cooling unit Epredia/Histostar Preparation of tissue section on glass slide Automated Microtome Thermo Scientific HM 355S Semi-automated Microtome Epredia HM 340E Semi-automated Microtome Slee-CUT 5062 Haematoxylin / Eosin stain and addition of cover slip on the tissue section Permanent sections with an Automated Slide Stainer Epredia/Gemini AS and an Automated Glass Coverslipper Epredia ClearVue. Rapid H&E, manually |
|  |  | Microscopic Diagnosis Microscopes ΟLYMPUS Mod. BX53 (two) and Μοd. BX46 Microscopic Evaluation and Interpretation of Results. In Neoplasms: grading of malignancy and staging of the disease according to the AJCC recommendations (Cancer Staging Manual 8thEd), classification according to theWHO [ICD-O code] |
| Histochemistry |
| Biopsies and Surgical Specimens from whole Human Body Organs and Systems Formalin Fixed Tissues in 10% neutral buffered Formalin Paraffin Embedded Tissues Biopsy Excisional or Incisional Surgically Resected Specimens | Identification of tissue components and microorganisms. | Special staining: Automated, ready to use kits Closed system, with Automated Slide Stainer and Glass Cover slipper Epredia Gemini AS, for GIEMSA staining Manually for specific stains: MASSON TRICHROME PAS-D PAS PERLS RETICULIN Microscopic Evaluation – Interpretation of Results |
| Immunohistochemistry |
| Biopsies and Surgical Specimens from whole Human Body Organs and Systems Formalin Fixed Tissues in 10% neutral buffered Formalin Paraffin Embedded Tissues Biopsy Excisional or Incisional Surgically Resected Specimens | Detection of Markers and Protein Expression Antibodies 1) Carcinoembryonic Antigen (CEA monoclonal) 2) CD45 (LCA) 3) Chromogranin A 4) Cytokeratin AE1+AE3 5) Ki-67 6) p53 | IMMUNOHISTOCHEMISTRY Automated device for immunohistochemistry and antigen retrieval: Thermo Scientific Autostainer 480S+PT. Morphometric analysis of tumors with immunohistochemistry Semiquantitative method for each antibody; manually (ASI System) Interpretation of Results – Reporting According to International Guidelines. |

*Reference to the commercial name of a specific analyzer,  refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry

Site of assessement : Permanent Laboratory premises, Laboratory main premises, 1 Tatoiou str & Anagenniseos str, 14451 Metamorfosi, Athens, Greece.

Primary sample collection sites:

Permanent Laboratory premises & Company branches:

- Chalandri premise, 56 Ethnikis Antistaseos str, 15231 Chalandri, Athens, Greece

- Argyroupoli premise, 599 Vouliagmeni Avenue, 16452 Argyroupoli, Athens, Greece

- Athens premise, 64 Vasilissis Sofias str, 11528 Athens, Greece

- Keratsini premise, 549 Grigoriou Lambraki  Avn & Sxistou- Skaramgka Avn, 18757 Keratsini, Athens, Greece

- Peristeri premise, 105 Vas. Alexandrou str & Mesologgiou str, 12131 Peristeri, Athens, Greece

- Patision premise, 290 Patision str, 11255 Athens, Greece

- Iliou premise, 29 Iliou str & Chrisiidos str, 13122 Ilion, Athens, Greece

- Metamorfosi premise, 1 Tatoiou str & Anagenniseos str, 14451 Metamorfosi, Athens, Greece.

- Nea Smirni premise, 187 Andrea Syggrou Aven, Nea Smirni 17121, Athens, Greece

Approved signatures : A Vatopoulos, P. Mazarakou, A. Soumila, M. Verzamani, H. Danassi, B. Dedouli, M. Simenidou, I. Adamopoulos, Ι. Moustakas, A. Karameris, S. Psarogiorgou, N. Chaleplidis, Α. Simoulis and E. Tsitsopoulos.

This scope of Accreditation replaces the previous one dated  02.06.2023.

The Accreditation Certificate No. 847-4, to ELOT EN ISO 15189:2012, is valid until 03.12.2024

Athens, 04.06.2024

Christos Nestoras

CEO of ESYD