Hellenic Accreditation System

Annex G1/9 to the Certificate No.940-4 SCOPE of ACCREDITATION of the Clinical Laboratory of EUROMEDICA GENERAL CLINIC OF THESSALONIKI

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| 1. Blood serum Blood serum (continued) | Determination of 24 parameters | Automated biochemical analyzer DIMENSION RXL* |
|  | 1 Glucose | Exokinase (ΗΚ/G-6-PDH) (Document number DP-26, 08/02/2016 Version 2) |
|  | 2. Triglycerides | Enzymatic reaction GPO – PAP (Document number DP-26, 08/02/2016 Version 2) |
|  | 3. Total Cholesterol | Enzymatic reaction CHOD – PAP (Document number DP-26, 08/02/2016 Version 2) |
|  | 4. Uric acid | Enzymatic chromatometric reaction uricase-peroxidase (Document number DP-26, 08/02/2016 Version 2) |
|  | 5. Urea | Enzymatic photometric reaction Urease/GLDH (Document number DP-26, 08/02/2016 Version 2) |
|  | 6. Creatinine | JAFFE METHOD (Document number DP-26, 08/02/2016 Version 2) |
|  | 7. Total Bilirubin | Diazochroma with sulfanilic acid or caffeine benzoate (Jendrassik—Grof) (Document number DP-26, 08/02/2016 Version 2) |
|  | 8. Calcium | Photometric method endpoint O-CPC (Document number DP-26, 08/02/2016 Version 2) |
|  | 9. Phosphorus | Photometric method endpoint PHOSPHOMOLYBDADE (Document number DP-26, 08/02/2016 Version 2) |
|  | 10. Iron | Photometric method FERENE (Document number DP-26, 08/02/2016 Version 2) |
|  | 11. Total protein | Photometric method BIURET (Document number DP-26, 08/02/2016 Version 2) |
|  | 12. Albumin | Photometric method BCP (Document number DP-26, 08/02/2016 Version 2) |
|  | 13. Potassium | Potentiometric ISE (Document number DP-26, 08/02/2016 Version 2) |
|  | 14. Sodium | Potentiometric ISE (Document number DP-26, 08/02/2016 Version 2) |
|  | 15. Serum glutamic-oxaloacetic transaminase SGOT) | Photometric UV method IFCC** with P-5 (Document number DP-26, 08/02/2016 Version 2) |
|  | 16. Serum glutamic-pyruvic transaminase (SGPT) | Photometric UV method IFCC**with P-5 (Document number DP-26, 08/02/2016 Version 2) |
|  | 17. g-glutamyltransferase (GGT) | Enzymatic photometric method GCNA Liquid stand SZASZ (Document number DP-26, 08/02/2016 Version 2) |
|  | 18. Alkaline phosphatase (ALP) | Photometric method AMP buffer (Document number DP-26, 08/02/2016 Version 2) |
|  | 19. Creatinine kinase (CK) | Enzymatic photometric method, Hexokinase (ΗΚ/G-6-PDH) (Document number DP-26, 08/02/2016 Version 2) |
|  | 20. Lactate dehydrogenase (LDH) | Method L(P (NAD) (Document number DP-26, 08/02/2016 Version 2) |
|  | 21. Amylase | Substrate maltotriosidio (G3-PNP ή CNPG3) (Document number DP-26, 08/02/2016 Version 2) |
|  | 22.Magnesium | Methylthymol blue method (Document number DP-26, 08/02/2016 Version 2) |
|  | 23. C-reactive protein high sensitive (hsCRP) | Highly sensitive Particle-Enhanced Turbidimetric Immunoassays (PETIA) (Document number DP-26, 08/02/2016 Version 2) |
|  | 24. CK-MB | Enzymatic method (Document number DP-26, 08/02/2016 Version 2) |
| Immunochemical Tests |
| 1. Blood serum Blood serum (continued) | Determination of 15 parameters | Automated analyzer ADVIA CENTAUR* |
|  | Ferritin | Chemiluminescence (CLIA) (Document number DP-26, 08/02/2016 Version 2) Chemiluminescence (CLIA) (Continued) (Document number DP-26, 08/02/2016 Version 2) |
|  | α-Fetoprotein (AFP) |  |
|  | Carcinoembryonic antigen (CEA) |  |
|  | Cancer antigen CA 125 |  |
|  | Cancer antigen CA 15-3 |  |
|  | Cancer antigen CA 19-9 |  |
|  | Prostate Specific Antigen (PSA) |  |
|  | Free Prostate Specific Antigen (Free-PSA) |  |
|  | Vitamin B12 |  |
|  | Folic acid |  |
|  | Thyrotropin Hormone (TSH) |  |
|  | Free Thyroxin (Free-T4) |  |
|  | Thyroxin total (Τ4) |  |
|  | Free Triidothyronine (Free T3) |  |
|  | Triidothyronine total (T3) |  |
|  | Determination of 10 parameters | Automated analyzer ABBOTT ARCHITECT PLUS i2000 SR* |
| Blood serum | 1.Prolactin (PRL) | Chemiluminescent microparticle immunoassay (CMIA) (Document number DP-26, 08/02/2016 Version 2) |
| Blood serum | 2.Progesterone (PRG) |  |
| Blood serum | 3.Follicle Stimulating Hormone (FSH) |  |
| Blood serum | 4.Luteinizing Hormone (LH) |  |
| Blood serum | 5.Estradiol (E2) |  |
| Blood serum | 6.Testosterone |  |
| Blood serum | 7.Tropopine high sensitive Ι (hs-TnI) |  |
| Blood serum | 8.Anti-thyroid peroxidase antibodies (ANTI-TPO) |  |
| Blood serum | 9.Thyroglobulin antibodies(ANTI-TG) |  |
| Blood serum | 10. β-Human Chorionic Gonadotropin (β-ΗCG) |  |
| Hematological Tests |
| 1. Total blood (EDTA) | Determination of 1 parameter | Immunoturbidimetric method DIMENSION RXL* (Document number DP-26, 08/02/2016 Version 2) |
|  | 1. Determination of glycated hemoglobin A1c ( HbA1C ) |  |
|  | Determination of 8 parameters | Automated analyzers SYSMEX 4000i* |
|  | 1. White Blood Cells (WBC) | cytometry flow with 'laser' diodes. (Document number DP-26, 08/02/2016 Version 2) |
|  | 2. Red Blood Cells (RBC) | DC hydrodynamic focusing (Conductivity method) (Document number DP-26, 08/02/2016 Version 2) |
|  | 3. Hemoglobin (HGB) | Photometric measurement (Document number DP-26, 08/02/2016 Version 2) |
|  | 4. Hematocrit (HCT) | DC hydrodynamic focusing (Conductivity method) (Document number DP-26, 08/02/2016 Version 2) |
|  | 5. Mean Cell Volume (ΜCV) | Calculating (Document number DP-26, 08/02/2016 Version 2) |
|  | 6. Mean Corpuscular Haemoglobin (MCH) | Calculating (Document number DP-26, 08/02/2016 Version 2) |
|  | 7. Mean Corpuscular Haemoglobin Concentration (MCHC) | Calculating (Document number DP-26, 08/02/2016 Version 2) |
|  | 8. Platelets (PLTs) | DC hydrodynamic focusing (Conductivity method) (Document number DP-26, 08/02/2016 Version 2) |
| Coagulation tests |
| Blood plasma (Citrate) | Determination of 4 parameters | Coagulation method Siemens SYSMEX CS-2500* |
|  | 1. Prothrombin time | Coagulation (Document number DP-26, 08/02/2016 Version 2) |
|  | 2: Fibrinogen(FIB) |  |
|  | 3. Partial thromboplastin time (APTT) |  |
|  | 4. INR |  |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry

Site of assessment: Permanent laboratory facilities, 11 M. Kalas str. and 2 Gravias str., Thessaloniki, Greece.

Approved signatories: Malisiovas Nikolaos, Mpakali Eleni, Fiontorova Maria, Kyriazis George, Vaxtsevanou Theodora.

This scope of Accreditation replaces the previous one dated 04.11.2022.

The Accreditation Certificate No. 940-3, to ELOT EN ISO 15189:2012, is valid until 03.11.2027.

Athens, April 11th, 2022

Christos Nestoras

CEO of ESYD