Hellenic Accreditation System

Annex G1/1 to the Certificate No. 1356 SCOPE of ACCREDITATION of the NATIONAL RETROVIRUS REFERENCE CENTER of THE DEPARTMENT OF HYGIENE, EPIDEMIOLOGY AND MEDICAL STATISTICS of THE SCHOOL OF MEDICINE of THE NATIONAL AND KAPODISTRIAN UNIVERSITY OF ATHENS

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques used |
| --- | --- | --- |
| Molecular Biology |
| Plasma samples in EDTA | Detection and quantitation of HIV-1 RNA | Fully automated method with the use of the Cobas HIV-1 (Roche) kit on Roche Cobas 5800 analyzer. Laboratory protocol: Ο.520-3, version 1, 1/9/2022 |
| Plasma samples in EDTA | Detection and quantitation of HIV-1 RNA | Fully automated method with the use of the NeuMoDx HIV-1 Quant test Strip on the NeuMoDx™ 96 Molecular System Laboratory protocol: Ο.520-4, version 1, 1/9/2022 |
| Whole blood samples collected in EDTA | Qualitative detection of the HLA-B 5701 allelle. | Real-time PCR method with the use of the HLA-B5701 Real Fast Assay (CE-IVD) kit, running on Rotor-Gene QMDX Laboratory protocol: Ο.520-6, version 1, 1/9/2022 |
| Immunology |
| Plasma and/or serum samples | Simultaneous qualitative detection of the HIV p24 antigen and antibodies to HIV1/2. | Fully automated method with the use of the Architect HIV Ag/Ab Combo Reagent Kit on Architect i2000SR ABBOTT analyzer. Laboratory protocol: Ο.520-2, version 1, 1/9/2022 |
| Plasma and/or serum samples | Qualitative assay for the confirmation and differentiation of individual antibodies to HIV-1 and HIV-2. | Single use immunochromatographic test to be read automatically on Biorad Geenius Reader Laboratory protocol: Ο.520-1, version 1, 1/9/2022 |

Site of assessment: National Retrovirus Reference Center, Department of Hygiene, Epidemiology and Medical Statistics, School of Medicine, National and Kapodistrian University of Athens, 75 M.Asias str, Goudi, Athens,

GR-11527

Approved signatories: G. Magiorkinis

The Accreditation Certificate No. 1356, to ELOT EN ISO 15189:2012, is valid until 31.05.2028.

Athens, 01.06.2023

Christos Nestoras                                                                                                                                                      CEO of ESYD