Hellenic Accreditation System

| Annex F1/XI2 to the Certificate No. 05-5 SCOPE of ACCREDITATION of the Department Veterinary Laboratory of Patras of the Directorate of Athens Veterinary Center of the Hellenic Ministry of Rural Development and Food |
| --- |
| Tested materials/ products | Types of test/ Properties to be measured | Applied standards/ Techniques to be used |
| Microbiological Tests |
| 1. -Foods in form of liquid or powder (Cat. 1). -Homogeneous solid food (Cat. 2). | 1. Enumeration of the total aerobic microorganisms at 30oC. | MD.07-PAVL ISO 4833-1:2013 |
|  | 2. Detection and enumeration of Enterobacteriaceae | MD.06-PAVL ISO 21528-2:2017 |
| 2. Food except foods in form of liquid or powder, homogeneous solid food and small solid food (Cat. 4). | 1. Detection of Listeria monocytogenes | MD.02-PAVL ISO 11290-1:2017 |
|  | 2. Detection of Salmonella spp (except Typhi & Paratyphi) | MD.01-PAVL ISO 6579-1:2017 |
|  | 2. Detection and enumeration of Enterobacteriaceae | MD.06-PAVL ISO 21528-2:2017 |
|  | 3. Enumeration of E.coli | MD.08-PAVL ISO 16649-2:2001 |
| Tested materials/ products | Types of test/ Properties to be measured | Applied standards/ Techniques to be used |
| 4. Homogeneous solid food (Cat. 2) and animal feeding stuffs. | 1. Detection of Listeria monocytogenes | MD.02-PAVL ISO 11290-01:2017 |
|  | 2. Detection of Salmonella spp (except Typhi & Paratyphi) | MD.01-PAVL ISO 6579-1:2017 |
| 5. Homogeneous solid food (Cat. 2). | 1. Enumeration of E.coli | MD.08-PAVL ISO 16649-2:2001 |
| Chemical Tests |
| 1. Milk | Determination of alkaline phosphate (ALP). | MD.03-PAVL ISO 11816-1:2013 |
| 2. Cheese | Determination of alkaline phosphate (ALP). | MD.04-PAVL ISO 11816-2:2016 |
| Biochemical Tests |
| 1. Milk, fish, eggs, meat and honey. | Qualitative determination of chloramphenicol (screening) | MD.09-PAVL Validated according to the requirements of the Decision EU/808/2021 Elisa kit Biopharm/Ridascreen R1511 |
| Serologic Tests |
| 1. Blood serum samples of ruminants. | Detection of antibodies against Brucella abortus/ B.melitensis/ B. suis | MD.05-PAVL Rose Bengal Test (R.B.T.) according to Annex III, Part 1 of the Commission Delegated Regulation (EU) 2020/689. |

Site of assessment: Laboratory permanent premises: 15, Notara str, Patras, Greece.

Approved signatories: A. Kaponi, S. Spyropoulos., P, Zotos, T. Charalabopoulos.

This Scope of Accreditation replaces the previous one dated 18.01.2022.

The Accreditation Certificate No. 05-5, according to ΕΛΟΤ EN ISO/IEC 17025:2017, is valid until 05.09.2024.

Athens, 18.12.2023

Christos Nestoras

CEO of ESYD