Hellenic Accreditation System

Annex F1/19 to the Certificate No. 490-5 SCOPE of ACCREDITATION of the High Voltage Service Providing Laboratory Unit (SPLU) of the School of Electrical and Computer Engineering of the National Technical University of Athens for the performance of tests

| Materials / Products to be tested | Types of tests / Properties to be measured | Applied Methods / Techniques to be used |
| --- | --- | --- |
| Electrical Tests |
| Resilient floor coverings and installed floors | Measurement for resistance to earth, surface and vertical resistance | ELOT ΕΝ 1081 Ε2:2019 + A1:2020 ΕLΟΤ ΕΝ 1081:1998* Guide 1/2004 Hellenic Ministry of Health and Welfare ELOT ΕΝ 61340.04.01:2004 +Α1:2015 Test can be also performed on-site |
| Soil | Soil resistivity measurement | IEEE Std. 81:2012 §7.2.3 Test is performed on-site |
| Grounding systems | Step and touch voltages measurement | IEEE Std. 81:2012 §9 HD 637 S1:2000, Annex G Test is performed on-site |
| Grounding systems | Grounding resistance measurement | IEEE Std. 81:2012 §8.2.2.4 ANSI IEEE Std. 80:2013 §19.1.1 ΕLΟΤ ΕΝ 50522 Ε2:2022 Annex L2 HD 637 S1:2000, Annex N Test is performed on-site |
| Power cables up to 500kV | Lightning impulse voltage tests | IEC 60502-2:2014 §18.2.8, 18.3.5 IEC 60840:2020 §12.4.7 IEC 62067:2022BS 7870-4.10:2011+Α1:2016 §8.2.7 BS 7870-4.20:2011+Α1:2016 §8.2.7 BS 7835:2007 §21.7 BS 6622:2007 §20.7 SANS 1339:2017 §4.6.2.4 |
| Instrument Transformers | Impulse voltage tests (20 kV – 750 kV) | ELOT ΕΝ 61869-1:2009 §7.2.3 ELOT ΕΝ 61869-2:2012 §7.2.3 ELOT ΕΝ 61869-3: 2011 §7.2.3 |
| Electric power lines, substations, High Voltage kits | Measurement of electric and magnetic low frequency fields (0 Hz – 400 kHz) | ELOT ΕΝ 61786-01:2014 IEC 61786-2:2014 ELOT ΕΝ 61786-01:2014 Common Ministerial Decision 3060 (FOR) 238 (Hellenic Gazette 512/Β/25-4-2002) ANSI IEEE Std. 644:2019 §4, §6 Test is performed on-site |
| Electronic and electrical apparatus in the railway environment | Measurement of electric and magnetic low frequency fields (0 Hz – 400 kHz) | ΕLΟΤ ΕΝ 50500:2008 + Α1:2015 ΕLΟΤ EN IEC 62311 Ε2: 2020 Test is performed on-site |
| Electronic and electrical equipment in the automotive environment | Measurement of electric and magnetic low frequency fields (0 Hz – 400 kHz) | ΕLΟΤ EN IEC 62764-1: 2022 Test is performed on-site |
| Lighting equipment | Assessment of lighting equipment related to human exposure to electromagnetic Field | ELOT EN 62493 Ε2:2015+Α1:2022 §6 |
| Information technology equipment | Safety – Touch current and protective conductor current measurement | ELOT EN 60950-1 Ε2:2006 §5.1 +Α1:2010 + Α11:2009 +Α12:2011 +Α2:2013* ELOT ΕΝ 62368-1 E2:2020 +Α11:2020 |
|  | Safety – Test of electric strength | ELOT EN 60950-1 Ε2:2006 §5.2 +Α1:2010 +Α11:2009 +Α12:2011 +Α2:2013* ELOT ΕΝ 62368-1 E2:2020 +Α11:2020 |
|  | Safety –Resistance of earthing conductors and their termination measurement | ELOT EN 60950-1 Ε2:2006 §2.6.3.4 +Α1:2010 +Α11:2009 +Α12:2011+Α2:2013* ELOT ΕΝ 62368-1 E2:2020 +Α11:2020 |
| Electromagnetic Compatibility Tests |
| Information technology equipment | Measurement of conducted disturbance** Measurement of conducted disturbance** Measurement of conducted disturbance** | ELOT ΕΝ 55032 Ε2:2015 +A11:2020 + A1:2020 ELOT ΕΝ 55022 Ε5:2010 +AC:2011* ELOT ΕΝ 55032: 2012 +AC:2013* |
| Household appliances |  | ELOT EN IEC 55014-1 Ε5:2021 ΕLΟΤ ΕΝ 55014-1 Ε4:2017 +A11:2020* |
| Electrical lighting and similar equipment |  | ELOT EN 55015 Ε6: 2013 +A1:2015* ELOT EN IEC 55015 Ε7:2019+A11:2020 |
| Industrial,scientific and medical (ISM) radio-frequency equipment |  | ΕLOT EN 55011 E5:2016 +A1:2017 +A11:2020+Α2:2021 |
| Equipment for residential, commercial and light-industrial environments |  | ΕLOT EN 61000.06.03 Ε2: 2007 +Α1:2011* ELOT EN IEC 61000-6-3 Ε3:2021 |
| Professional equipment in commercial and light-industrial locations |  | ELOT EN IEC 61000-6-8:2020 |
| Equipment for industrial environments |  | ΕLOT EN 61000.06.04 Ε2: 2007 +Α1:2011* ELOT ΕΝ IEC 61000.06.04 E3:2019 |
| Automatic electrical controls |  | IEC 60730-1:2022 ELOT EN 60730-1 Ε5:2016 +A1:2019 + A2 :2022 ELOT EN 60730-1:2011* |
| Home and Building Electronic Systems (HBES) and Building Automation and Control Systems (BACS) used in residential, commercial and light industry environment |  | ELOT EN 50491.05.01:2010 ELOT ΕΝ 50491.05.02:2010 ELOT EN 50491.05.03:2010 |
| Multimedia equipment |  | ELOT ΕΝ 55032 Ε2:2015 +Α11:2020+ A1:2020ELOT ΕΝ 55032: 2012 +AC:2013* |
| Audio, video, audio-visual and entertainment lighting control apparatus for professional use |  | ELOT EN 55103-1:2009 +Α1:2012 |
| Maritime navigation and radiocommunication equipment and systems |  | ELOT ΕΝ 60945 Ε3:2003 IACS UR E10 Rev8 Corr1 CLN |
| Electrical and electronic installations in ships |  | IEC 60533 Ε3:2015 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships – Automation, control and instrumentation |  | IEC 60092-504:2021 IEC 60092-504:2016 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships – Equipment – Luminaires and lighting accessories |  | IEC 60092-306:2022 IEC 60092-306:2009 |
| Lifts, escalators and moving walks |  | ELOT ΕΝ 12015:2014* ELOT ΕΝ 12015 Ε4:2020 |
| Switches for household and similar fixed electrical installations |  | ELOT ΕN 60669-2-1 Ε3:2004 +A1:2009 +A12:2010* ELOT ΕΝ IEC 60669-2-1 Ε4:2022 + Α11:2022 |
| Medical electrical equipment |  | ELOT EN 60601-1-2 Ε4:2015+A1:2021 |
| Taximeters |  | OIML R 21:2007 |
| Telecommunication network equipment |  | ETSI EN 300 386 V2.2.1:2022 |
| Low-voltage switchgear and controlgear assemblies |  | ELOT ΕΝ 61439.01 Ε2:2011* ELOT EN IEC 61439-1 Ε3:2021 |
| Adjustable speed electrical power drive systems |  | IEC 61800-3:2022 ELOT EN 61800-3 Ε3:2018 ELOT EN 61800-3:2004 +A1:2012* |
| Railway applications - Signal and telecommunication equipment |  | ELOT EN 50121.01 Ε2:2006 +ΑC:2008* ELOT EN 50121-1 Ε4:2017 ELOT EN 50121-3-2 Ε4:2016*+A1:2019 ELOT EN 50121-4 Ε4:2016* +A1:2019 ELOT EN 50121-5 Ε4:2017* +A1:2019 |
| Uninterruptible power supplies (UPS) |  | ELOT ΕΝ 62040-2:2006 +AC:2006* ELOT EN IEC 62040-2 Ε2:2018 |
| Vehicles, boats and internal combustion engines, after market electronic equipment in vehicles |  | ELOT ΕΝ 55025 Ε4:2022 ELOT EN 55025 Ε3:2017 |
| Electric vehicle charging systems |  | ΕLΟΤ EN IEC 61851-21-2:2021 |
| Telecontrol equipment and systems |  | ΕLΟΤ EN 60870.02.01:1996 |
| Radio equipment |  | ETSI EN 301 489-1 V.2.2.3:2019 ETSI EN 301 489-1 V.1.9.2:2011* ETSI EN 301 489-3 V.2.3.2:2023 ETSI EN 301 489-4 V3.3.1:2021 ETSI EN 301 489-5 V2.2.1:2019 ETSI EN 301 489-7 V1.3.1:2005 ETSI EN 301 489-15 V2.2.1:2019 ETSI EN 301 489-17 V3.2.4:2020 ETSI EN 301 489-19 V2.2.1:2022 ETSI EN 301 489-20 V2.2.1:2022 ETSI EN 301 489-22 V2.1.1:2020 ETSI EN 301 489-33 V2.2.1:2019 ETSI EN 301 489-34 V2.1.1:2019 ETSI EN 301 489-34 V 1.4.1:2013* ETSI EN 301 489-52 V1.2.1:2021 ETSI EN 301 843-1 V2.2.1:2017 ETSI EN 303 446-1 V1.2.1:2019 ETSI EN 303 446-2 V1.2.1:2019 |
| Information technology equipment | Measurement of radiated disturbance*** Measurement of radiated disturbance*** Measurement of radiated disturbance*** | ELOT ΕΝ 55032 Ε2:2015 +A11:2020+ A1:2020 ELOT ΕΝ 55022 Ε5:2010+AC:2011* ELOT ΕΝ 55032: 2012 +AC:2013* |
| Household appliances |  | ΕLΟΤ EN IEC 55014-1 Ε5:2021 ΕLΟΤ ΕΝ 55014-1 Ε4:2017 +A11:2020* |
| Electrical lighting and similar equipment |  | ELOT EN 55015 Ε6: 2013 +A1:2015* ELOT EN IEC 55015 Ε7:2019+A11:2020 |
| Industrial, scientific and medical (ISM) radio-frequency equipment |  | ΕLOT EN 55011 E5:2016 +A1:2017 +A11:2020 +Α2:2021 |
| Equipment for residential, commercial and light-industrial environments |  | ΕLOT EN 61000.06.03 Ε2: 2007 +Α1:2011* ELOT EN IEC 61000-6-3 Ε3:2021 |
| Professional equipment in commercial and light-industrial locations |  | ELOT EN IEC 61000-6-8:2020 |
| Equipment for industrial environments |  | ΕLOT EN 61000.06.04 Ε2: 2007 +Α1:2011* ELOT ΕΝ IEC 61000.06.04 E3:2019 |
| Automatic electrical controls |  | IEC 60730-1:2022 ELOT EN 60730-1 Ε5:2016 +Α1:2019+ A2 :2022 ELOT ΕΝ 60730-1:2011* |
| Home and Building Electronic Systems (HBES) and Building Automation and Control Systems (BACS) used in residential, commercial and light industry environment |  | ELOT EN 50491.05.01:2010 ELOT ΕΝ 50491.05.02:2010 ELOT EN 50491.05.03:2010 |
| Multimedia equipment |  | ELOT ΕΝ 55032 Ε2:2015 +A11:2020+ A1:2020 ELOT ΕΝ 55032: 2012 +AC:2013* |
| Audio, video, audio-visual and entertainment lighting control apparatus for professional use |  | ELOT EN 55103-1:2009 +Α1:2012 |
| Maritime navigation and radiocommunication equipment and systems |  | ELOT ΕΝ 60945 Ε3:2003 IACS UR E10 Rev8 Corr1 CLN |
| Electrical and electronic installations in ships |  | IEC 60533 Ε3:2015 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships – Automation, control and instrumentation |  | IEC 60092-504:2021 IEC 60092-504:2016 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships – Equipment – Luminaires and lighting accessories |  | IEC 60092-306:2022 IEC 60092-306:2009 IACS UR E10 Rev8 Corr1 CLN |
| Lifts, escalators and moving walks |  | ELOT ΕΝ 12015:2014* ELOT ΕΝ 12015 Ε4:2020 |
| Switches for household and similar fixed electrical installations |  | ELOT ΕN 60669-2-1 Ε3: 2004 +A1:2009 +A12:2010* ΕLOΤ ΕΝ IEC 60669-2-1 Ε4:2022 + Α11:2022 |
| Medical electrical equipment |  | ELOT EN 60601-1-2 Ε4:2015+A1:2021 |
| Taximeters |  | OIML R 21:2007 |
| Telecommunication network equipment |  | ETSI EN 300 386 V1.6.1:2012 |
| Low-voltage switchgear and controlgear assemblies |  | ELOT ΕΝ 61439.01 Ε2:2011* ΕLOT EN IEC 61439-1 Ε3:2021 |
| Adjustable speed electrical power drive systems |  | IEC 61800-3:2022 ELOT EN 61800-3 Ε3:2018 ELOT EN 61800-3:2004 +A1:2012* |
| Telecommunication network equipment |  | ETSI EN 300 386 V2.2.1:2022 |
| Railway applications - Signal and telecommunication equipment |  | ELOT EN 50121.01 Ε2:2006 +ΑC:2008* ELOT EN 50121-1 Ε4:2017 ELOT EN 50121-3-2 Ε4:2016*+A1:2019 ELOT EN 50121-4 Ε4:2016* +A1:2019 ELOT EN 50121-5 Ε4:2017* +A1:2019 |
| Uninterruptible power supplies (UPS) |  | ELOT ΕΝ 62040-2:2006 +AC:2006* ELOT EN IEC 62040-2 Ε2:2018 |
| Vehicles, boats and internal combustion engines, after market electronic equipment in vehicles |  | ELOT ΕΝ 55025 Ε4:2022 ELOT EN 55025 Ε3:2017 ΕΛΟΤ EN 50498:2010 E/ECE/324/Add.9/Rev.6 §6.5, §6.6 |
| Electric vehicle charging systems |  | ΕLΟΤ EN IEC 61851-21-2:2021 |
| Telecontrol equipment and systems |  | ΕLΟΤ EN 60870.02.01:1996 |
| Radio disturbance and immunity measuring apparatus |  | CISPR 16-1-1:2015 + ISH1:2018 CISPR 16-1-1: 2019 ELOT EN 55016.01.01 Ε3:2010 + A1:2010 + A2:2014 ELOT EN IEC 55016-1-1 Ε4:2019 |
| Radio equipment |  | ETSI EN 301 489-1 V.2.2.3:2019 ETSI EN 301 489-1 V.1.9.2:2011* ETSI EN 301 489-3 V.2.3.2:2023 ETSI EN 301 489-4 V3.3.1:2021 ETSI EN 301 489-5 V2.2.1:2019 ETSI EN 301 489-7 V1.3.1:2005 ETSI EN 301 489-15 V2.2.1:2019 ETSI EN 301 489-17 V3.2.4:2020 ETSI EN 301 489-19 V2.2.1:2022 ETSI EN 301 489-20 V2.2.1:2022 ETSI EN 301 489-22 V2.1.1:2020 ETSI EN 301 489-33 V2.2.1:2019 ETSI EN 301 489-34 V2.1.1:2019 ETSI EN 301 489-34 V 1.4.1:2013* ETSI EN 301 489-52 V1.2.1:2021 ETSI EN 301 843-1 V2.2.1:2017 ETSI EN 303 446-1 V1.2.1:2019 ETSI EN 303 446-2 V1.2.1:2019 |
| Household appliances | Measurement of terminal disturbance voltages | ELOT ΕΝ 55014-1 E4:2017 +A11:2020* ELOT EN IEC 55014-1 Ε5:2021 |
|  | Measurement of disturbance power | ELOT ΕΝ 55014-1 E4:2017 +A11:2020* ELOT EN IEC 55014-1 Ε5:2021 CISPR 16-1-3:2004 +AMD1:2016 + AMD2:2020 CSV ΕLΟΤ EN 55016.01.03 Ε2:2006 +A1:2016+A2:2020 |
| Vehicles, boats and internal combustion engines, after market electronic equipment in vehicles | Voltage transient emissions test | ISO 7637-2 E3:2011 ELOT EN 50498:2010 E/ECE/324/Add.9/Rev.6 §6.7 |
| Information technology equipment | Measurement of harmonic current emissions | ELOT EN 61000-3-2 E5:2019+A1:2021 ΕLΟΤ ΕΝ 61000-3-2 Ε4:2014* |
| Household appliances |  |  |
| Electrical lighting and similar equipment |  |  |
| Information technology equipment | Measurement of voltage fluctuations and flicker | ΕLΟΤ ΕΝ 61000-3-3 Ε3:2013 +Α1:2019 + A2:2021 |
| Household appliances |  |  |
| Electrical lighting and similar equipment |  |  |
| Information technology equipment | Electrostatic discharge immunity test ΕLΟΤ ΕΝ 61000-4-2 Ε2:2009 Electrostatic discharge immunity test ΕLΟΤ ΕΝ 61000-4-2 Ε2:2009 Electrostatic discharge immunity test ΕLΟΤ ΕΝ 61000-4-2 Ε2:2009 | ΕLΟΤ ΕΝ 55024 Ε2: 2010* + A1:2015 ELOT ΕΝ 55035:2017* + Α11:2020 |
| Household appliances |  | ELOT EN 55014.02:1997* ELOT EN 55014.02/A1:2002* ELOT EN 55014.02/A2:2008* ELOT EN IEC 55014-2 Ε3:2021 |
| Equipment for general lighting purposes |  | ΕLOT EN 61547 Ε2:2009* IEC 61547:2020 ΕLΟΤ EN IEC 61547 E3:2023 |
| Equipment for residential, commercial and light-industrial environments |  | ELOT EN 61000.06.01 Ε2:2007* ELOT ΕΝ IEC 61000-6-1 E3:2019 |
| Equipment for industrial environments |  | ΕLΟΤ EN 61000.06.02 Ε2:2005* ELOT EN 61000.06.02/IS1* ELOT EN IEC 61000-6-2 Ε3:2019 |
| Equipment used in power station and substation environment |  | ELOT ΕΝ 61000-6-5:2015 EN 61000-6-5:2015/AC:2018-01 |
| Electrical equipment for measurement, control and laboratory use |  | ΕLΟΤ EN 61326.01 Ε2:2013* ELOT EN IEC 61326-1 Ε3:2021 |
| Road traffic signal systems |  | ΕLΟΤ EN 50293 Ε2:2012 |
| Alarm systems |  | EN 50130-4 E2:2011 +A1:2014 |
| Automatic electrical controls for household and similar use |  | IEC 60730-1:2022 ELOT EN 60730-1 E5:2016 +Α1:2019+ A2:2022 ELOT ΕΝ 60730-1:2011* |
| Home and Building Electronic Systems (HBES) and Building Automation and Control Systems (BACS) used in residential, commercial and light industry environment |  | ELOT EN 50491.05.01:2010 ELOT ΕΝ 50491.05.02:2010 ELOT EN 50491.05.03:2010 |
| Sound and television broadcast receivers and associated equipment |  | ELOT ΕΝ 55035: 2017* +Α11:2020 |
| Audio, video, audio-visual and entertainment lighting control apparatus for professional use |  | ELOT EN 55103-2 Ε2:2009 +IS1:2012 ELOT ΕΝ 55035:2017* +Α11:2020 |
| Maritime navigation and radiocommunication equipment and systems |  | ELOT ΕΝ 60945 Ε3:2003 IACS UR E10 Rev8 Corr1 CLN |
| Electrical and electronic installations in ships |  | IEC 60533 Ε3:2015 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships – Automation, control and instrumentation |  | ELOT IEC 60092-504: 2021 IEC 60092-504:2016 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships - Equipment - Luminaires and lighting accessories |  | IEC 60092-306:2022 IEC 60092-306:2009 IACS UR E10 Rev8 Corr1 CLN |
| Lifts, escalators and moving walks |  | ELOT ΕΝ 12016 E3:2014 |
| Low-voltage switchgear and controlgear assemblies |  | ELOT ΕΝ 61439.01 Ε2:2011* ELOT EN IEC 61439-1 Ε3:2021 |
| Switches for household and similar fixed electrical installations |  | ELOT ΕN 60669-2-1 Ε3: 2004 +A1:2009 +A12:2010* ELOT ΕΝ IEC 60669-2-1 Ε4:2022 + Α11:2022 |
| Medical electrical equipment |  | ELOT EN 60601-1-2 Ε4:2015+A1:2021 |
| Taximeters |  | OIML R 21:2007 |
| Electrical apparatus for the detection and measurement of combustible gases, toxic gases or oxygen |  | ELOT EN 50270:2015 +AC:2016 |
| Adjustable speed electrical power drive systems |  | IEC 61800-3:2022 ELOT EN 61800-3 Ε3:2018 ELOT EN 61800-3:2004 +A1:2012* ELOT EN 61800-5-2 Ε2:2017 |
| Railway applications - Signal and telecommunication equipment |  | ELOT EN 50121.01 Ε2:2006 +ΑC:2008* ELOT EN 50121-1 Ε4: 2017 ELOT EN 50121-3-2 Ε4:2016*+Α1:2019 ELOT EN 50121-4 Ε4:2016* +Α1:2019 ELOT EN 50121-5 Ε4:2017* +A1:2019 |
| Telecommunication network equipment |  | ETSI EN 300 386 V2.2.1:2022 |
| Uninterruptible power supplies (UPS) |  | ELOT ΕΝ 62040-2:2006 +AC:2006* ELOT EN IEC 62040-2 Ε2:2018 |
| Electric vehicle conductive charging system |  | ELOT ΕΝ IEC 61851-21-2:2021 |
| Telecontrol equipment and systems |  | ΕLΟΤ EN 60870.02.01:1996 |
| Radio equipment |  | ETSI EN 301 489-1 V.2.2.3:2019 ETSI EN 301 489-1 V.1.9.2:2011* ETSI EN 301 489-3 V.2.3.2:2023 ETSI EN 301 489-4 V3.3.1:2021 ETSI EN 301 489-5 V2.2.1:2019 ETSI EN 301 489-7 V1.3.1:2005 ETSI EN 301 489-15 V2.2.1:2019 ETSI EN 301 489-17 V3.2.4:2020 ETSI EN 301 489-19 V2.2.1:2022 ETSI EN 301 489-20 V2.2.1:2022 ETSI EN 301 489-22 V2.1.1:2020 ETSI EN 301 489-33 V2.2.1:2019 ETSI EN 301 489-34 V2.1.1:2019 ETSI EN 301 489-34 V 1.4.1:2013* ETSI EN 301 489-52 V1.2.1:2021 ETSI EN 301 843-1 V2.2.1:2017 ETSI EN 303 446-1 V1.2.1:2019 ETSI EN 303 446-2 V1.2.1:2019 |
| Information technology equipment | Radiated, radiofrequency electromagnetic field immunity test ΕLΟΤ ΕΝ 61000-4-3 Ε3:2006 +Α1:2008+IS1:2009+Α2:2010* ELOT ΕΝ IEC 61000-4-3 Ε4:2020 Radiated, radiofrequency electromagnetic field immunity test ΕLΟΤ ΕΝ 61000-4-3 Ε3:2006 +Α1:2008+IS1:2009+Α2:2010* ELOT ΕΝ IEC 61000-4-3 Ε4:2020 Radiated, radiofrequency electromagnetic field immunity test ΕLΟΤ ΕΝ 61000-4-3 Ε3:2006 +Α1:2008+IS1:2009+Α2:2010* ELOT ΕΝ IEC 61000-4-3 Ε4:2020 | ELOT ΕΝ 55024 Ε2:2010* +Α1:2015 ELOT ΕΝ 55035: 2017* +Α11:2020 |
| Household appliances |  | ELOT EN 55014.02:1997* ELOT EN 55014.02/A1:2002* ELOT EN 55014.02/A2:2008* ELOT EN IEC 55014-2 Ε3:2021 |
| Equipment for general lighting purposes |  | ΕLΟΤ EN 61547 Ε2:2009* IEC 61547:2020 ΕLΟΤ EN IEC 61547 E3:2023 |
| Equipment for residential, commercial and light-industrial environments |  | ELOT EN 61000.06.01 Ε2:2007* ELOT ΕΝ IEC 61000-6-1 E3:2019 |
| Equipment for industrial environments |  | ELOT EN 61000.06.02 Ε2:2005* ELOT EN 61000.06.02/IS1* ELOT ΕΝ IEC 61000.06.02 E3:2019 |
| Equipment used in power station and substation environment |  | ELOT ΕΝ 61000-6-5:2015 EN 61000-6-5:2015/AC:2018-01 |
| Electrical equipment for measurement, control and laboratory use |  | ΕLΟΤ EN 61326.01 Ε2:2013* ELOT EN IEC 61326-1 Ε3:2021 |
| Road traffic signal systems |  | ΕLΟΤ EN 50293 Ε2:2012 |
| Alarm systems |  | EN 50130-4 E2:2011 +A1:2014 |
| Automatic electrical controls for household and similar use |  | IEC 60730-1:2022 ELOT EN 60730-1 Ε5:2016 +Α1:2019+ A2:2022 ELOT ΕΝ 60730-1:2011* |
| Home and Building Electronic Systems (HBES) and Building Automation and Control Systems (BACS) used in residential, commercial and light industry environment |  | ELOT EN 50491.05.01:2010 ELOT ΕΝ 50491.05.02:2010 ELOT EN 50491.05.03:2010 |
| Sound and television broadcast receivers and associated equipment |  | ELOT ΕΝ 55035:2017* +Α11:2020 |
| Audio, video, audio-visual and entertainment lighting control apparatus for professional use |  | ELOT EN 55103-2 Ε2:2009 +IS1:2012 ELOT ΕΝ 55035:2017* +Α11:2020 |
| Maritime navigation and radiocommunication equipment and systems |  | ELOT ΕΝ 60945 Ε3:2003 IACS UR E10 Rev8 Corr1 CLN |
| Electrical and electronic installations in ships |  | IEC 60533 Ε3:2015 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships – Automation, control and instrumentation |  | ELOT IEC 60092-504: 2021 IEC 60092-504:2016 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships - Equipment - Luminaires and lighting accessories |  | IEC 60092-306:2022 IEC 60092-306:2009 IACS UR E10 Rev8 Corr1 CLN |
| Lifts, escalators and moving walks |  | ELOT ΕΝ 12016 E3:2014 |
| Low-voltage switchgear and controlgear assemblies |  | ELOT ΕΝ 61439.01 Ε2:2011* ELOT EN IEC 61439-1 Ε3:2021 |
| Switches for household and similar fixed electrical installations |  | ELOT ΕN 60669-2-1 Ε3: 2004 +A1:2009 +A12:2010* ELOT ΕΝ IEC 60669-2-1 Ε4:2022 + Α11:2022 |
| Medical electrical equipment |  | ELOT EN 60601-1-2 Ε4: 2015+A1:2021 |
| Taximeters |  | OIML R 21: 2007 |
| Electrical apparatus for the detection and measurement of combustible gases, toxic gases or oxygen |  | ELOT EN 50270:2015+AC:2016 |
| Adjustable speed electrical power drive systems |  | IEC 61800-3:2022 ELOT EN 61800-3 Ε3:2018 ELOT EN 61800-3:2004 +A1:2012* ELOT EN 61800-5-2 Ε2:2017 |
| Railway applications - Signal and telecommunication equipment |  | ELOT EN 50121.01 Ε2:2006 +ΑC:2008* ELOT EN 50121-1 Ε4:2017 ELOT EN 50121-3-2 Ε4:2016*+Α1:2019 ELOT EN 50121-4 Ε4:2016* +Α1:2019 ELOT EN 50121-5 Ε4:2017* +A1:2019 |
| Telecommunication network equipment |  | ETSI EN 300 386 V2.2.1:2022 |
| Uninterruptible power supplies (UPS) |  | ELOT ΕΝ 62040-2:2006 +AC:2006* ELOT EN IEC 62040-2 Ε2:2018 |
| Electric vehicle conductive charging system |  | ELOT ΕΝ IEC 61851-21-2:2021 |
| Telecontrol equipment and systems |  | ΕLΟΤ EN 60870.02.01:1996 |
| Radio equipment |  | ETSI EN 301 489-1 V.2.2.3:2019 ETSI EN 301 489-1 V.1.9.2:2011* ETSI EN 301 489-3 V.2.3.2:2023 ETSI EN 301 489-4 V3.3.1:2021 ETSI EN 301 489-5 V2.2.1:2019 ETSI EN 301 489-7 V1.3.1:2005 ETSI EN 301 489-15 V2.2.1:2019 ETSI EN 301 489-17 V3.2.4:2020 ETSI EN 301 489-19 V2.2.1:2022 ETSI EN 301 489-20 V2.2.1:2022 ETSI EN 301 489-22 V2.1.1:2020 ETSI EN 301 489-33 V2.2.1:2019 ETSI EN 301 489-34 V2.1.1:2019 ETSI EN 301 489-34 V 1.4.1:2013* ETSI EN 301 489-52 V1.2.1:2021 ETSI EN 301 843-1 V2.2.1:2017 ETSI EN 303 446-1 V1.2.1:2019 ETSI EN 303 446-2 V1.2.1:2019 |
| Information technology equipment | Electrical fast transient/burst immunity test ΕLΟΤ ΕΝ 61000-4-4 Ε3:2012 | ELOT ΕΝ 55024: Ε2:2010* +Α1:2015 ELOT ΕΝ 55035:2017* +Α11:2020 |
| Household appliances |  | ELOT EN 55014.02:1997* ELOT EN 55014.02/A1:2002* ELOT EN 55014.02/A2:2008* ELOT EN IEC 55014-2 Ε3:2021 |
| Equipment for general lighting purposes |  | ELOT EN 61547 Ε2:2009* IEC 61547:2020 ΕLΟΤ EN IEC 61547 E3:2023 |
| Equipment for residential, commercial and light-industrial environments |  | ELOT EN 61000.06.01 Ε2:2007* ELOT ΕΝ IEC 61000-6-1 E3:2019 |
| Equipment for industrial environments |  | ELOT EN 61000.06.02 Ε2: 2005* ELOT EN 61000.06.02/IS1* ELOT ΕΝ IEC 61000.06.02 E3:2019 |
| Equipment used in power station and substation environment |  | ELOT ΕΝ 61000-6-5:2015 EN 61000-6-5:2015/AC:2018-01 |
| Electrical equipment for measurement, control and laboratory use |  | ΕLΟΤ EN 61326.01 Ε2:2013* ELOT EN IEC 61326-1 Ε3:2021 |
| Road traffic signal systems |  | ΕLΟΤ EN 50293 Ε2:2012 |
| Alarm systems |  | EN 50130-4 E2:2011 +A1:2014 |
| Automatic electrical controls for household and similar use |  | IEC 60730-1:2022 ELOT EN 60730-1 Ε5:2016 +Α1:2019+ A2:2022 ELOT ΕΝ 60730-1:2011* |
| Home and Building Electronic Systems (HBES) and Building Automation and Control Systems (BACS) used in residential, commercial and light industry environment |  | ELOT EN 50491.05.01:2010 ELOT ΕΝ 50491.05.02:2010 ELOT EN 50491.05.03:2010 |
| Sound and television broadcast receiversand associated equipment |  | ELOT ΕΝ 55035: 2017* +Α11:2020 |
| Audio, video, audio-visual and entertainment lighting control apparatus for professional use |  | ELOT EN 55103-2 Ε2:2009 +IS1:2012 ELOT ΕΝ 55035:2017* +Α11:2020 |
| Maritime navigation and radiocommunication equipment and system |  | ELOT ΕΝ 60945 Ε3:2003 IACS UR E10 Rev8 Corr1 CLN |
| Electrical and electronic installations in ships |  | IEC 60533 Ε3:2015 IACS UR E10 Rev8 Corr1 CLN |
| Lifts, escalators and moving walks |  | ELOT ΕΝ 12016 E3:2014 |
| Low-voltage switchgear and controlgear assemblies |  | ELOT ΕΝ 61439.01 Ε2:2011* ELOT EN IEC 61439-1 Ε3:2021 |
| Switches for household and similar fixed electrical installations | Electrical fast transient/burst immunity test ΕLΟΤ ΕΝ 61000-4-4 Ε3:2012 Electrical fast transient/burst immunity test ΕLΟΤ ΕΝ 61000-4-4 Ε3:2012 | ELOT ΕN 60669-2-1 Ε3: 2004 +A1:2009 +A12:2010 ELOT ΕΝ IEC 60669-2-1 Ε4:2022 + Α11:2022 |
| Medical electrical equipment |  | ELOT EN 60601-1-2 Ε4: 2015+A1:2021 |
| Taximeters |  | OIML R 21: 2007 |
| Electrical apparatus for the detection and measurement of combustible gases, toxic gases or oxygen |  | ELOT EN 50270:2015+AC:2016 |
| Adjustable speed electrical power drive systems |  | IEC 61800-3:2022 ELOT EN 61800-3 Ε3:2018 ELOT EN 61800-3:2004 +A1:2012 ELOT EN 61800-5-2 Ε2:2017 |
| Electrical installations in ships |  | ELOT IEC 60092-504: 2021 IEC 60092-504:2016 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships - Equipment - Lighting and lighting equipment |  | IEC 60092-306:2022 IEC 60092-306:2009 IACS UR E10 Rev8 Corr1 CLN |
| Railway applications - Signal and telecommunication equipment |  | ELOT EN 50121.01 Ε2:2006 +ΑC:2008* ELOT EN 50121-1 Ε4:2017 ELOT EN 50121-3-2 Ε4:2016*+Α1:2019 ELOT EN 50121-4 Ε4:2016* +Α1:2019 ELOT EN 50121-5 Ε4:2017* +A1:2019 |
| Telecommunication network equipment |  | ETSI EN 300 386 V2.2.1:2022 |
| Uninterruptible power supplies (UPS) |  | ELOT ΕΝ 62040-2:2006 +AC:2006* ELOT EN IEC 62040-2 Ε2:2018 |
| Electric vehicle conductive charging system |  | ELOT ΕΝ IEC 61851-21-2:2021 |
| Telecontrol equipment and systems |  | ΕLΟΤ EN 60870.02.01:1996 |
| Radio equipment |  | ETSI EN 301 489-1 V.2.2.3:2019 ETSI EN 301 489-1 V.1.9.2:2011* ETSI EN 301 489-3 V.2.3.2:2023 ETSI EN 301 489-4 V3.3.1:2021 ETSI EN 301 489-5 V2.2.1:2019 ETSI EN 301 489-7 V1.3.1:2005 ETSI EN 301 489-15 V2.2.1:2019 ETSI EN 301 489-17 V3.2.4:2020 ETSI EN 301 489-19 V2.2.1:2022 ETSI EN 301 489-20 V2.2.1:2022 ETSI EN 301 489-22 V2.1.1:2020 ETSI EN 301 489-33 V2.2.1:2019 ETSI EN 301 489-34 V2.1.1:2019 ETSI EN 301 489-34 V 1.4.1:2013* ETSI EN 301 489-52 V1.2.1:2021 ETSI EN 301 843-1 V2.2.1:2017 ETSI EN 303 446-1 V1.2.1:2019 ETSI EN 303 446-2 V1.2.1:2019 |
| Information technology equipment | Surge immunity test ΕLΟΤ ΕΝ 61000-4-5 E3:2014 +A1:2017 | ELOT ΕΝ 55024 Ε2:2010* +Α1:2015 ELOT ΕΝ 55035:2017* +Α11:2020 |
| Household appliances |  | ELOT EN 55014.02:1997* ELOT EN 55014.02/A1:2002* ELOT EN 55014.02/A2:2008* ELOT EN IEC 55014-2 Ε3:2021 |
| Equipment for general lighting purposes |  | ELOT EN 61547 Ε2:2009 * IEC 61547:2020 ΕLΟΤ EN IEC 61547 E3:2023 |
| Equipment for residential, commercial and light-industrial environments |  | ELOT EN 61000.06.01 Ε2:2007* ELOT ΕΝ IEC 61000-6-1 E3:2019 |
| Equipment for industrial environments |  | ELOT EN 61000.06.02 Ε2:2005* ELOT EN 61000.06.02/IS1* ELOT ΕΝ IEC 61000.06.02 E3:2019 |
| Equipment used in power station and substation environment |  | ELOT ΕΝ 61000-6-5:2015 EN 61000-6-5:2015/AC:2018-01 |
| Electrical equipment for measurement, control and laboratory use |  | ΕLΟΤ EN 61326.01 Ε2:2013* ELOT EN IEC 61326-1 Ε3:2021 |
| Road traffic signal systems |  | ΕLΟΤ EN 50293 Ε2:2012 |
| Alarm systems |  | EN 50130-4 E2:2011 +A1:2014 |
| Automatic electrical controls for household and similar use |  | IEC 60730-1:2022 ELOT EN 60730-1 Ε5:2016 +Α1:2019+ A2:2022 ELOT ΕΝ 60730-1:2011* |
| Home and Building Electronic Systems (HBES) and Building Automation and Control Systems (BACS) used in residential, commercial and light industry environment |  | ELOT EN 50491.05.01:2010 ELOT ΕΝ 50491.05.02:2010 ELOT EN 50491.05.03:2010 |
| Sound and television broadcast receivers and associated equipment |  | ELOT ΕΝ 55035:2017* +Α11:2020 |
| Audio, video, audio-visual and entertainment lighting control apparatus for professional use |  | ELOT EN 55103-2 Ε2:2009 +IS1:2012 ELOT ΕΝ 55035:2017* +Α11:2020 |
| Maritime navigation and radiocommunication equipment and system |  | ELOT ΕΝ 60945 Ε3:2003 IACS UR E10 Rev8 Corr1 CLN |
| Electrical and electronic installations in ships |  | IEC 60533 Ε3:2015 IACS UR E10 Rev8 Corr1 CLN |
| Lifts, escalators and moving walks |  | ELOT ΕΝ 12016 E3:2014 |
| Low-voltage switchgear and controlgear assemblies | Surge immunity test ΕLΟΤ ΕΝ 61000-4-5 E3:2014 +A1:2017 | ELOT ΕΝ 61439.01 Ε2:2011 ELOT EN IEC 61439-1 Ε3:2021 |
| Switches for household and similar fixed electrical installations |  | ELOT ΕN 60669-2-1 Ε3: 2004 +A1:2009 +A12:2010* ELOT ΕΝ IEC 60669-2-1 Ε4:2022 + Α11:2022 |
| Medical electrical equipment |  | ELOT EN 60601-1-2 Ε4:2015+A1:2021 |
| Taximeters |  | OIML R 21:2007 |
| Electrical apparatus for the detection and measurement of combustible gases, toxic gases or oxygen |  | ELOT EN 50270:2015 +AC:2016 |
| Adjustable speed electrical power drive systems |  | IEC 61800-3:2022 ELOT EN 61800-3 Ε3:2018 ELOT EN 61800-3:2004 +A1:2012* ELOT EN 61800-5-2 Ε2:2017 |
| Electrical installations in ships |  | ELOT IEC 60092-504: 2021 IEC 60092-504:2016 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships - Equipment - Lighting and lighting equipment |  | IEC 60092-306:2022 IEC 60092-306:2009 IACS UR E10 Rev8 Corr1 CLN |
| Railway applications - Signal and telecommunication equipment |  | ELOT EN 50121.01 Ε2:2006 +ΑC:2008* ELOT EN 50121-1 Ε4:2017 ELOT EN 50121-3-2 Ε4:2016*+Α1:2019 ELOT EN 50121-4 Ε4:2016* +Α1:2019 ELOT EN 50121-5 Ε4:2017* +A1:2019 |
| Telecommunication network equipment |  | ETSI EN 300 386 V2.2.1:2022 |
| Uninterruptible power supplies (UPS) |  | ELOT ΕΝ 62040-2:2006 +AC:2006* ELOT EN IEC 62040-2 Ε2:2018 |
| Electric vehicle conductive charging system |  | ELOT ΕΝ IEC 61851-21-2:2021 |
| Telecontrol equipment and systems |  | ΕLΟΤ EN 60870.02.01:1996 |
| Radio equipment |  | ETSI EN 301 489-1 V.2.2.3:2019 ETSI EN 301 489-1 V.1.9.2:2011* ETSI EN 301 489-3 V.2.3.2:2032 ETSI EN 301 489-4 V3.3.1:2021 ETSI EN 301 489-5 V2.2.1:2019 ETSI EN 301 489-7 V1.3.1:2005 ETSI EN 301 489-15 V2.2.1:2019 ETSI EN 301 489-17 V3.2.4:2020 ETSI EN 301 489-19 V2.2.1:2022 ETSI EN 301 489-20 V2.2.1:2022 ETSI EN 301 489-22 V2.1.1:2020 ETSI EN 301 489-33 V2.2.1:2019 ETSI EN 301 489-34 V2.1.1:2019 ETSI EN 301 489-34 V 1.4.1:2013* ETSI EN 301 489-52 52 V1.2.1:2021 ETSI EN 301 843-1 V2.2.1:2017 ETSI EN 303 446-1 V1.2.1:2019 ETSI EN 303 446-2 V1.2.1:2019 |
| Information technology equipment | Immunity to conducted disturbances, induced by radiofrequency fields ΕLΟΤ ΕΝ 61000-4-6 Ε4:2014 +AC:2015* ΕLΟΤ EN IEC 61000-4-6 Ε5:2023 Immunity to conducted disturbances, induced by radiofrequency fields ΕLΟΤ ΕΝ 61000-4-6 Ε4:2014 +AC:2015* ΕLΟΤ EN IEC 61000-4-6 Ε5:2023 Immunity to conducted disturbances, induced by radiofrequency fields ΕLΟΤ ΕΝ 61000-4-6 Ε4:2014 +AC:2015* ΕLΟΤ EN IEC 61000-4-6 Ε5:2023 | ELOT ΕΝ 55024 Ε2:2010* +Α1:2015 ELOT ΕΝ 55035:2017* +Α11:2020 |
| Household appliances |  | ELOT EN 55014.02:1997* ELOT EN 55014.02/A1:2002* ELOT EN 55014.02/A2:2008* ELOT EN IEC 55014-2 Ε3:2021 |
| Equipment for general lighting purposes |  | ELOT EN 61547 Ε2:2009* IEC 61547:2020 ΕLΟΤ EN IEC 61547 E3:2023 |
| Equipment for residential, commercial and light-industrial environments |  | ELOT EN 61000.06.01 Ε2:2007* ELOT ΕΝ IEC 61000-6-1 E3:2019 |
| Equipment for industrial environments |  | ELOT EN 61000.06.02 Ε2:2005* ELOT EN 61000.06.02/IS1* ELOT ΕΝ IEC 61000.06.02 E3:2019 |
| Equipment used in power station and substation environment |  | ELOT ΕΝ 61000-6-5:2015 EN 61000-6-5:2015/AC:2018-01 |
| Electrical equipment for measurement, control and laboratory use |  | ΕLΟΤ EN 61326.01 Ε2:2013* ELOT EN IEC 61326-1 Ε3:2021 |
| Road traffic signal systems |  | ΕLΟΤ EN 50293 Ε2:2012 |
| Alarm systems |  | EN 50130-4 E2:2011 +A1:2014 |
| Automatic electrical controls for household and similar use |  | IEC 60730-1:2022 ELOT EN 60730-1 Ε5:2016 +Α1:2019+ A2:2022 ELOT ΕΝ 60730-1:2011* |
| Home and Building Electronic Systems (HBES) and Building Automation and Control Systems (BACS) used in residential, commercial and light industry environment |  | ELOT EN 50491.05.01:2010 ELOT ΕΝ 50491.05.02:2010 ELOT EN 50491.05.03:2010 |
| Sound and television broadcast receivers and associated equipment |  | ELOT ΕΝ 55035:2017* +Α11:2020 |
| Audio, video, audio-visual and entertainment lighting control apparatus for professional use |  | ELOT EN 55103-2 Ε2:2009 +IS1:2012 ELOT ΕΝ 55035: 2017* +Α11:2020 |
| Maritime navigation and radiocommunication equipment and systems |  | ELOT ΕΝ 60945 Ε3:2003 IACS UR E10 Rev8 Corr1 CLN |
| Electrical and electronic installations in ships |  | IEC 60533 Ε3:2015 IACS UR E10 Rev8 Corr1 CLN |
| Lifts, escalators and moving walks |  | ELOT ΕΝ 12016 E3:2014 |
| Low-voltage switchgear and controlgear assemblies |  | ELOT ΕΝ 61439.01 Ε2:2011* ELOT EN IEC 61439-1 Ε3:2021 |
| Switches for household and similar fixed electrical installations |  | ELOT ΕN 60669-2-1 Ε3:2004 +A1:2009 +A12:2010* ELOT ΕΝ IEC 60669-2-1 Ε4:2022 + Α11:2022 |
| Medical electrical equipment |  | ELOT EN 60601-1-2 Ε4:2015+A1:2021 |
| Taximeters |  | OIML R 21:2007 |
| Electrical apparatus for the detection and measurement of combustible gases, toxic gases or oxygen |  | ELOT EN 50270:2015 +AC:2016 |
| Adjustable speed electrical power drive systems |  | IEC 61800-3:2022 ELOT EN 61800-3 Ε3:2018 ELOT EN 61800-3:2004 +A1:2012* ELOT EN 61800-5-2 Ε2:2017 |
| Electrical installations in ships |  | ELOT IEC 60092-504: 2021 IEC 60092-504:2016 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships - Equipment - Lighting and lighting equipment |  | IEC 60092-306:2022 IEC 60092-306:2009 IACS UR E10 Rev8 Corr1 CLN |
| Railway applications - Signal and telecommunication equipment |  | ELOT EN 50121.01 Ε2:2006 +ΑC:2008* ELOT EN 50121-1 Ε4:2017 ELOT EN 50121-3-2 Ε4:2016*+Α1:2019 ELOT EN 50121-4 Ε4:2016* +Α1:2019 ELOT EN 50121-5 Ε4:2017* +A1:2019 |
| Telecommunication network equipment |  | ETSI EN 300 386 V2.2.1:2022 |
| Uninterruptible power supplies (UPS) |  | ELOT ΕΝ 62040-2:2006 +AC:2006* ELOT EN IEC 62040-2 Ε2:2018 |
| Electric vehicle charging systems |  | ΕLΟΤ EN IEC 61851-21-2:2021 |
| Telecontrol equipment and systems |  | ΕLΟΤ EN 60870.02.01:1996 |
| Radio equipment |  | ETSI EN 301 489-1 V.2.2.3:2019 ETSI EN 301 489-1 V.1.9.2:2011* ETSI EN 301 489-3 V.2.3.2:2023 ETSI EN 301 489-4 V3.3.1:2021 ETSI EN 301 489-5 V2.2.1:2019 ETSI EN 301 489-7 V1.3.1:2005 ETSI EN 301 489-15 V2.2.1:2019 ETSI EN 301 489-17 V3.2.4:2020 ETSI EN 301 489-19 V2.2.1:2022 ETSI EN 301 489-20 V2.2.1:2022 ETSI EN 301 489-22 V2.1.1:2020 ETSI EN 301 489-33 V2.2.1:2019 ETSI EN 301 489-34 V2.1.1:2019 ETSI EN 301 489-34 V 1.4.1:2013* ETSI EN 301 489-52 V1.2.1:2021 ETSI EN 301 843-1 V2.2.1:2017 ETSI EN 303 446-1 V1.2.1:2019 ETSI EN 303 446-2 V1.2.1:2019 |
| Information technology equipment | Immunity to power frequency magnetic field ΕLΟΤ ΕΝ 61000.04.08 Ε2:2010 | ELOT ΕΝ 55024 Ε2:2010* +A1:2015 ELOT ΕΝ 55035: 2017* +Α11:2020 |
| Equipment for general lighting purposes |  | ELOT EN 61547 Ε2:2009* IEC 61547:2020 ΕLΟΤ EN IEC 61547 E3:2023 |
| Equipment for residential, commercial and light-industrial environments |  | ELOT EN 61000.06.01 Ε2:2007* ELOT ΕΝ IEC 61000-6-1 E3:2019 |
| Equipment for industrial environments |  | ELOT EN 61000.06.02 Ε2:2005* ELOT EN 61000.06.02/IS1* ELOT ΕΝ IEC 61000.06.02 E3:2019 |
| Equipment used in power station and substation environment |  | ELOT ΕΝ 61000-6-5:2015 EN 61000-6-5:2015/AC:2018-01 |
| Electrical equipment for measurement, control and laboratory use |  | ΕLΟΤ EN 61326.01 Ε2:2013* ELOT EN IEC 61326-1 Ε3:2021 |
| Road traffic signal systems |  | ΕLΟΤ EN 50293 Ε2:2012 |
| Automatic electrical controls for household and similar use |  | IEC 60730-1:2022 ELOT EN 60730-1 Ε5:2016 +Α1:2019+ A2:2022 ELOT ΕΝ 60730-1:2011* |
| Home and Building Electronic Systems (HBES) and Building Automation and Control Systems (BACS) used in residential, commercial and light industry environment |  | ELOT EN 50491.05.01:2010 ELOT ΕΝ 50491.05.02:2010 ELOT EN 50491.05.03:2010 |
| Maritime navigation and radiocommunication equipment and systems |  | ELOT ΕΝ 60945 Ε3:2003 |
| Low-voltage switchgear and controlgear assemblies |  | ELOT ΕΝ 61439.01 Ε2:2011* ELOT EN IEC 61439-1 Ε3:2021 |
| Switches for household and similar fixed electrical installations |  | ELOT ΕN 60669-2-1 Ε3: 2004 +A1:2009 +A12:2010* ELOT ΕΝ IEC 60669-2-1 Ε4:2022 + Α11:2022 |
| Medical electrical equipment |  | ELOT EN 60601-1-2 Ε4:2015 |
| Electrical apparatus for the detection and measurement of combustible gases, toxic gases or oxygen |  | ELOT EN 50270:2015 +AC:2016 |
| Railway applications - Signal and telecommunication equipment |  | ELOT EN 50121.01 Ε2:2006 +ΑC:2008* ELOT EN 50121-1 Ε4:2017 ELOT EN 50121-3-2 Ε4:2016*+Α1:2019 ELOT EN 50121-4 Ε4:2016* +Α1:2019 ELOT EN 50121-5 Ε4:2017* +A1:2019 |
| Electrical installations in ships – Equipment – Luminaires and lighting accessories |  | IEC 60092-306:2009 |
| Uninterruptible power supplies (UPS) |  | ELOT ΕΝ 62040-2:2006 +AC:2006* ELOT EN IEC 62040-2 Ε2:2018 |
| Electric vehicle charging systems |  | ΕLΟΤ EN IEC 61851-21-2:2021 |
| Telecontrol equipment and systems |  | ΕLΟΤ EN 60870.02.01:1996 |
| Information technology equipment | Voltage dips, short interruptions and voltage variations immunity tests ELOT ΕΝ 61000-4-11:2004+ A1:2017* ELOT ΕΝ IEC 61000-4-11 E3:2020 Voltage dips, short interruptions and voltage variations immunity tests ELOT ΕΝ 61000-4-11:2004+ A1:2017* ELOT ΕΝ IEC 61000-4-11 E3:2020 | ELOT ΕΝ 55024 Ε2:2010* +Α1:2015 ELOT ΕΝ 55035:2017* +Α11:2020 |
| Household appliances |  | ELOT EN 55014.02:1997* ELOT EN 55014.02/A1:2002* ELOT EN 55014.02/A2:2008* ELOT EN IEC 55014-2 Ε3:2021 |
| Equipment for general lighting purposes |  | ELOT EN 61547 Ε2:2009* IEC 61547:2020 ΕLΟΤ EN IEC 61547 E3:2023 |
| Equipment for residential, commercial and light-industrial environments |  | ELOT EN 61000.06.01 Ε2: 2007* ELOT ΕΝ IEC 61000-6-1 E3:2019 |
| Equipment for industrial environments |  | ELOT EN 61000.06.02 Ε2: 2005* ELOT EN 61000.06.02/IS1* ELOT ΕΝ IEC 61000.06.02 E3:2019 |
| Equipment used in power station and substation environment |  | ELOT ΕΝ 61000-6-5:2015 EN 61000-6-5:2015/AC:2018-01 |
| Electrical equipment for measurement, control and laboratory use |  | ΕLΟΤ EN 61326.01 Ε2:2013* ELOT EN IEC 61326-1 Ε3:2021 |
| Road traffic signal systems |  | ELOT EN 50293 Ε2:2018 |
| Road traffic signal systems |  | ΕLΟΤ EN 50556 E2:2018 |
| Alarm systems |  | EN 50130-4 E2:2011 +A1:2014 |
| Automatic electrical controls for household and similar use |  | IEC 60730-1:2022 ELOT EN 60730-1 Ε5:2016 +Α1:2019+ A2:2022 ELOT ΕΝ 60730-1:2011* |
| Home and Building Electronic Systems (HBES) and Building Automation and Control Systems (BACS) used in residential, commercial and light industry environment |  | ELOT EN 50491.05.01:2010 ELOT ΕΝ 50491.05.02:2010 ELOT EN 50491.05.03:2010 |
| Audio, video, audio-visual and entertainment lighting control apparatus for professional use |  | ELOT EN 55103-2 Ε2:2009 +IS1:2012 ELOT ΕΝ 55035:2017* +Α11:2020 |
| Maritime navigation and radiocommunication equipment and systems |  | ELOT ΕΝ 60945 Ε3:2003 IACS UR E10 Rev8 Corr1 CLN |
| Electrical and electronic installations in ships |  | IEC 60533 Ε3:2015 IACS UR E10 Rev8 Corr1 CLN |
| Lifts, escalators and moving walks |  | ELOT ΕΝ 12016 E3:2014 |
| Low-voltage switchgear and controlgear assemblies |  | ELOT ΕΝ 61439.01 Ε2:2011* ELOT EN IEC 61439-1 Ε3:2021 |
| Switches for household and similar fixed electrical installations |  | ELOT ΕN 60669-2-1 Ε3: 2004 +A1:2009 +A12:2010* ELOT ΕΝ IEC 60669-2-1 Ε4:2022 + Α11:2022 |
| Medical electrical equipment |  | ELOT EN 60601-1-2 Ε4:2015+A1:2021 |
| Taximeters |  | OIML R 21:2007 |
| Electrical apparatus for the detection and measurement of combustible gases, toxic gases or oxygen |  | ELOT EN 50270:2015 +AC:2016 |
| Adjustable speed electrical power drive systems |  | IEC 61800-3:2022 ELOT EN 61800-3 Ε3:2018 ELOT EN 61800-3:2004 +A1:2012* ELOT EN 61800-5-2 Ε2:2017 |
| Electrical installations in ships |  | ELOT IEC 60092-504: 2021 IEC 60092-504:2016 IACS UR E10 Rev8 Corr1 CLN |
| Electrical installations in ships - Equipment - Lighting and lighting equipment |  | IEC 60092-306:2022 IEC 60092-306:2009 IACS UR E10 Rev8 Corr1 CLN |
| Telecommunication network equipment |  | ETSI EN 300 386 V2.2.1:2022 |
| Uninterruptible power supplies (UPS) |  | ELOT ΕΝ 62040-2:2006 +AC:2006* ELOT EN IEC 62040-2 Ε2:2018 |
| Electric vehicle charging systems |  | ΕLΟΤ EN IEC 61851-21-2:2021 |
| Telecontrol equipment and systems |  | ΕLΟΤ EN 60870.02.01:1996 |
| Radio equipment |  | ETSI EN 301 489-1 V.2.2.3:2019 ETSI EN 301 489-1 V.1.9.2:2011* ETSI EN 301 489-3 V.2.3.2:2023 ETSI EN 301 489-4 V3.3.1:2021 ETSI EN 301 489-5 V2.2.1:2019 ETSI EN 301 489-7 V1.3.1:2005 ETSI EN 301 489-15 V2.2.1:2019 ETSI EN 301 489-17 V3.2.4:2020 ETSI EN 301 489-19 V2.2.1:2022 ETSI EN 301 489-20 V2.2.1:2022 ETSI EN 301 489-22 V2.1.1:2020 ETSI EN 301 489-33 V2.2.1:2019 ETSI EN 301 489-34 V2.1.1:2019 ETSI EN 301 489-34 V 1.4.1:2013* ETSI EN 301 489-52 V1.2.1:2021 ETSI EN 301 843-1 V2.2.1:2017 ETSI EN 303 446-1 V1.2.1:2019 ETSI EN 303 446-2 V1.2.1:2019 |
| Electrical and electronic installations in ships | Ιmmunity to conducted, common mode disturbances in the frequency range 0 Hz to 150 kHz ELOT EN 61000-4-16 E2:2016 | IEC 60533 Ε3:2015 IACS UR E10 Rev8 Corr1 CLN |
| Equipment used in power station and substation environment |  | ELOT ΕΝ 61000-6-5:2015 EN 61000-6-5:2015/AC:2018-01 |
| Electrical installations in ships |  | ELOT IEC 60092-504: 2021 IEC 60092-504:2016 IACS UR E10 Rev8 Corr1 CLN |
| Equipment for road vehicles | Electrical transient conduction along supply lines only ISO 7637-1:2015 ISO 7637-2 E3:2011 | ΕΛΟΤ EN 50498:2010 E/ECE/324/Add.9/Rev.6 §6.9 OIML R 21: 2007 ETSI EN 301 489-1 V.2.2.3: 2019 ETSI EN 301 489-1 V.1.9.2: 2011* ETSI EN 301 489-3 V.2.3.2:2023 ETSI EN 301 489-4 V3.3.1:2021 ETSI EN 301 489-5 V2.2.1: 2019 ETSI EN 301 489-7 V1.3.1:2005 ETSI EN 301 489-15 V2.2.1: 2019 ETSI EN 301 489-17 V3.2.4:2020 ETSI EN 301 489-19 V2.2.1:2022 ETSI EN 301 489-20 V2.2.1:2022 ETSI EN 301 489-22 V2.1.1:2020 ETSI EN 301 489-33 V2.2.1: 2019 ETSI EN 301 489-34 V2.1.1: 2019 ETSI EN 301 489-34 V 1.4.1:2013* ETSI EN 301 489-52 V1.2.1: 2021 ETSI EN 301 843-1 V2.2.1:2017 ETSI EN 303 446-1 V1.2.1:2019 ETSI EN 303 446-2 V1.2.1:2019 |
|  | Electrical transient transmission by capacitive coupling via lines other than supply lines ISO 7637-1:2015 ISO 7637-3 E3:2016 §4.5, §4.6 | OIML R 21: 2007 |
|  | Discontinuities in supply voltage – Starting profile ISO 16750-1:2018 ISO 16750-2:2012 §4.6.3 | OIML R 21: 2007 ETSI EN 301 489-1 V.2.2.3: 2019 ETSI EN 301 489-1 V.1.9.2: 2011* ETSI EN 301 489-3 V.2.3.2:2023 ETSI EN 301 489-4 V3.3.1: 2021 ETSI EN 301 489-5 V2.2.1: 2019 ETSI EN 301 489-7 V1.3.1 :2005 ETSI EN 301 489-15 V2.2.1: 2019 ETSI EN 301 489-17 V3.2.4:2020 ETSI EN 301 489-19 V2.2.1:2022 ETSI EN 301 489-20 V2.2.1:2022 ETSI EN 301 489-22 V2.1.1:2020 ETSI EN 301 489-33 V2.2.1: 2019 ETSI EN 301 489-34 V2.1.1: 2019 ETSI EN 301 489-34 V 1.4.1:2013* ETSI EN 301 489-52 V1.2.1: 2021 ETSI EN 301 843-1 V2.2.1:2017 ETSI EN 303 446-1 V1.2.1:2019 ETSI EN 303 446-2 V1.2.1:2019 |

* The older version of the standard is used to conform to regulatory or legislative requirements.

** Conducted disturbance measurements are performed according to CISPR 16-2-1:2014 + AMD1:2017 (ELOT EN 55016.02.01 Ε3:2014 + A1:2017) using measurement equipment conforming to CISPR 16-1-1:2019 (ELOT EN 55016.01.01 Ε4:2019).

*** Radio disturbance measurements are performed using measurement equipment conforming to CISPR 16-2-3:2016 + AMD1:2019 (ELOT EN 55016-2-3 Ε4:2017 + Α1:2019) and CISPR 16-1-1:2019 (ELOT EN 55016.01.01 Ε4:2019).

Site of assessment:   Permanent Laboratory Premises, 9, Iroon Politechniou str., 157 80 Zografou  Campus, Zografou, Attiki, Greece.

Approved signatories: Ioannis F. Gonos.

This Scope of Accreditation replaces the previous one dated June 4th, 2021.

The Accreditation Certificate No. 490-5, to ELOT EN ISO/IEC 17025: 2017, is valid until 14.12.2025.

Athens, March 15th, 2024

Christos Nestoras

CEO of ESYD