Hellenic Accreditation System

Annex G1/1 to the Certificate No. 1339 SCOPE of ACCREDITATION of the Clinical Laboratory of ARGIROPOULOY ANASTASIA-BIOMETRIKA

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Biochemical Tests |
| 1. Blood serum Blood serum | Determination of 25 parameters | Automated analyzer INTEGRA 400PLUS ROCHE DIRECTIVE Ε-29 ED.1 03/03/2022 |
|  | UREA - UREA | KINETIC TEST WITH UREASE AND GLUTAMATE DEHYDROGENASE |
|  | CHOL -CHOLESTEROL | COLORIMETRIC METHOD |
|  | CREA - CREATININE | COLORIMETRIC METHOD |
|  | GLUC - GLUCOSE | ENZYMATIC REFERENCE METHOD WITH HEXOKINASE |
|  | TRIG - TRIGLYCERIDES | COLORIMETRIC METHOD |
|  | HDL – HDL CHOLESTEROL | COLOROMETRIC METHOD |
|  | AST/SGOT - ALANINE AMINOTRANSFERASE | METHOD ACCORDING TO IFCC, BUT WITHOUT PYRIDOXAL-5'-PHOSPHATE |
|  | ALT/SGPT - ALANINE AMINOTRANSFERASE | METHOD ACCORDING TO IFCC, BUT WITHOUT PYRIDOXAL-5'-PHOSPHATE |
|  | γ-GT – GAMMA-GLUTAMYLTRANSFERASE | ENZYMATIC COLORIMETRIC ASSAY |
|  | DBIL - DIRECT BILIRUBIN | COLORIMETRIC DIAZO METHOD |
|  | ALB - ALBUMIN | COLORIMETRIC ASSAY WITH ENDPOINT METHOD |
|  | NA - SODIUM | POTENSIOMETRY |
|  | CRP-C-REACTIVE PROTEIN | PARTICLE‑ENHANCED IMMUNOTURBIDIMETRIC ASSAY |
|  | LDH – LACTATE DEHYDROGENASE | UV-TEST |
|  | CPK - CREATINE KINASE | UV-TEST |
|  | ALP - ALKALINE PHOSPHATASE | COLORIMETRIC ASSAY IN ACCORDANCE WITH A STANDARDIZED METHOD |
|  | TBIL- TOTAL BILIRUBIN | COLORIMETRIC DIAZO METHOD |
|  | AMY- Α-AMYLASE | ENZYMATIC COLORIMETRIC ASSAY ACC. TO IFCC |
|  | FE - IRON | FerroZine Method |
|  | K - POTASSIUM | Potensiometry |
|  | P -PHOSPHATE | Endpoint method with sample blanking |
|  | TP - TOTAL PROTEIN | Colorimetric assay |
|  | CA - CALCIUM | Photometric method with NM-BAPTA |
|  | MG - MAGNESIUM | Colorimetric endpoint method |
|  | UA- URIC ACID | Enzymatic colorimetric test |
| Immunochemical testing |
| 2. Blood serum | Determination of 25 parameters | COBAS E411 ROCHE DIRECTIVE Ε-29 ED.1 03/03/2022 |
|  | TSH - THYROID‑STIMULATING HORMONE | Electrochemiluminescence (ECLIA) |
|  | CEA - CARCINOEMBRYONIC ANTIGEN |  |
|  | Β-HCG - HUMAN CHORIONIC GONADOTROPIN |  |
|  | INS - INSULIN |  |
|  | PTH - PARATHYROID HORMONE |  |
|  | PRL- PROLACTIN |  |
|  | VIT B12 - VITAMIN B12 |  |
|  | FERRITIN |  |
|  | CA 15-3 – CARBOHYDRATE ANTIGEN 15-3 |  |
|  | T4 – THYROXINE |  |
|  | TOTAL CALCITONIN |  |
|  | T3 – TRIIODOTHYRONINE (3,5,3'‑TRIIODOTHYRONINE) |  |
|  | TOTAL FOLATE |  |
|  | THYROGLOBULIN |  |
|  | PROGESTERONE - PROGESTERONE |  |
|  | CORTISOL |  |
|  | E2 - ESTRADIOL |  |
|  | TOTAL 25‑HYDROXYVITAMIN D |  |
|  | TOTAL PSA- PROSTATE-SPECIFIC ANTIGEN |  |
|  | TESTO - TESTOSTERONE |  |
|  |  | SNIBE MAGLUMI 800 DIRECTIVE Ε-29 ED.1 03/03/2022 |
|  | AFP – A- PHETOPROTEIN | Electrochemiluminescence (ECLIA) |
|  | FSH –HUMAN FOLLICLE STIMULATIGHORMONE |  |
|  | LH – LUTEINIZING HORMONE |  |
|  | CA 125 – CARBOHYDRATE ANTIGEN 125 |  |
|  | CA 19-9 – CARBOHYDRATE ANTIGEN 19-9 |  |

Site of assessment: Laboratory Permanent premises  28ης October  9, Argos.

Approved signatories: Argiropoulou Anastasia.

The Accreditation Certificate No.1339, to ELOT EN ISO 15189:2012,is valid until 12.06.2028.

Athens, 22.06.2023

Christos Nestoras

CEO of ESYD