Hellenic Accreditation System

Annex F1/12 to the Certificate No. 787-3 SCOPE of ACCREDITATION of the Testing Laboratory of Regional Public Health Laboratory of Thessaly

| Materials/ Products tested | Types of test/ Properties measured | Applied standards/ Techniques used |
| --- | --- | --- |
| Microbiological Tests |
| 1. Water for human consumption, swimming pool and other similar recreational waters | 1. Enumeration of culturable micro-organisms –colony count by inoculation in a nutrient agar culture medium at 22(2oC and at 36(2oC | ΕΛΟΤ ΕΝ ISO 6222:2000 |
|  | 2. Detection and enumeration of Pseudomonas aeruginosa. | ISO 16266:2006 |
| 2. Water for human consumption, surface water intended for human consumption | Enumeration of Clostridium perfringens | ISO 14189:2013 |
| 3. Water for human consumption, surface water, sea water, swimming pool and other similar recreational waters | 1. Detection and enumeration of Escherichia coli and coliform bacteria | ΕLΟΤ ΕΝ ISO 9308-1:2014/ Αmd 1:2017 |
|  | 2. Detection and enumeration of intestinal enterococci | ΕLΟΤ ΕΝ ISO7899-2:2001 |
| 4. Food | 1. Detection of Salmonella spp. except typhi and paratyphi | ΕΛΟΤ ΕΝ ISO 6579-1:2017 |
|  | 2. Detection of Listeria monocytogenes | ΕΛΟΤ ΕΝ ISO 11290-1:2017 |
|  | 3. Enumeration of Listeria monocytogenes | ΕΛΟΤ ΕΝ ISO 11290-2: 2017 |
|  | 4. Enumeration of coagulase-positive staphylococci (Staphylococcus aureus and other species) | ΕΛΟΤ ΕΝ ISO 6888-1:1999 Αmd1:2004 |
|  | 5. Enumeration of presumptive Bacillus cereus | ISO 7932:2004 |
|  | 6. Enumeration of microorganisms at 30οC | ΕΛΟΤ ΕΝ ISO 4833-1:2013 |
|  | 7. Enumeration of Enterobacteriaceae | ISO 21528-2:2017 |
|  | 8. Enumeration of coliforms | ISO 4832:2006 |
|  | 9. Enumeration of beta-glucuronidase positive E. coli | ISO 16649-2:2001 |
| 5. Milk and milk products powder, dried infant formulae containing milk and dried dietary foods containing milk for special medical purposes intended for infants below six months of age | Detection of Cronobacter spp | ISO 22964:2017 |
| 6. Water for haemodialysis and related therapies | 1. Enumeration of microorganisms at 17-23οC | ISO 23500-1:2019 ISO 23500-3:2019 |
|  | 2. Determination of endotoxins | General methods European pharmacopoeia 2.6.14, Method A (gel clot:limit test), Method B (gel clot:quantitative) ISO 23500-1:2019 ISO 23500-3:2019 |
| 7. Dialysis fluid for haemodialysis and related therapies | 1. Enumeration of microorganisms at 17-23οC | ISO 23500-5:2019 |
|  | 2. Determination of endotoxins | General methods European pharmacopoeia 2.6.14, Method A (gel clot:limit test), Method B (gel clot:quantitative) ISO 23500-1:2019 ISO 23500-3:2019 |
| 8. Water, wastewater, environmental water (e.g., sludge, sediments etc) | Enumeration of Legionella spp | ISO 11731:2017 |
| 9. Bacterial and fungal isolates | Identification of bacterial and fungal species according to the library of Bruker Biotyper instrument (Except Shigella, species of Stenotrophomonas maltophilia, Enterobacter cloacae complex, Pseudomonas putida group, Pseudomonas fluorescens, Burkholderia cepacia complex, Bordetella pertussis/bronchioseptica, Achromobacter xylosoxidans/ruhlandii, Bacteoides nordii/salyersiae) | MALDI TOF-MS mass spectrometry based on ΕLΟΤ ΕΝ ISO 11731:2017 ΕLΟΤ ΕΝ ISO 6579-1:2017 ΕLΟΤ ΕΝ ISO 11290-1:2017 ΕLΟΤ ΕΝ ISO 22964:2017 |
| Molecular Tests |
| Clinical samples | Qualitative detection of SARS‑CoV‑2 nucleic acid by real-time RT‑PCR | ISO/TS 5798:2022 (Ε) |
| Chemical Tests |
| 1. Water for human consumption | 1. Determination of hexavelent chromium | HACH LANGE (LCK 313), by photometry |
|  | 2. Determination of sulphates ions | HACH LANGE (Sulfa Ver 4 Sulfate), by photometry |
|  | 3. Determination of ammonium ions | HACH LANGE (LCK 304), by photometry |
|  | 4. Determination of phosphates ions | HANNA C200 (HI 93717), by photometry |
|  | 5. Determination of iron | In-house method based on APHA* 3111 Β Method Code: ΜΧ-15 |
|  | 6. Determination of copper | In-house method based on APHA* 3111 Β Method Code: ΜΧ-15 |
|  | 7. Determination of zinc | In-house method based on APHA* 3111 Β Method Code: ΜΧ-15 |
|  | 8. Determination of aluminium | In-house method based on APHA 3113-B Method Code: ΜΧ-25 |
|  | 9. Determination of potassium | In-house method based on APHA 3111-B Method Code: ΜΧ-26 |
|  | 10. Determination of sodium | In-house method based on APHA 3111-B Method Code: ΜΧ-27 |
|  | 11. Determination of mercury | In-house method based on APHA 3112-B Method Code: ΜΧ-21 |
|  | 12. Determination of boron | HACH LANGE LCK 307 |
|  | 13. Determination of cyanide ions | HACH LANGE LCK 315 |
|  | 14. Determination of fluoride ions | HACH LANGE LCK 323 |
|  | 15. Determination of TDS | APHA 2540-C |
| 2. Surface water, water for human consumption | 1. Determination nitrites ions – High Range | HANNA C200 (HI 93708), by photometry |
|  | 2. Determination nitrite ions | MERCK Pharo 300 (Merck 1. 14776), by photometry |
| 3. Surface water, sea water, swimming pool and other similar recreational waters, water for human consumption | 1. Determination of alkalinity | APHA* 2320-B |
|  | 2. Determination of chloride ions | APHA* 4500Cl--B |
| 4. Surface water, water for human consumption | 1. Determination of total hardness | In-house method based on APHA* 2340-C B Method Code: ΜΧ-04 |
|  | 2. Determination of calcium | In-house method based on APHA* 3500 Ca-B Method Code: ΜΧ-05 |
|  | 3. Determination of nitrate ions | HANNA C200 (HI 93728), by photometry |
|  | 4. Determination of lead | In-house method based on APHA* 3113-B Method Code: ΜΧ-14 |
|  | 5. Determination of nickel | In-house method based on APHA* 3113-B Method Code: ΜΧ-14 |
|  | 6. Determination of chromium | In-house method based on APHA* 3113-B Method Code: ΜΧ-14 |
|  | 7. Determination of cadmium | In-house method based on APHA* 3113-B Method Code: ΜΧ-14 |
|  | 8. Determination of manganese | In-house method based on APHA* 3113-B Method Code: ΜΧ-14 |
|  | 9. Determination of arsenic | In-house method based on APHA* 3113-B Method Code: ΜΧ-14 |
|  | 10. Determination of magnesium | APHA* 3500-Mg Β |
| 5. Surface water, water for human consumption and wastewater | 1. Determination of pH | APHA* 4500-H+ |
|  | 2. Determination of conductivity | APHA* 2510-B |
| 6. Wastewater | 1. Determination of BOD | In-house method based on APHA* 5210 D Method Code: ΜΧ-13 |
|  | 2. Determination of COD | HACH LANGE (LCK 314, LCK 114) |
|  | 3. Determination of total suspended solids (TSS) | In-house method based on APHA* 2540 D Method Code: ΜΧ-11 |
|  | 4. Determination of chlorides | APHA 4500-Cl- B |
| 7. Water for haemodialysis and related therapies | 1. Determination of copper | In-house method based on APHA* 3111-B Method Code: ΜΧ-15 |
|  | 2. Determination of lead | In-house method based on APHA* 3113-B by photometry Method Code: ΜΧ-14 |
|  | 3. Determination of sulphates ions | HACH LANGE (Sulfa ver 4 sulfate) by photometry |
|  | 4. Determination of zinc | In-house method based on APHA* 3111-B Method Code: ΜΧ-15 |
|  | 5. Determination of arsenic | In-house method based on APHA* 3113-B Method Code: ΜΧ-14 |
|  | 6. Determination of cadmium | In-house method based on APHA* 3113-B Method Code: ΜΧ-14 |
|  | 7. Determination of chromium | In-house method based on APHA* 3113-B Method Code: ΜΧ-14 |
|  | 8. Determination of mercury | In-house method based on APHA 3112-B Method Code: ΜΧ-21 |
|  | 9. Determination of aluminium | In-house method based on APHA 3113-B Method Code: ΜΧ-25 |
|  | 10. Determination of potassium | In-house method based on APHA 3111-B Method Code: ΜΧ-26 |
|  | 11. Determination of sodium | In-house method based on APHA 3111-B Method Code: ΜΧ-27 |
| 8. Inland water | 1. Determination of TDS | APHA 2540-C |
|  | 2. Determination of nitrogen Kjeldahl | In-house method based on HACH LANGE Method Code: ΜΧ-29 |
| 9. Surface water | 1. Determination of COD | HACH LANGE (LCK 314, LCK 114), by photometry |
|  | 2. Determination of TSS | In-house method based on APHA* 2540-D Method Code: ΜΧ-11 |
|  | 3. Determination of sulfate ions | HACH LANGE (Sulfa ver 4 Sulfate), by photometry |
|  | 4. Determination of ammonium ions | HACH LANGE (LCK 304), by photometry |
|  | 5. Determination of phosphates ions | HANNA C200 (HI 93717), by photometry |

* ΑPHA: American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 23rd Edition, 2017

Site of assessement:  Permanent Laboratory premises, 22 Papakiriazi str., 412 22, Larissa, Greece.

Approved signatories: F. Kolokithopoulou, M. Hatzinikou, M. Gennata, J. Gagtzis, Μ. Κyritsi.

This scope of Accreditation replaces the previous one dated 03.02.2023.

The Accreditation Certificate No. 787-3, to ELOT EN ISO/IEC 17025:2017, is extended until 19.07.2024.

Athens, 18.01.2024

Christos Nestoras

CEO of ESYD