Hellenic Accreditation System

Annex G1/Α6 to the Certificate No. 987-3 SCOPE of ACCREDITATION of the Clinical laboratory of D. Papandreou Private Multimodality, Medical S.A.

| Tested materials/products | Types of test/Properties | Applied standards/Techniques |
| --- | --- | --- |
| Biochemical tests |
| Blood serum | Determination of 29 parameters | Automated biochemical analyzer, Dimension ΕxL (Siemens)* (Δ03e68-4.0, 21/06/2023) |
|  | 1. Glucose | Enzymatic (HK/6-PDH) |
|  | 2. Urea | Enzymatic (Urease, UV) |
|  | 3. Creatinine (CREAT) | Kinetic (Jaffé) |
|  | 4. Uric acid (UA) | Enzymatic (Uricase- PAP) |
|  | 5. Calcium (Ca) | Complex-metric (o-CPC) |
|  | 6. Phosphorus (PHOS) | Complex-metric (Molybdate, UV) |
|  | 7. Albumin (ALB) | Colorimetric (BCG) |
|  | 8. Total Protein (TP) | Colorimetric (Biuret) |
|  | 9. Globulins (GLOB) | Calculation from Protein and Albumin |
|  | 10. Total Bilirubin (TBILI) | Diazo with Cafeine/Benzoate (Doumas method) |
|  | 11. Direct Bilirubin (DBILI) | Diazo with Cafeine/Benzoate (Doumas method) |
|  | 12. InDirect Bilirubin (IBILI) | Calculation from Total and Direct Bilirubin |
|  | 13. Iron | Complex-metric (Ferrene) |
|  | 14. Magnesium (Mg) | Complex-metric (MTB/EGTA) |
|  | 15. Total cholesterol (tCHOL) | Enzymatic (CHOD – POD) |
|  | 16. High Density Lipoprotein Cholesterol (HDL-Chol) | Direct without precipitation |
|  | 17. Triglycerides (TRIG) | Enzymatic (GPO – PAP) |
|  | 18. Low Density Lipoprotein Cholesterol (LDL-Chol) | Calculation from TRIG, HDL-CHOL, tCHOL |
|  | 19. Amylase (AMY) | GNPG3 |
|  | 20. Alkaline phosphatase (ALP) | pNPP/IFCC** |
|  | 21. Gamma glutamyl transferase (γGT) | GCNA-SZASZ/IFCC |
|  | 22. Creatinine kinase (CK) | NAC/IFCC |
|  | 23. Lactate Dehydrogenase (LDH) | L->P, IFCC |
|  | 24. Alanine aminotransferase (ALT/SGPT) | IFCC |
|  | 25. Aspartate aminotransferase (AST/GOT) | IFCC |
|  | 26. Sodium (Na) | ISE |
|  | 27. Potassium (K) | ISE |
|  | 28. Glycated hemoglobin (HbA1c) | Colorimetric (DCCT***) |
|  | 29. C reactive protein (CRP) | Turbidimetric Immunoassay |
| Immunochemical tests |
| Blood serum | Determination of 20 parameters | Automated immunochemical analyzer Centaur Advia XP (Siemens) |
|  | 1. Thyrotropin Hormone (TSH) | Chemiluminescence (CIA) (Acridinium ester) (Δ03e68-4.0, 21/06/2023) |
|  | 2. Free Thyroxin (FT4) |  |
|  | 3. a-fetoprotein (AFP) |  |
|  | 4. Free Triiodothyronine (FT3) |  |
|  | 5. Thyroxin (T4) |  |
|  | 6.Triiodothyronine (T3) |  |
|  | 7. Carcinoembrionic antigen (CEA) |  |
|  | 8. Ca 15-3 |  |
|  | 9. Ca 19-9 |  |
|  | 10. Ca 125 |  |
|  | 11. Prostatic Antigen (PSA) |  |
|  | 12. Ferritine (FERR) |  |
|  | 13. Folic Acid |  |
|  | 14. Vitamin B12 |  |
|  | 15. Luteinizing hormone (LH) |  |
|  | 16. Follicle-stimulating hormone (FSH) |  |
|  | 17. Total 25(OH) Vitamin D (VitD) |  |
|  | 18. Anti-Thyroglobulin antibodies (anti-TG) |  |
|  | 19. Anti-Thyroid Peroxidase antibodies (anti-TPO) |  |
|  | 20. PTH |  |
| Hematological tests |
| Whole Blood (EDTA) | Determination of 16 parameters | Automated analyzer Advia 2120i (Siemens) |
|  | Hemoglobin (HGB) | Photometry and flow cytometry (OED54-1.1, 12/01/2017) |
|  | Hematocrit (HCT) | Calculated from MCV (OED54-1.1, 12/01/2017) |
|  | White Blood Cells (WBC) | Flow cytometry (OED54-1.1, 12/01/2017) |
|  | Red Blood Cells (RBC) | Flow cytometry (OED54-1.1, 12/01/2017) |
|  | Platelets (PLTs) | Flow cytometry (OED54-1.1, 12/01/2017) |
|  | Mean Cell Volume (MCV) | Flow cytometry (OED45-1.0, 23/02/2017) |
|  | Mean Cell hemoglobin (MCH) | Calculated from HGB/RBC (OED45-1.0, 23/02/2017) |
|  | Mean Cell Hemoglobin Concentration (MCHC) | Calculated from HGB/HCT (OED45-1.0, 23/02/2017) |
|  | Red Blood cell Distribution Width (RDW) | Calculated from RBC histogram (OED45-1.0, 23/02/2017) |
|  | Mean platelets Volume (MPV) | Calculated from PLT histogram (OED45-1.0, 23/02/2017) |
|  | Neutrophils (Concentration and percentage%) | Flow Cytometry and staining (OED54-1.1, 12/01/2017) |
|  | Lymphocytes (Concentration and percentage%) | Flow Cytometry and staining (OED54-1.1, 12/01/2017) |
|  | Eosinophils (Concentration and percentage%) | Flow Cytometry and staining (OED45-1.0, 23/02/2017) |
|  | Basophiles (Concentration and percentage) | Flow Cytometry and staining (OED54-1.1, 12/01/2017) |
|  | Monocytes Concentration and percentage%) | Flow Cytometry and staining (OED54-1.1, 12/01/2017) |
| Blood film | Determination of 3 parameters | Microscopy |
|  | White blood cell differentiation count | ΟΕD37-1.1, 14/2/2020 |
|  | Red blood cells morphology | ΟΕD59-1.0, 20/7/2020 |
|  | Platelets morphology | ΟΕD36-1.2, 14/2/2020 |
| Urinalysis |
| Urine specimen | Macroscopic parameters (3 parameters) (ΟΕD44-2.0 7/7/2021) |
|  | Clarity/Turbidity | Automated reflectometry (Clinitek Novus, Siemens*) |
|  | Color |  |
|  | Sediment | Physical examination |
|  | Urine biochemical tests (10 parameters) (ΟΕD44-2.0 7/7/2021) |
|  | pH | Automated reflectometry (Clinitek Novus, Siemens*) |
|  | Specific gravity |  |
|  | Protein |  |
|  | Glucose |  |
|  | Ketones |  |
|  | Bilirubin |  |
|  | Urobilinogen |  |
|  | Nitrate |  |
|  | Blood |  |
|  | Leucocytes |  |
| Urine sediment | Microscopic parameters (8 parameters) (ΟΕD44-2.0 7/7/2021) |
|  | White blood cells | Phase contrast microscopy (Microscope Zeiss Axiostar plus) |
|  | Red blood cells |  |
|  | Epithelial cells |  |
|  | Crystals |  |
|  | Unformed salts |  |
|  | Casts |  |
|  | Mucus |  |
|  | Microorganisms |  |

*Reference to the commercial name of a specific analyzer,  refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry

***DCCT: Diabetes Control and Complications Trial

Site of assessment: Permanent laboratory premises, 49, Patision Avenue, 104 33, Athens, Greece.

Approved signatories: Savas Chaikalis, Petros Karkalousos.

Sites of primary sample collection.

- Patision 49, Athens, (D. Papandreou Private Multimodality, Medical S.A. [central laboratory])

- Patision 345, Athens, (D. Papandreou Private Multimodality, Medical S.A [branch]).

This scope of Accreditation replaces the previous one dated 24.02.2023.

The Accreditation Certificate No. 987-3, to ELOT EN ISO 15189:2012, is valid until 02.07.2028.

Athens, 28th August 2023

Christos Nestoras

CEO of ESYD