Hellenic Accreditation System

Annex F1/C1 to the Certificate No. 44-8

SCOPE of ACCREDITATION

of the

Testing Laboratory

of

VELTIA S.A. (Veltia Labs for Life)

(Laboratory in Heraklion Crete)

| Materials / Products Tested | Types of test / Properties to be measured | Applied Standards / Techniques to be used |
| --- | --- | --- |
|  | Chemical Tests |  |
| 1. Olive oil, pomace oil, Vegetable fats and oils | 1. Determination of free fatty acids, cold method | COI/T.20/Doc No 34 as in force ISO 660:2020 |
|  | 2. Determination of peroxide value | COI/T.20/Doc No 35 as in force ISO 3690:2017 |
|  | 3. Determination of moisture and volatiles at 103(C | ISO 662:2016-Method B |
|  | 4. Determination of the extinction coefficient K (at 270 nm and 232 nm) and the parameter ΔK | COI/T.20/Doc No 19 as in force |
| 2. Potable, surface and ground water, intended or not for human consumption Potable, surface and ground water, intended or not for human consumption (continued) | 1. Determination of pH | O.17.009 - 4500-H, B (APHA, Standard Methods lat. ed.) |
|  | 2. Determination of Conductivity | O.17.011 - 2510 B (APHA, Standard Methods lat. ed.) |
|  | 3. Determination of Sulphate ions | O.17.005 - Internal method based on HACH Application DOC 316.53.01135 |
|  | 4. Determination of Hardness | O.17.006 - Modified method based on 2340 B (APHA, Standard Methods lat. ed.) |
|  | 5. Determination of Nitrite ions | O.17.003 - Modified method based on 4500 NO2, (APHA, Standard Methods lat. ed.) |
|  | 6. Determination of Ammonium ions | O.17.002 - Modified method based on 4500 NH3, - (APHA, Standard Methods lat. ed.) |
|  | 7. Determination of Nitrate ions | O.17.001 - Modified method based on 4500 ΝΟ3- -Β (screening method) (APHA, Standard Methods lat. ed.) |
|  | 8. Determination of Turbidity | O.17.008 - Internal method based on HACH Application DOC 022.98.80041 |
|  | 9. Determination of free Chlorine | O.17.004 - Internal method based on HACH Application DOC 316.53.01450 and DOC 316.53.01449 |
|  | 10. Potentiometric determination of chloride ions | Ο.17.010 - Internal method based on HACH Application DOC 316.52.93091 and ISO 9297:2000 |
|  | 11. Determination of Calcium | O.17.012 - Modified method based on 3500 Ca -Β (APHA, Standard Methods lat. ed.) |
|  | 12. Determination of Magnesium | O.17.012 - Modified method based on 3500 Mg -Β (APHA, Standard Methods lat. ed.) |
|  | 13. Determination of total Alkalinity | Ο.17.007 - In house method based on: HACH Application DOC 316.52.93085 and ISO 9963-1:1994 |
| 3. Swimming pool water | 1. Determination of pH | O.17.009 - 4500-H, B (APHA, Standard Methods lat. ed.) |
|  | 2. Determination of total Alkalinity | Ο.17.007 - Intrenal method based on HACH Application DOC 316.52.93085 and ISO 9963-1:1994 |
|  | 3. Determination of Turbidity | O.17.008 - Internal method based on HACH Application DOC 022.98.80041 |
| Microbiological Tests |

| 1. Potable, surface and ground water, intended or not for human consumption and swimming pool water | Enumeration of culturable microorganisms at22(2 οC & at 36(2 οC | ISO 6222:1999 |
| --- | --- | --- |
|  | Enumeration of E. coli and coliform bacteria | ISO 9308-1:2014 & Amd1:2016 |
|  | Enumeration of intestinal enterococci | ISO 7899-2: 2000 |
|  | Enumeration P. aeruginosa | ISO 16266:2006 |
|  | Enumeration of Cl. perfringens | ISO 14189:2013 |
|  | Enumeraion of Legionella spp. | ISO 11731:2017 |
|  | Detection of Salmonella spp | ISO 19250:2010 |
| 2. Sea Water | Enumeration of E. coli and coliform bacteria | ISO 9308-1:2014 & Amd1:2016 |
|  | Enumeration of intestinal enterococci | ISO 7899-2: 2000 |
| 3. Treated waste water from treatment plant | Enumeration of E. coli and coliform bacteria | ISO 9308-1:2014 & Amd1:2016 |

Site of assesement: Laboratory permanent premises – Ekavis & Petraki 1, 71304, Heraklion, Crete

Approved signatories: A. Giannousios, P. Konstantinou, I. Kaidatzis, Ο. Paraskevas,

M. Stamboulidou, M. Marinaki, M. Tamiolakis

The Accreditation Certificate No. 44-8, according to ELOT EN ISO/IEC 17025:2017, is valid until 26.11.2026.

Athens, 4th of August 2023

Christos Nestoras

CEO of ESYD