# Hellenic AccreditationSystem

Appendix G1/2 of Certificate No.1363 # OFFICIAL SCOPE OF ACCREDITATION # of # Biochemical Laboratory # of # Laboratory Department # of # “GEORGIOS GENNIMATAS” GENERAL HOSPITAL OF ATHENS

| Materials / Products being tested | Test types / Measured Properties | Analyzer | Applied methods / Techniques used |  |
| --- | --- | --- | --- | --- |
| Biochemical Assays |  |  |  |  |
| 1. Lithium Heparin Plasma Lithium Heparin Plasma (continued) Lithium Heparin Plasma (continued) | Assessment of 28 parameters | Automated biochemical analyzers Alinity c Abbott Laboratories Hellas |  |  |
|  | 1. Glucose | AC02526 AC02525 AC02517 AC02328 | Enzymatic method (Hexokinase/G-6-PDH)/ Spectrophotometry Method/version: Reagent insert, version 07P55, 04/2022 |  |
|  | 2.Urea Nitrogen | AC02526 AC02525 AC02517 AC02328 | Enzymatic method (Urease)/ Spectrophotometry Method/version: Reagent insert, version 08P16, 04/2022 |  |
|  | 3. Creatinine Enzymatic | AC02526 AC02525 AC02517 AC02328 | Enzymatic method (Creatininase, Creatinase, Sarcosine oxidase, Peroxidase) / Colorimetry Method/version: Reagent insert, version 08P01, 11/2018 |  |
|  | 4. Uric Acid 2 | AC02526 AC02525 AC02517 AC02328 | Enzymatic method (Uricase)/ Colorimetry Method/version: Reagent insert, version 04U09, 02/2022 |  |
|  | 5. Bilirubin Total | AC02526 AC02525 AC02517 AC02328 | Diazonium salt/ Colorimetry Method/version: Reagent insert, version 04V51, 02/2022 |  |
|  | 6. Bilirubin Direct | AC02526 AC02525 AC02517 AC02328 | Diazo reaction/ Colorimetry Method/version: Reagent insert, version 07P97, 04/2022 |  |
|  | 7. Aspartate Aminotransferase (AST) | AC02526 AC02525 AC02517 AC02328 | Enzymatic method (NADH (without P-5'-P))/ Spectrophotometry Method/version: Reagent insert, version 04T86, 07/2021 |  |
|  | 8. AlanineTransaminase (ALT) | AC02526 AC02525 AC02517 AC02328 | Enzymatic method (NADH (without P-5'-P))/ Spectrophotometry Method/version: Reagent insert, version 04T84, 07/2021 |  |
|  | 9. Gamma-glutamyl Transferase (γ-GT 2) | AC02526 AC02525 AC02517 AC02328 | Enzymatic method, (L-γ-glutamyl-3-carboxy-4-nitroanilide substrate)/ Spectrophotometry Method/version: Reagent insert, version 04T96, 07/2021 |  |
|  | 10. Alkaline Phosphatase (AlkP) | AC02526 AC02525 AC02517 AC02328 | Para-nitrophenyl phosphate/ Colorimetry Method/version: Reagent insert, version 08P20 04T83, 09/2021 |  |
|  | 11. Sodium | AC02526 AC02525 AC02517 AC02328 | Potentiometry, Diluted Ion-Selective Electrodes (Indirect) Method/version: Reagent insert, version 07P53, 01/2018 |  |
|  | 12. Potassium | AC02526 AC02525 AC02517 AC02328 | Potentiometry, Diluted Ion-Selective Electrodes (Indirect) Method/version: Reagent insert, version 07P53, 01/2018 |  |
|  | 13. Calcium | AC02526 AC02525 AC02517 AC02328 | Colorimetric method (ArsenazoIII) Method/version: Reagent insert, version 07P57, 02/2018 |  |
|  | 14. Magnesium | AC02526 AC02525 AC02517 AC02328 | Enzymatic method (isocitrate dehydrogenase)/ Spectrophotometry Method/version: Reagent insert, version 08P19, 08/2023 |  |
|  | 15. Phosphorus | AC02526 AC02525 AC02517 AC02328 | Phosphomolybdenum method/ Spectrophotometry Method/version: Reagent insert, version 08P40 04U03, 01/2023 |  |
|  | 16. Iron | AC02526 AC02525 AC02517 AC02328 | Ferene Method/ Colorimetry Method/version: Reagent insert, version 08P39 04T98, 03/2022 |  |
|  | 17. Amylase | AC02526 AC02525 AC02517 AC02328 | Enzymatic method (CNPG3 Substate)/ Spectrophotometry Method/version: Reagent insert, version 04T85, 07/2020 |  |
|  | 18. Creatine Kinase (CK) | AC02526 AC02525 AC02517 AC02328 | Enzymatic method (N-acetyl-L-cysteine (NAC))/ Spectrophotometry Method/version: Reagent insert, version 08P42, 02/2022 |  |
|  | 19. Lactate Dehydrogenase (LDH) | AC02526 AC02525 AC02517 AC02328 | Enzymatic method (reaction of conversion of lactate to pyruvate with reduction of NAD+)/ Spectrophotometry Method/version: Reagent insert, Version 04T99, 02/2022 |  |
|  | 20. Total Proteins 2 | AC02526 AC02525 AC02517 AC02328 | Biuret Method/version: Reagent insert, version 04T81, 02/2022 |  |
|  | 21. Albumin BCP 2 | AC02526 AC02525 AC02517 AC02328 | Colorimetric (bromocresol blue) Method/version: Reagent insert, version 04T82, 08/2020 |  |
|  | 22. C-Reactive Protein (CRP Vario High Sensitivity Method) | AC02526 AC02525 AC02517 AC02328 | Turbidimetry/Immunoturbidimetry Method/version: Reagent insert, version 07P56, 09/2019 |  |
|  | - Cholesterol (Chol 2) | AC02526 AC02525 AC02517 AC02328 | Enzymatic method Method/version: Reagent insert, version 04T88, 07/2020 |  |
|  | - HDL (Ultra HDL) | AC02526 AC02525 AC02517 AC02328 | Accelerator Selective Detergent Method/version: Reagent insert, version 07P75, 08/2023 |  |
|  | - Triglyceride (Trig 2) | AC02526 AC02525 AC02517 AC02328 | Enzymatic method (Glycerol phosphate oxidase) Method/version: Reagent insert, version 04U06, 04/2021 |  |
|  | - Ηaptoglobin | AC02328 AC02327 | Immunoturbidimetry Method/version: Reagent insert, version 09P59, 06/2020 |  |
|  | 27. Acetaminophen | AC02328 AC02327 | Enzymatic (aryl acylamidase) / Colorimetric method Method/version: Reagent insert, version 07P54, 08/2022 |  |
|  | 28. Salicylate | AC02327 | Enzymatic (salicylate hydroxylase)/ Colorimetric method Method/version: Reagent insert, version 08P59, 04/2019 |  |
| 2.Urine | Assessment of 6 parameters | Automated biochemical analyzers Alinity c Abbott Laboratories Hellas |  |  |
|  | 1. Amphetamines | AC02327 | Enzyme immunoassay Spectrophotometry Method/version: Reagent insert, version 09P45, 12/2018 |  |
|  | 2. Barbiturates | AC02327 | Enzyme immunoassay Spectrophotometry Method/version: Reagent insert, version 09P51, 07/2019 |  |
|  | 3. Benzodiazepines | AC02327 | Enzyme immunoassay Spectrophotometry Method/version: Reagent insert, version 09P52, 01/2020 |  |
|  | 4. Cocaine | AC02327 | Enzyme immunoassay Spectrophotometry Method/version: Reagent insert, version 09P55, 12/2019 |  |
|  | 5. Opiates | AC02327 | Enzyme immunoassay Spectrophotometry Method/version: Reagent insert, version 09P65, 07/2019 |  |
|  | 6. Cannabinoids | AC02327 | Enzyme immunoassay Spectrophotometry Method/version: Reagent insert, version 09P54, 11/2019 |  |
| Immunochemical Assays |  |  |  |  |
| 3. Lithium Heparin Plasma Lithium Heparin Plasma (continued) | Assessment of 7 parameters | Automated immunoassay analyzers Alinity i Abbott Laboratories Hellas |  |  |
|  | 1. High-Sensitivity Troponin I (Troponin I hs) | AI03944 AI03680 AI03954 AI03679 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 08P13, 09/2021 |  |
|  | 2. Ferritin | AI03944 AI03680 AI03954 AI03679 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P65, 10/2020 |  |
|  | 3. Vitamin B12 | AI03944 AI03680 AI03954 AI03679 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P67, 12/2017 |  |
|  | 4. Folate | AI03944 AI03680 AI03954 AI03679 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P67 08P14, 11/2017 |  |
|  | 5. Cancer Antigen 15-3 (CA 15-3) | AI03944 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 08P51, 08/2018 |  |
|  | 6. Cancer Antigen 125 (CA 125) | AI03944 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 08P49, 08/2018 |  |
|  | 7. Human chorionic gonadotropin (β-hCG) | AI03944 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P51, 03/2018 |  |
| 4. Serum Serum (continued) | Assessment of 23 parameters | Automated immunoassay analyzers Alinity i Abbott Laboratories Hellas |  |  |
|  | 1. Thyroid-Stimulating Hormone (TSH) | AI03944 AI03680 AI03954 AI03679 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P48, 10/2021 |  |
|  | 2. Free Thyroxine (FT4) | AI03944 AI03680 AI03954 AI03679 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P70, 02/2018 |  |
|  | 3. Total Thyroxine (TT4) | AI03944 AI03680 AI03954 AI03679 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P95, 02/2018 |  |
|  | 4. Total Triiodothyronine (TT3) | AI03944 AI03680 AI03954 AI03679 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P94, 04/2020 |  |
|  | 5. Total Prostate-Specific Antigen (TPSA) | AI03680 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P92, 05/2019 |  |
|  | 6. Cancer Antigen19-9 (CA19-9) | AI03944 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 08P32, 03/2018 |  |
|  | 7. Alpha-Fetoprotein (AFP) | AI03680 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P90, 08/2019 |  |
|  | 8. Carcinoembryonic antigen (CEA) | AI03944 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P62, 09/2018 |  |
|  | 9. Vitamin D | AI03944 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 08P45, 02/2018 |  |
|  | 10. Free Prostate-Specific Antigen (fPSA) | AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P93, 05/2019 |  |
|  | 11. Prolactin | AI03944 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P66, 02/2018 |  |
|  | 12. Cortisol | AI03680 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 08P33, 02/2018 |  |
|  | 13. Testosterone | AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 07P68, 02/2018 |  |
|  | - Thyroglobulin Antibodies (Anti-Tg) | AI03944 AI03680 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version:Reagent insert, version 09P34, 02/2018 |  |
|  | - Thyroid Peroxidase Antibodies (Anti-TPO) | AI03944 AI03680 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version:Reagent insert, version 09P35, 03/2018 |  |
|  | 16. Free Triiodothyronine (FT3) | AI03944 AI03680 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version:Reagent insert, version 07P69, 04/2020 |  |
|  | 17. Homocysteine | AI03944 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version:Reagent insert, version 09P28, 07/2018 |  |
|  | - Estradiol | AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version:Reagent insert, version 07P50, 05/2019 |  |
|  | - Progesterone | AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version:Reagent insert, version 08P36, 04/2018 |  |
|  | - Follicle Stimulation Hormone (FSH) | AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version:Reagent insert, version 07P69, 04/2018 |  |
|  | - Luteinizing Hormone (LH) | AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version:Reagent insert, version 07P69, 04/2018 |  |
|  | - Procalcitonin (PCT) | AI03944 AI03680 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version:Reagent insert, version 01R18, 11/2017 |  |
| Serum (continued) | - Thyroglobulin (Tg) | AI03679 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version:Reagent insert, version 09P49, 03/2020 |  |
| 5. EDTA-plasma | Assessment of 1 parameter | Automated immunoassay analyzers Alinityi Abbott Laboratories Hellas |  |  |
|  | 1. B-Type Natriuretic Peptide (BNP) | AI03680 AI03954 | Chemiluminescent Microparticle Immunoassay (CMIA) Method/version: Reagent insert, version 08P24, 03/2020 |  |

* Mention of the trade name of the analyzer refers to a specific analytical method and working protocol.

Place of evaluation: Permanent Facilities, 154 Mesogeion Avenue, Athens 11527.

Authorized signatories: Panagiotopoulos Konstantinos, Kokosi Evniki, Ioannou Panagiotis, Tampaki Eleni, Giannakopoulou Olimpia, Sarri Konstantina, Tsaggari Maria, Boumbouraki Aikaterini

Primary Sample Collection Site: Permanent Facilities, 154 Mesogeion Avenue, Athens 11527.

This scope of Accreditation replaces the previous one dated 22.08.2023.

The Accreditation Certificate with No. 1363, according to ELOT EN ISO 15189: 2012, is valid until 21.08.2028.

Athens, 18th June 2024

Christos Nestoras

CEO of E.SY.D.