Hellenic Accreditation System

Annex F1/1 to the Certificate No.1407

SCOPE of ACCREDITATION

Of the

Water and Wastewater Analysis Laboratory

of the

Municipal Water Supply and Sewerage Company of Thermi

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Chemical Tests |  |  |
| Drinking Water | 1. Determination of pH | In house Method based on APHA*2510-Β Method code:LΑΤi01#1-0 |
|  | 2. Determination of conductivity | In house Method based on APHA*4500 H+ -B Method code: LATi02#1-0 |
|  | 3. Determination of Turbidity | In house Method based on APHA* 2130-Β. Nephelometric method (Hach-Lange 2100Qis) Method code:LΑΤi03#1-0 |
|  | 4. Determination of color | In house Method based on APHA*2120-C COLOR Spectrophotometry Method code: LΑΤi04#1-0 |

American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 24rd Edition, 2023

Site of assessement: Laboratory Facilities-Wastewater treatment plant of Thermi, Agr.990, Platani, Thermi

57001

Approved signatory: Konstantinos Georgakoudis

The Accreditation Certificate No.1407, according to ELOT EN ISO/IEC 17025:2017, is valid until 12.06.2029.

Athens, 17.06.2024                                                                                                       Christos Nestoras

- CEO of ESYD