Hellenic Accreditation System

# Annex G2/B1 to the Certificate No. 1261

SCOPE of ACCREDITATION

of the

Clinical Laboratory

LIFECHECK LABS

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| Blood Serum | Determination of 23 parameters | Automated Analyzer Cobas 6000, Roche * Ε.520-1, version 2, 1/12/2022 |
|  | Albumin (ALB) | Immunoturbidimetric |
|  | Alkaline Phosphatase (ALP) | Colorimetric |
|  | Alanine aminotransferase (SGPT/ALT) (ALT) | Colorimetric (IFCC**) |
|  | α-Amylase (AMY) | Enzymatic kinetic colorimetric method, according to IFCC |
|  | Aspartate aminotransferase (SGOT/AST) | Colorimetric (IFCC) |
|  | Calcium (CA) | Colorimetric |
|  | Cholesterol (CHOL) | Enzymatic kinetic |
|  | Creatine kinase (CPK) | UV method |
|  | Creatinine (CREA) | Kinetic colorimetric based on the Jaffé method. |
|  | Bilirubin direct (DBIL) | Colorimetric endpoint diazomethod, |
|  | Bilirubin total (TBIL) | Colorimetric endpoint diazomethod. |
|  | Iron (FE) | Colorimetric endpoint method with FerroZine. |
|  | Glucose (GLU) | Enzymatic photometric endpoint reference method (UV) with hexokinase. |
|  | Lactate Dehydrogenase (LDH) | Kinetic photometric UV assay according to IFCC. |
|  | LDL - Cholesterol | Homogeneous enzymatic colorimetric endpoint method. |
|  | HDL - Cholesterol | Homogeneous enzymatic colorimetric endpoint method. |
|  | Magnesium (MG) | Calorimetric endpoint method |
|  | Phosphorus (PHOS) | Complex-metric (Molybdate, UV) |
|  | Total Protein (TP) | Colorimetric endpoint method |
|  | Triglycerides (TRIG) | Enzymatic colorimetric |
|  | Uric acid (UA) | Enzymatic colorimetric |
|  | Urea (UREA) | Kinetic photometric |
|  | Gamma-Glutamyltransferase (GGT) | Enzymatic colorimetric |

| Upper and lower respiratory system specimens (nasopharyngeal swab, sputum, BAL) | Molecular detection of SARS-CoV-2 RNA | Real Time PCR method by the use of thermal cycler BIORAD, according to the instructions of the manufacturer of SARS-COV-2 Nucleic Acid Detection kit, Zybio*, CE-IVD. Ο.510-3, version 1, 01/02/2021 |
| --- | --- | --- |

* Commercial names mentioned are reffering to specific analytical method and laboratory  protocol.

Site of assessment: Permanent laboratory premises, Protopappa 13-15, 16345, Ilioupoli, Attiki, Greece.

Approved signatories: Aristidis Christophidis.

This Scope of Accreditation replaces the previous one dated 05.07.2021.

The Accreditation Certificate No.1261, to ELOT EN ISO 15189:2012, is valid until 04.07.2025.

# Athens, 26.07.2023

# Christos Nestoras

CEO of ESYD

Hellenic Accreditation System

# Annex G1/A1 to the Certificate No. 1261

SCOPE of ACCREDITATION

of the

Clinical Laboratory

LIFECHECK LABS

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Upper and lower respiratory system specimens (nasopharyngeal swab, sputum, BAL) | Molecular detection of SARS-CoV-2 RNA | Real Time PCR method by the use of thermal cycler BIORAD, according to the instructions of the manufacturer of SARS-COV-2 Nucleic Acid Detection kit, Zybio*, CE-IVD. Ο.510-3, version 1, 01/02/2021 |

* Commercial names mentioned are reffering to specific analytical method and laboratory  protocol.

Site of assessment: Permanent laboratory premises, Gladstonos 1, 16345, Ilioupoli, Attiki, Greece.

Approved signatories: Aristidis Christophidis.

This Scope of Accreditation replaces the previous one dated 05.07.2021.

The Accreditation Certificate No.1261, to ELOT EN ISO 15189:2012, is valid until 04.07.2025.

# Athens, 26.07.2023

# Christos Nestoras

CEO of ESYD

# Text boxes

Molecular Microbiology

              - Molecular Microbiology