Hellenic Accreditation System Annex G1/B1 to the Certificate No. 898-5 SCOPE of ACCREDITATION of the Clinical Laboratory of KYTTARO IATRIKI LTD – IOANNINA BRANCH

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| Blood serum | Determination of 31 parameters | Automated immunobiochemical analyzer Alinity ci, Abbott* (catalogue Ε.550-1_8-12-2022_ΙΩ) |
|  | 1. Glucose (GLU) | Enzymatic (Hexokinase) |
|  | 2. Urea (UREA) | Kinetic - Enzymatic (urease) |
|  | 3. Urea Nitrogen | Calculated from Urea |
|  | 4. Creatinine (CREA) | Kinetic – Colorimetric (Jaffè) |
|  | 5. Sodium (Na) | Ion Selective Electrode (ISE, indirect) |
|  | 6. Potassium (K) | Ion Selective Electrode (ISE, indirect) |
|  | 7. Cloride (Cl) | Ion Selective Electrode (ISE, indirect) |
|  | 8. Total Protein (TP) | Colorimetric method (Biuret) |
|  | 9. Albumin (ALB) | Colorimetric method (Bromcresol Green) |
|  | 10. Total Globulines | Calculated from Total Protein (TP) and Albumin (ALB) |
|  | 11. Triglycerides (TRIG) | Enzymatic - Colorimetric (GPO) |
|  | 12. Cholesterol Total (CHOL) | Enzymatic |
|  | 13. HDL-Cholesterol (HDLC) | Enzymatic - Colorimetric (ASD) |
|  | 14. VLDL Cholesterol (VLDL-C) | Calculated from Triglycerides (TRIG) |
|  | 15. LDL- Cholesterol (LDLC) | Calculated from Cholesterol Total (CHOL), Triglycerides (TRIG) and HDL-Cholesterol (HDLC). |
|  | 16. Total Lipids | Calculated from Cholesterol Total (CHOL) and Triglycerides (TRIG) |
|  | 17. Phospholipides | Calculated from Cholesterol Total (CHOL) |
|  | 18. Uric Acid (UA) | Enzymatic - Colorimetric (Uricase) |
|  | 19. Bilirubin Total (BILT) | Colorimetric (Diazonium Salt) |
|  | 20. Calcium (Ca) | Colorimetric (Arsenazo III) |
|  | 21. Phosphate (P) | Colorimetric (Phosphomolybdate UV) |
|  | 22. Magnesium (Mg) | Colorimetric (Enzymatic) |
|  | 23. Iron (Fe) | Colorimetric (Ferene) |
|  | 24. Aspartate Aminotranferase (AST/SGOT) | Enzymatic- Kinetic acc. IFCC** (NADH without P-5’-P) |
|  | 25. Alanine Aminotranferase (ALT/SGPT) | Enzymatic- Kinetic acc. IFCC** (NADH without P-5’-P) |
|  | 26. Alkaline Phosphatase (ALP) | Enzymatic–Colorimetric (p-NPP) |
|  | 27. Gamma-glutamyltransferase (GGT) | Enzymatic – Colorimetric (GCNA Liquid stand SZASZ) |
|  | 28. Lactate Dehydrogenase (LDH) | Enzymatic–Colorimetricacc. IFCC** |
|  | 29. Creatine Kinase (CKL) | Enzymatic–Photometric (NAC) |
|  | 30. Amylase (AMYL) | Enzymatic–Colorimetric (CNPG3) |
|  | 31. C-Reactive Protein (CRP) | Immunoturbidimetric |
| Immunochemical Tests |
| Blood serum | Determination of 10 parameters | Automated immunobiochemical analyzer Alinity ci, Abbott* (catalogue Ε.550-1_8-12-2022_ΙΩ) |
|  | 1. Thyroid_Stimulating_Hormone (TSH) | Chemiluminescence Microparticle Immunoassay (CMIA) |
|  | 2. Thyroxin Free (FT4) |  |
|  | 3. Vitamine B12 |  |
|  | 4. Ferritin (FERRITIN) |  |
|  | 5. Folate (FOLATE) |  |
|  | 6. Thyroglobulin Antibodies II (Anti-TG) |  |
|  | 7. Thyroid Peroxidase Antibodies (Anti-TPO) |  |
|  | 8. Total β-hCG |  |
|  | 9. Prostate Specific Antigen (PSA) |  |
|  | 10. 25-hydroxy Vitamin D (25-OH VITAMIN D) |  |
| Hematological Tests |
| Whole blood (EDTA) | Determination of 8 parameters | Automated hematology analyzerDxH 500, Beckman Coulter* (catalogue Ε. 550-1_8-12-2022_ΙΩ) |
|  | 1. Red Blood Cells(RBC) | Coulter Principle |
|  | 2. Haemoglobin (HGB) | Photometry |
|  | 3. Hematocrit (HCT) | Calculated from RBC και MCV |
|  | 4. Mean Cell Haemoglobin (MCH) | Calculated from HGB και RBC |
|  | 5. Mean Cell Haemoglobin Concentration (MCHC) | Calculated from HGB και HCT |
|  | 6. Platelets (PLT) | Coulter Principle |
|  | 7. Mean Cell Volume (MCV) | From histogram RBC |
|  | 8. White Blood Cells (WBC) | Coulter Principle |
| Whole blood (EDTA) | Determination of 1 parameter | High performance liquid chromatography (HPLC) analyzer Hb Next, MENARINI* (catalogue Ε. 550-1_8-12-2022_ΙΩ) |
|  | 1. Glycated Hemoglobin A1C (HbA1C) | High performance liquid chromatography (HPLC) |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry

# Site of assessment: Laboratory permanent premises: Ioannina Branch, 9 Filikis Etaireias str, 45444, Ioannina.

# Approved signatories: M. Ovrenovic, E. Stylos, A. Samalidou.

# The Accreditation Certificate No.898-5, to ELOT EN ISO 15189:2012, is valid until 29.12.2025.

# Athens, 30.08.2023

# Text boxes

Christos Nestoras

CEO of E.SY.D.