Hellenic Accreditation System

|  | Annex F1/1 to the Certificate No. 1402 SCOPE of ACCREDITATION of Drinking Water and Wastewater Testing Laboratory of Municipal Εnterprise for Water Supply and Sewerage of Paionia |  |  |
| --- | --- | --- | --- |
| Materials/Tested products |  | Type of test/Measured properties | Applied standards/ Techniques used |
| Chemical Tests |  |  |  |
| Drinking water |  | 1. Determination of pH | HACH method 10257 |
|  |  | 2. Determination of conductivity | HACH method based on ISO 7888:1985 |
|  |  | 3. Determination of turbidity | HACH method 8195 |
|  |  | 4. Determination of anions: Nitrites, Nitrates, Fluorides, Chlorates, Sulphates | In-house method of Ion Chromatography based on EPA Method 300.1 |
|  |  | 5. Determination of Cadmium and Lead | ΕΛΟΤ EN ISO 15586:2003 Atomic Absorption – Graphite Furnace |
| Microbiological Tests |  |  |  |
| Drinking Water |  | 1. Enumeration of Escherichia coli and Total Coliforms | ISO 9308-1:2014 / Amd.1:2016 |
|  |  | 2. Detection and enumeration of intestinal enterococci | ISO 7899-2:2000 |
|  |  | 3. Enumeration of culturable microorganisms at 22οC and 36οC | ISO 6222:1999 |

Site of assessment: Permanent laboratory premises, 1ο km Old National Road of Polykastro-Thessaloniki, 61200, Polykastro Kilkis.

Approved Signatory:  Papadopoulou Anna, Efthymiou Maria.

The Accreditation Certificate No. 1402, according to ELOT EN ISO/IEC 17025:2017, is valid until 07.05.2029.

Athens, 08.05.2024

Christos Nestoras

CEO of ESYD