Hellenic Accreditation System

Annex G1/9 to the Certificate No. 904-5 SCOPE of ACCREDITATION of the Clinical Laboratory of AFFIDEA OF CRETE Private Multimodality Medical Societe Anonyme

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| 1. Blood serum Blood serum (continued) | Determination of 28 parameters | Automated biochemical analyzer Cobas 6000, Roche* ΟΕ 504-11_2/14.7.2016 |
|  | 1. Glucose | Enzymatic Chromatometric method GOD-PAP |
|  | 2. Triglycerides | Enzymatic Chromatometric method GPO – PAP |
|  | 3. Total Cholesterol | Enzymatic method CHOD – PAP |
|  | 4. Uric acid | Enzymatic Chromatometric method uricase/peroxidase |
|  | 5.Urea | Kinetic Enzymatic method / UV |
|  | 6.Creatinine | Kinetic Enzymatic method - JAFFE METHOD |
|  | 7. Total Bilirubin | Photometric method UV Liquid DPD |
|  | 8.Calcium | Photometric method -5NITRO-5METHYL- BAPTA |
|  | 9.Phosphorus | Photometric method end point PHOSPHOMOLYBDADE |
|  | 10.Iron | Colorimetric method /FERROZINE |
|  | 11.Total Protein | Colorimetric method BIURET |
|  | 12.Albumin | Photometric method BROMOCRESOL GREEN |
|  | 13.Serum glutamic-oxaloacetic transaminase (SGOT) | Photometric method UV / IFCC** without P-S-P |
|  | 14. Serum glutamic-pyruvic transaminase (SGPT) | Photometric method UV / IFCC** without P-S-P |
|  | 15.Gamma-glutamyl trasferase (γ-GT) | Enzymatic Colorimetric method GCNA- Liquid stand SZΑSZ |
|  | 16.Alkaline phosphatase (ALP) | Colorimetric method liquid acc to IFCC** |
|  | 17.Creatinine kinase | Photometric method liquid acc to IFCC** |
|  | 18.Lactate dehydrogenase (LDH) | Photometric method UV/optimized (DGKC***) |
|  | 19. Amylase | Enzymatic colorimetric method liquid acc to IFCC** |
|  | 20. Globulins | Calculated method |
|  | 21. Atheromatic index | Calculated method |
|  | 22.A/G ratio | Calculated method |
|  | 23. VLDL-Cholesterol | Calculated method |
| Urine | Determination of 5 parameters | Automated biochemical analyzer Cobas 6000, Roche* ΟΕ 504-11_2/14.7.2016 |
|  | 1.Creatinine | Kinetic Enzymatic method - JAFFE METHOD |
|  | 2.Total Protein | Colorimetric method BIURET |
|  | 3.Calcium | Photometric method -5NITRO-5METHYL- BAPTA |
|  | 4. Amylase | Enzymatic colorimetric method liquid acc to IFCC** |
|  | 5.Phosphorus | Photometric method end point PHOSPHOMOLYBDADE |
| Hematological Tests |
| Whole blood | Determination of 8 parameters | Automated analyzers SYSMEX XE 2100-I XN-550* ΟΕ 504-11_2/14.7.2016 |
|  | 1. White Blood Cells (WBC) | Flow Cytometry with fluorescence |
|  | 2. Red Blood Cells (RBC) | Hydrodynamic Focusing (DC Detection) |
|  | 3. Hemoglobin (HGB) | Photometry |
|  | 4. Hematocrit (HCT) | Hydrodynamic Focusing (DC Detection) |
|  | 5. Mean Cell Volume (ΜCV) | Calculated method (DC Detection) |
|  | 6. Mean Cell Hemoglobin (MCH) | Calculated method (DC Detection) |
|  | 7. Mean corpuscular hemoglobin concentration (MCHC) | Calculated method (DC Detection) |
|  | 8. Platelets (PLTs) | Hydrodynamic Focusing (DC Detection) |
| Immunochemical Tests |
| 1. Blood serum | Determination of 20 parameters | Automated immunochemical analyzer Cobas 6000, Roche* ΟΕ 504-11_2/14.7.2016 |
|  | Ferritin | Electrochemiluminescense (ECLIA) |
|  | Prolactin (PRL) |  |
|  | Progesterone (PRG) |  |
|  | Follicle Stimulating Hormone (FSH) |  |
|  | Luteinizing Hormone (LH) |  |
|  | α-Fetoprotein (AFP) |  |
|  | Thyrotropin Hormone (TSH) |  |
|  | 8. Thyroxin total (Τ4) |  |
|  | 9. Triidothyronine total (T3) |  |
|  | 10. Testosterone |  |
|  | 11. β-Human Chorionic Gonadotropin (β-ΗCG) |  |
|  | 12. Cortisol |  |
|  | 13. Carcinoembryonic antigen (CEA) |  |
|  | 14. Cancer antigen CA 125 |  |
|  | 15. Cancer antigen CA 15-3 |  |
|  | 16. Cancer antigen CA 19-9 |  |
|  | 17. Free Prostate Specific Antigen (Free-PSA) |  |
|  | 18. Prostate Specific Antigen (PSA) |  |
|  | 19. Vitamin B12 |  |
|  | 20. Follate |  |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

**IFCC: International Federation of Clinical Chemistry

***DGKC: Deutsche Geselschaft fur Klinische Chemie

Site of assessment : Laboratory permanent premises, 45 Eleftherias Square, Heraklion Crete, Greece.

Approved signatories : Nikolaos Athitakis.

This Scope of Accreditation replaces the previous one dated 15.10.2022..

The Accreditation Certificate No. 904-5, to ELOT EN ISO 15189:2012, is valid until 18.02.2027.

Athens, 12.09.2023

Christos Nestoras

CEO of ESYD