Hellenic Accreditation System

Annex F1/17 to the Certificate No 257-7 SCOPE of ACCREDITATION of the Quality Control Laboratory of POLYECO S.A.

| Tested materials / products | Types of test / Properties | Applied standards / Techniques |
| --- | --- | --- |
| Chemical Testing |
| 1. Solid Waste | 1. Determination of Metals (As, Cd, Co, Cr, Cu, Mn, Ni, Pb, V, Zn, Hg) | In-house method (ΟΧ.52-03) based on ΕΡΑ 200.7:2001 Rev.05 |
|  | 2. Characterization of waste - Determination of Gross Calorific Value and calculation of Net Calorific Value | CEN/TS 16023:2015 |
|  | 3. Determination of Polycyclic Aromatic Hydrocarbons (PAH): Acenaphtene, Acenaphthylene, Anthracene, Benzo[a]anthracene, Benzo[a]pyrene, Benzo[b]fluoranthene, Benzo[ghi]perylene, Chrysene, Dibenzo[a.h]anthracene, Fluoranthene, Fluorene, Indeno[1.2.3-cd]pyrene, Naphthalene, Phenanthrene, Pyrene, Sum (PAH) | In-house method (OX.52-38) based on ΕΝ 17503:2022 by GC-MS/MS |
|  | 4. Determination of Total Organic Carbon (TOC) by dry combustion | EN 15936:2022 |
|  | 5. Determination of Anions (F, Cl, NO2, NO3, PO4, SO4, Br) | In-house method (OX.52-01) based on ΕΡΑ 9056Α:2007 |
|  | 6. Characterization of waste - Determination of Hydrocarbon content in the range of C10-C40 | EN 14039:2004 |

|  | 7. Self-heating test | UN Test N.4:2009 |
| --- | --- | --- |
|  | 8. Determination of Water by Distillation | In-house method (ΟΧ.52-33) based on ASTM D95-13:2018 |
| 2. Liquid Waste | 1. Determination of Metals (As, Cd, Co, Cr, Cu, Mn, Ni, Pb, V, Zn, Hg) | In-house method (ΟΧ.52-03) based on ΕΡΑ 200.7:2001 Rev.05 |
|  | 2. Characterization of waste - Determination of Gross Calorific Value and calculation of Net Calorific Value | CEN/TS 16023:2015 |
|  | 3. Determination of Anions (F, Cl, NO2, NO3, PO4, SO4, Br) | In-house method (OX.52-01) based on ΕΡΑ 9056Α:2007 |
|  | 4. Determination of pH | In-house method (OX.52-10.1) based on APHA 4500 H, 24rd. edition |
|  | 5. Determination of COD | In-house method (OX.52-18) based on APHA 5220 D, 24rd. edition |
|  | 6. Determination of BOD | In-house method (OX.52-17) based on APHA 5210 B, 24rd. edition |
|  | 7. Determination of Total Suspended Solids (TSS) | In-house method (OX.52-21) based on APHA 2540 D, 24rd. edition |
|  | 8. Determination of Water by Distillation | In-house method (ΟΧ.52-33) based on ASTM D95-13:2018 |
| 3. Solid recovered fuels | 1. Determination of Calorific Value | ISO 21654:2021 |
|  | 2. Determination of Metals (As, Cd, Co, Cr, Cu, Mn, Ni, Pb, V, Zn, Hg) | In-house method (ΟΧ.52-03) based on ΕΡΑ 200.7:2001 Rev.05 |
|  | 3. Determination of Moisture content using the oven dry method | CEN/TS 15414-1:2010 |
|  | 4. Determination of Ash content | ISO 21656:2021 |
|  | 5. Determination of the content of Volatile matter | ISO 22167:2021 |
|  | 6. Determination of Anions (F, Cl, NO2, NO3, PO4, SO4, Br) | In-house method (OX.52-01) based on ΕΡΑ 9056Α:2007 |
| 4. Alternative raw material | Determination of Metals (As, Cd, Co, Cr, Cu, Mn, Ni, Pb, V, Zn, Hg) | In-house method (ΟΧ.52-03) based on ΕΡΑ 200.7:2001 Rev.05 |
| 5. Groundwater | 1. Determination of pH | In-house method (OX.52-10.1) based on APHA 4500 H, 24rd. edition |
|  | 2. Determination of Anions (F, Cl, NO2, NO3, PO4, SO4, Br) | In-house method (OX.52-01) based on ΕΡΑ 9056Α:2007 |
|  | 3. Determination of Metals (As, Cd, Cr, Cu, Mn, Ni, Pb, Zn) | In-house method (ΟΧ.52-03) based on ΕΡΑ 200.7:2001 Rev.05 |
| 6. Potable water | 1. Determination of Anions (F, Cl, NO2, NO3, PO4, SO4, Br) | In-house method (OX.52-01) based on ΕΡΑ 9056Α:2007 |
|  | 2. Determination of pH | In-house method (OX.52-10.1) based on APHA 4500 H, 24rd. edition |
| 7. Soil, Treated Biowaste and Sludge | Determination of Total Organic Carbon (TOC) by dry combustion | EN 15936:2022 |
| 8. Insulating Liquids (Transformer oils) | Determination of Polychlorinated Biphenyl (PCB) concentration) | IEC 61619:1997 |
| 9. Petroleum Products | Determination of Water by Distillation | ASTM D95-13:2018 |
| Sampling |
| 1. Insulating Liquids (Transformer oils) | Sampling for PCB control | ΕΝ 60475:2011 |
| 2. Waste | Sampling of Waste | EN 14899:2005 CEN/TR 15310-1:2006 CEN/TR 15310-2:2006 CEN/TR 15310-3:2006 CEN/TR 15310-4:2006 CEN/TR 15310-5:2006 |

Site of assesesement: Permanent premises, 16th km Nat. Road Athens-Corinth, Aspropyrgos 19300.

Approved signatories: A. Korkolis. K. Papanikola, G. Stagias

This Scope of Accreditation replaces the previews one dated 30.11.2022.

The Accreditation Certificate No. 257-7, to ELOT EN ISO/IEC 17025:2017 is valid until 13.03.2027.

Athens, 21.07.2023.

Christos Nestoras

CEO of E.S.Y.D.