Hellenic Accreditation System

Annex F1/1 to the Certificate No. 1409 SCOPE of ACCREDITATION of the Testing Laboratory «GREKOCHEM»

| Tested materials and products | Types of test/ Properties to be measured | Applied standards/ Techniques to be used |
| --- | --- | --- |
| Chemical Tests |
| Potable and underground water | 1. Determination of pH | In house method based on ΑPHA* 4500-H+, 24th Ed 2023 |
|  | 2. Determination of Conductivity | In house method based on APHA* 2510 Β, 24th Ed 2023 |
|  | 3. Determination of Chlorides | In house method based on APHA* 4500-Cl- B, 24th Ed 2023 |
|  | 4. Determination of Total Hardness | In house method based on APHA* 2340 C, 24th Ed 2023 |
|  | 5. Determination of Calcium | In house method based on APHA 3500-Ca Β, 24th Ed 2023 |
|  | 6. Determination of Magnesium | Based on calculations, APHA* 3500-Mg B, 24th Ed 2023 |
|  | 7. Determination of Nitrates | HACH LCK 339 |
|  | 8. Determination of Nitrites | HACH LCK 341 |
|  | 9. Determination of Sulfates | HACH LCK 153 |
|  | 10. Determination of Phosphates | HACH LCK 348 |
|  | 11. Determination of Iron | HACH 8008 FERROVER |
|  | 12. Determination of Ammonium | HACH LCK 304 |
| Potable water | 1. Determination of Turbidity | In house method based on EPA 180.1 |
|  | 2. Determination of Aluminum | HACH LCK 301 |
|  | 3. Determination of Color | HACH 8025 (platinum cobalt method) |
|  | 4. Determination of Alkalinity | In house l method based on APHA* 2320 Β, 24th Ed 2023 |
|  | 5. Determination of Residual Chlorine | In house method based on US EPA Method 330.5 |
| Swimming pools water | 1. Determination of pH | In house method based on ΑPHA* 4500-H+, 24th Ed 2023 |
|  | 2. Determination of Alkalinity | In house method based on APHA* 2320 Β, 24th Ed 2023 |
|  | 3. Determination of Residual Chlorine | In house method based on US EPA Method 330.5 |
| Surface water | 1. Determination of pH | In house method based on ΑPHA* 4500-H+, 24th Ed 2023 |
|  | 2. Determination of Conductivity | In house method based on APHA* 2510 Β, 24th Ed 2023 |
| Wastewater | 1. Determination of pH | In house method based on ΑPHA* 4500-H+, 24th Ed 2023 |
|  | 2. Determination of Conductivity | In house method based on APHA* 2510-Β, 24th Ed 2023 |
|  | 3. Determination of Turbidity | In house method based on EPA 180.1 |
|  | 4. Determination of Residual Chlorine | In house method based on US EPA Method 330.5 |
|  | 5. Determination of Chemical Oxygen Demand (COD) | HACH LCK 314 & HACH LCK 514 |
|  | 6. Determination of Biochemical Oxygen Demand (BOD) | In house method based on APHA* 5210 D, 24th Ed 2023 |
|  | 7. Determination of Total Suspended Solids (TSS), 105° C | In house method based on ΕLΟΤ ΕΝ 872:2005 |
|  | 8. Determination of Ammonium Nitrogen | HACH LCK 304 |
|  | 9. Determination of Total Phosphorus | HACH LCK 348 |
|  | 10. Determination of Total Nitrogen | HACH LCK 138 |
| Chemical Tests |
| Virgin olive oil | 1. Ultraviolet spectroscopic analysis | COI/T.20/Doc. No 19 / Rev. 5 2019 |
|  | 2. Determination of acidity | COI/T.20/Doc.No34/ Rev.1 2017 |
|  | 3. Determination of peroxide value | COI/T.20/Doc. No 35 Rev.1 2017 |

*American Public Health Association, American Water Works Association, Water Environment Federation, “Standard Methods for the Examination of Water and Wastewater”, 24th Edition, 2023

Site of assessment: Permanent Laboratory premises, Chortatson 20, 72100, Agios Nikolaos, Crete

Approved signatories: Aikaterini-Anna Klontza

The Accreditation Certificate No. 1409 to ELOT EN ISO/IEC 17025:2017, is valid until 18.06.2029.

Athens,  19.06.2024

Christos Nestoras

CEO of ESYD