Hellenic Accreditation System

Annex G1/8 to the Certificate No.1065-3 SCOPE of ACCREDITATION of the Clinical Laboratory of “BIOPATH INNOVATIONS S.A.”

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Molecular Genetics |
| Paraffin Embedded Tissue, Cytology Specimens | Detection of somatic mutations within: 1. exons 18/19/20/21 of the EGFR gene 2. codons 12/13 (exon 2) and 61 (exon 3) of the KRAS gene 3. exon 15 of the BRAF gene (p.V600) 4. exons 2/5/8/10/21 of the PIK3CA gene | Real-time PCR Manufacturer's methods: 1. cobas® EGFR Mutation Test v2 (CE-IVD, Roche Molecular Diagnostics, F.362-2.1/v4 eff. date 20/12/21). 2. cobas® KRAS Mutation Test (CE-IVD, Roche Molecular Diagnostics, F.362-2.3/v4 eff. date 20/12/21). 3. cobas® BRAF V600 Mutation Test (CE-IVD, Roche Molecular Diagnostics, F.362-2.5/v4 eff. date 20/12/21). 4. cobas® PIK3CA Mutation Test (CE-IVD, Roche Molecular Diagnostics, F.362-68/v2 eff. date 20/12/21). Real-time PCR on COBAS z480™ Analyzer* (#0409, Roche Molecular Diagnostics). |
| Paraffin Embedded Tissue, Cytology Specimens | Detection of somatic mutations within: 5. exons 18/19/20/21 of the EGFR gene 6. exons 2/3/4 of the KRAS gene 7. exons 2/3/4 of the NRAS gene 8. exons 11/15 of the BRAF gene 9. exons 2/5/8/10/14/21 of the PIK3CA gene | Next Generation Sequencing (NGS) with Ion Torrent™ technology (ThermoFisher Scientific) In house methods: 5. F.362-2.2/v6 eff. date 15/01/23 6. F.362-2.4/v5 eff. date 15/01/23 7. F.362-2.6/v5 eff. date 15/01/23 8. F.362-2.7/v5 eff. date 15/01/23 9. F.362-2.59/v3 eff. date 15/01/23 Target amplification with Ion AmpliSeq™ amplicons (Oncomine™, ThermoFisher Scientific), library preparation with Ion AmpliSeq™ Library kit 2.0 (ThermoFisher Scientific) and thermocyclers #26 or #240, templating with Ion Torrent One Touch™ (2* #0028 or #0399 /ES* #0029, ThermoFisher Scientific) or Ion Torrent Ion Chef™*(#0276, ThermoFisher Scientific), sequencing with Ion Torrent PGM™* (#0181 or #0227, ThermoFisher Scientific) and analysis with Ion Reporter software (ThermoFisher Scientific). |
| Paraffin Embedded Tissue, Cytology Specimens | 10. Detection of Microsatellite Instability (MSI) | Next Generation Sequencing (NGS) with Ion Torrent™ technology (ThermoFisher Scientific) and in-house MiSuIteTM bioinformatics software. In house method (F.362-2.67/v3 eff. date 15/01/23). Target amplification with custom Ion AmpliSeq™ amplicons (ThermoFisher Scientific), library preparation with Ion AmpliSeq™ Library kit 2.0 (ThermoFisher Scientific) and thermocyclers #26 or #240, templating with Ion Torrent One Touch™ (2* #0028 or #0399 /ES* #0029, ThermoFisher Scientific) or Ion Torrent Ion Chef™*(#0276, ThermoFisher Scientific), sequencing with Ion Torrent PGM™* (#0181 or #0227, ThermoFisher Scientific) and analysis with in-house MiSuIteTM bioinformatics software (#0406, BioMarker Solutions). |
| Paraffin Embedded Tissue, Cytology Specimens | 11/12. Detection of somatic single-nucleotide variations (SNVs) and small insertions or deletions (InDels) within the coding regions, splice sites and flanking intronic regions of the BRCA1 and BRCA2 genes | Next Generation Sequencing (NGS) with Ion Torrent™ technology (ThermoFisher Scientific) 11. In house method (F.362-2.24/v3 eff. date 15/01/23). Target amplification with Ion AmpliSeq™ BRCA1 & BRCA2 Panel (ThermoFisher Scientific). 12. In house method (F.362-2.65/v3 eff. date 15/01/23). Target amplification with custom Ion AmpliSeq™ amplicons (ThermoFisher Scientific). Library preparation with Ion AmpliSeq™ Library kit 2.0 (ThermoFisher Scientific) and thermocyclers #26 or #240, templating with Ion Torrent One Touch™ (2* #0028 or #0399 /ES* #0029, ThermoFisher Scientific) or Ion Torrent Ion Chef™*(#0276, ThermoFisher Scientific), sequencing with Ion Torrent PGM™* (#0181 or #0227, ThermoFisher Scientific) and analysis with Ion Reporter software (ThermoFisher Scientific). |
| Paraffin Embedded Tissue, Cytology Specimens | Detection of somatic mutations within: 13. exons 18/19/20/21 of the EGFR gene 14. codons 12/13 (exon 2), 59/61 (exon 3) and 117/146 (exon 4) of the NRAS gene 15. exon 15 of the BRAF gene (p.V600) | Real-time PCR Manufacturer’s Methods: 13. Idylla™ EGFR Mutation Test (CE-IVD, BioCartis, F.362-2.42/v2 eff. date 20/12/21). 14/15. Idylla™ NRAS /BRAF Mutation Test (CE-IVD, BioCartis, (F.362-2.41/v2 eff. date 20/12/21). Real-time PCR on the Idylla™ device* (#0155, #0214, #0215 or #0216, BioCartis). |
|  | 16. Detection of Microsatellite Instability (MSI) | Real-time PCR 16. Manufacturer’s Method Idylla™ MSI Test (CE-IVD, BioCartis, F.362-2.63/v2 eff. date 20/12/21). Real-time PCR on the Idylla™ device* (#0155, #0214, #0215 or #0216, BioCartis). |
| Peripheral blood (cell-free DNA collection tubes, EDTA), Plasma Liquid Biopsies | 17. Detection of somatic mutations within exons 18/19/20/21 of the EGFR gene | Real-time PCR 17. Manufacturer's method cobas® EGFR Mutation Test v2 kit (CE-IVD, Roche Molecular Diagnostics, F.362-2.21/v2 eff. date 20/12/21). Real-time PCR on the COBAS z480™ Analyzer* (#0409, Roche Molecular Diagnostics). |
| Peripheral blood (cell-free DNA collection tubes, EDTA), Plasma Liquid Biopsies | Detection of somatic mutations within: 18. exons 18/19/20/21 of the EGFR gene 19. exons 2/3/4 of the KRAS gene | Next Generation Sequencing (NGS) with Ion Torrent™ technology (ThermoFisher Scientific) In house methods: 18. F.362-2.22/v6 eff. date 15/01/23. 19. F.362-2.69/v3 eff. date 15/01/23. Target amplification with custom Ion AmpliSeq™ amplicons (ThermoFisher Scientific). Library preparation with Ion AmpliSeq™ Library kit 2.0 (ThermoFisher Scientific) and thermocyclers #26 or #240, templating with Ion Torrent One Touch™ (2* #0028 or #0399 /ES* #0029, ThermoFisher Scientific) or Ion Torrent Ion Chef™*(#0276, ThermoFisher Scientific), sequencing with Ion Torrent PGM™* (#0181 or #0227, ThermoFisher Scientific) and analysis with Ion Reporter software (ThermoFisher Scientific). |
| Peripheral blood (EDTA), Buccal swabs | 20/21. Detection of germline single-nucleotide variations (SNVs) and small insertions or deletions (InDels) within the coding regions, splice sites and flanking intronic regions of the BRCA1 and BRCA2 genes | Next Generation Sequencing (NGS) with Ion Torrent™ technology (ThermoFisher Scientific) 20. In house method (F.362-2.23/v4 eff. date 15/01/23). Target amplification with Ion AmpliSeq™ BRCA1 & BRCA2 Panel (ThermoFisher Scientific). 21. In house method (F.362-2.64/v3 eff. date 15/01/23). Target amplification with custom Ion AmpliSeq™ amplicons (ThermoFisher Scientific). Library preparation with Ion AmpliSeq™ Library kit 2.0 (ThermoFisher Scientific) and thermocyclers #26 or #240, templating with Ion Torrent One Touch™ (2* #0028 or #0399 /ES* #0029, ThermoFisher Scientific) or Ion Torrent Ion Chef™*(#0276, ThermoFisher Scientific), sequencing with Ion Torrent PGM™* (#0181 or #0227, ThermoFisher Scientific) and analysis with Ion Reporter software (ThermoFisher Scientific). |
| Peripheral blood (EDTA), Buccal swabs | 22. Detection of germline single-nucleotide variations (SNVs) and small insertions or deletions (InDels) within the coding regions, splice sites and flanking intronic regions of the ATM, BARD1, BRCA1, BRCA2, BRIP1, CDH1, CHEK2, NBN, PALB2, PTEN, RAD51C, STK11 and TP53 genes | Next Generation Sequencing (NGS) with Ion Torrent™ technology (ThermoFisher Scientific) 22. In house method (F.362-2.79/v2 eff. date 15/01/23). Target amplification with custom Ion AmpliSeq™ amplicons (ThermoFisher Scientific). Library preparation with Ion AmpliSeq™ Library kit 2.0 (ThermoFisher Scientific) and thermocyclers #26 or #240, templating with Ion Torrent One Touch™ (2* #0028 or #0399 /ES* #0029, ThermoFisher Scientific) or Ion Torrent Ion Chef™*(#0276, ThermoFisher Scientific), sequencing with Ion Torrent PGM™* (#0181 or #0227, ThermoFisher Scientific) and analysis with Ion Reporter software (ThermoFisher Scientific). |
| Peripheral blood (EDTA) | 23. Detection of germline large deletions / insertions in the coding regions of the BRCA1 gene | Next Generation Sequencing (NGS) with Ion Torrent™ technology (ThermoFisher Scientific), QRSTM calibrators and in-house CNVSUITETM bioinformatics software. 23. In house method (F.362-2.66/v2 eff. date 20/12/21). Target amplification with custom Ion AmpliSeq™ amplicons (ThermoFisher Scientific) and custom QRSTM calibrators, library preparation with Ion AmpliSeq™ Library kit 2.0 (ThermoFisher Scientific) and thermocyclers #26 or #240, templating with Ion Torrent One Touch™ (2* #0028 or #0399 /ES* #0029, ThermoFisher Scientific) or Ion Torrent Ion Chef™*(#0276, ThermoFisher Scientific), sequencing with Ion Torrent PGM™* (#0181 or #0227, ThermoFisher Scientific) and analysis with in-house CNVSUITETM bioinformatics software (BioMarker Solutions, #0407). |
| Pathology - Immunohistochemistry |
| Paraffin Embedded Tissue, Cytology Specimens | Immunohistochemical detection of protein expression: 24: ALK (clone D5F3-Roche) 25: ALK (clone D5F3-CST) 26: PD-L1 (clone SP263) 27: PD-L1 (clone SP142) 28: HER2 (polyclonal antibody) 29: ER (clone EP1) 30: PR (clone PR-636) 31: Ki67 (clone MIB-1) | Immunohistochemistry (IHC) 24. Manufacturer’s Method Ventana® ALK (D5F3) assay (CE-IVD, Roche Molecular Diagnostics, F.362-2.30/v2 eff. date 20/12/21). 25. In house method using an anti-ALK D5F3 antibody (CST, F.362-2.62/v2 eff. date 20/12/21). 26. Manufacturer’s Method Ventana® PD-L1 (SP263) assay (CE-IVD, Roche Molecular Diagnostics, F.362-2.31/v3 eff. date 15/09/22). Results expressed as TPS (Tumor Proportion Score) and/or CPS (Combined Proportion score). 27. Manufacturer’s Method Ventana® PD-L1 (SP142) assay (CE-IVD, Roche Molecular Diagnostics, F.362-2.61/v2 eff. date 20/12/21). Results expressed as %IC (tumor-infiltrating immune cell score). 28. In house method using an anti-HER2 polyclonal antibody (Dako, F.362-2.80/v1 eff. date 22/08/22). 29. In house method using an anti-ER (EP1) antibody (Dako, F.362-2.80/v1 eff. date 22/08/22). 30. In house method using an anti-PR (PR-636) antibody (Dako, F.362-2.80/v1 eff. date 22/08/22). 31. In house method using an anti-Ki67 (MIB-1) antibody (Dako, F.362-2.80/v1 eff. date 22/08/22). Staining performed on the BenchMark ULTRA™ Platform* (#0120, Roche Molecular Diagnostics). |

* The use of the genetic analyzer's brand name refers to a specific analytical method and the corresponding experimental protocol

Site of assessment: Laboratory permanent premises: 50 Agiou Konstantinou Street, 15124, Maroussi, Athens, Greece.

Approved signatures: S. Murray, F. Gavresea, C. Gouedard., A. Delimitsou, I. Konstanta.

The Accreditation Certificate No. 1065-3, to ELOT EN ISO 15189:2012, is valid until 30.10.2029.

Athens, 29.04.2024

# Christos Nestoras

CEO of ESYD