Εθνικό Σύστημα Διαπίστευσης

Annex G1/10 to the Certificate No. 893-3 SCOPE of ACCREDITATION of the Clinical Laboratory of the PRIVATE DIAGNOSTIC LABORATORY BIOCHEMIA S.A

| Tested materials/ products | Types of test/ Properties to be measured | Applied Standards/ Techniques to be used |
| --- | --- | --- |
| Immunochemical testing |
| Blood serum Blood serum (cont.) | Determination of 36 parameters | Automated analyzer Atellica IM, SIEMENS *(catalog E.550-1_V6_25-4-2023) |
|  | 1. a-Fetoprotein (α-FP) | Electrochemiluminescence (ECLIA) (non-competitive sandwich) |
|  | 2. Carcinoembryonic antigen (CEA) |  |
|  | 3. Tumor marker CA 125 |  |
|  | 4. Tumor marker CA 15-3 |  |
|  | 5. Tumor marker CA 19-9 |  |
|  | 6. Total Prostate Specific Antigen (TPSA) |  |
|  | 7. β-Human Chorionic Gonadotropin (β-HCG) |  |
|  | 8. Prolactin (PRL) |  |
|  | 9. Parathormon (PTH intact) |  |
|  | 10. Insulin(IRI) |  |
|  | 11. Follicle Stimulating Hormone (FSH) |  |
|  | 12. Luteinizing Hormone (LH) |  |
|  | 13. Thyrotropin Hormone (TSH) |  |
|  | 14. Detection of IgM antibodies to Toxoplasma gondii (TOXO IgM) |  |
|  | 15. Detection of IgG antibodies to Toxoplasma gondii (TOXO IgG) |  |
|  | 16. Ferritin |  |
|  | 17. Detection of HIV1 antigen p24 and antibodies to human immunodeficiency virus type 1/O and type 2 (HIV1/O&HIV2) (HIV Combi PT) |  |
|  | 18. Antibodies IgG to hepatitis C virus (anti-HCV) |  |
|  | 19. Thyroglobulin Antibodies (anti-TGΙΙ) |  |
|  | 20. Immunoglobulin E(IgE) |  |
|  | 21. Troponin-I high sensititity |  |
|  | 22. Rubella IgG |  |
|  | 23. Rubella IgM |  |
|  | 24. Free Triidothyronine (FT3) | Chemiluminescence (CLIA) (competitive) |
|  | 25. Total Triidothyronine (total T3) |  |
|  | 26. Free Thyroxin (FT4) |  |
|  | 27. Total Thyroxin (total Τ4) |  |
|  | 28. Thyroid Peroxidase Antibodies (anti-TPO) |  |
|  | 29. Estradiol (E2) |  |
|  | 30. Testosterone Total (TESTO) |  |
|  | 31. Cortisol |  |
|  | 32. Progesterone (PRG) |  |
|  | 33. Folic acid |  |
|  | 34. Vitamin Β12 |  |
|  | 35. Vitamin 25 OH D TOTAL |  |
|  | 36. DHEA-S |  |
|  | Determination of 4 parameters | Automated analyzer Cobas e411, Roche (catalog E.550-1_V6_25-4-2023) |
|  | 37. Hepatitis B surface antigen (HBsAg) | Electrochemiluminescence (ECLIA) (non-competitive sandwich) |
|  | 38. Antibodies to the hepatitis B surface antigen (HBsAb) |  |
|  | 39. Thyroglobulin (Tg) |  |
| Plasma EDTA | 40. ACTH |  |
| Blood serum | Determination of 4 parameters | LIAISON XL Dia Sorin * (catalog E.550-1_V6_25-4-2023) |
|  | 41. Cytomegalovirus CMV IgG antibodies | Electrochemiluminescence (ECLIA) (non-competitive sandwich) |
|  | 42. Cytomegalovirus CMV IgM antibodies |  |
|  | 43. Epstein Barr VCA IgG antibodies |  |
|  | 44. Epstein Barr EBV IgM antibodies |  |
| Biochemical testing |
| Blood serum | Determination of 34 parameters | ATELLICA CH (SIEMENS) * (catalog E.550-1_V6_25-4-2023) |
|  | 45. Glucose (GLUH) | Glucose hexokinase (G6PD) |
|  | 46. Urea (UN) | UV-urease |
|  | 47.Creatinine (CREA) | Alkaline picrate-kinetic (Jaffe) |
|  | 48 .Uric acid (UA) | Uricase |
|  | 49.Sodium (Na) | ISE Indirect multisensor |
|  | 50.Potassium (K) | ISE Indirect multisensor |
|  | 51.Total protein (TP) | Biuret, end point |
|  | 52.Albumin (ALB) | Bromocresol green (BCG) |
|  | 53.Total Globulins | Calculated from TP and ALB |
|  | 54.Total Cholesterol (CHOL) | Cholesterol oxidase, esterase, peroxidase |
|  | 55.Triglycerides (TRIG) | Glycerol phosphate oxidase |
|  | 56.HDL-Cholesterol (D_HDL) | Direct without precipitation |
|  | 57.Total Lipids | Calculated from CHOL and TRIG |
|  | 58.Phospholipids | Calculated from CHOL |
|  | 59 .LDL -Cholesterol | Calculated from CHOL ,TRIG, HDL |
|  | 60.VLDL -Cholesterol | Calculated from TRIG |
|  | 61.Total Bilirubin (TBIL) | Colorimetric (Vanadate Oxidation) |
|  | 62.Calcium (Ca) | Colorimetric (o-cresolphthalein in alkaline conditions) |
|  | 63.Phosphate (P) | UV-phosphomolybdate |
|  | 64.Magnesium (Mg) | Xylidyl blue |
|  | 65.Iron (Fe) | Ferrozine |
|  | 66.Alkaline phosphatase (ALP) | AMP Buffer (IFCC** modified) |
|  | 67.γ-Glutamyltranspeptdase (γGT) | IFCC** modified, G-glutamyl-carboxy-nitroanilide |
|  | 68.Lactate dehydrogenase (LDLP) | Lactate to Pyruvate |
|  | 69.Creatine kinase (CK_L) | IFCC** modified (G6PD) |
|  | 70.Aspartate aminotranferase (AST) | IFCC** modified, UV without P-5’-P |
|  | 71.Alanine aminotransferase (ALT) | IFCC** modified, UV without P-5’-P |
|  | 72.Amylase (AMY) | G7-PNP blocked |
|  | 73. C-Reactive Protein (CRP-quantitative) | Immunoturbidimetric |
|  | 74. Immunoglobulin IgG | Immunoturbidimetric (PEG) |
|  | 75. Immunoglobulin IgA | Immunoturbidimetric (PEG) |
|  | 76. Immunoglobulin IgM | Immunoturbidimetric (PEG) |
|  | 77. Complement C3 | Immunoturbidimetric |
|  | 78. Complement C4 | Immunoturbidimetric |
| Hematology Tests |
| Whole blood (EDTA) wh.blood EDTA | Determination of 1 parameter | High performance liquid chromatography (HPLC) analyzer G8 TOSOH* (catalog E.550-1_V6_25-4-2023) |
|  | 1. Glycated Hemoglobin A1C (HbA1C) | Ion-exchange high performance liquid chromatography(HPLC) |
|  | Determination of 8 parameters | Beckman Coulter DxH600 & Beckman Coulter DxH500 |
|  | 1. WBC | Particle size analysis (Coulter principle) |
|  | 2. RBC | Particle size analysis (Coulter principle) |
|  | 3. HGB | Photometric |
|  | 4. HCT | Automatic calculation from RBC and MCV |
|  | 5. MCV | Particle size analysis (Coulter principle) |
|  | 6. MCH | Automatic calculation from HGB and RBC |
|  | 7. MCHC | Automatic calculation from HGB and HCT |
|  | 8. PLT | Particle size analysis (Coulter principle) |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

** IFCC: International Federation of Clinical Chemistry

Site of assessment : Laboratory permanent premises,  144, 3rd Septemvriou str., 112 51 Athens, Greece.

Approved signatories : V.Siampani, A.Tsiropoula, R.Andronikou.

This Scope of Accreditation replaces the previous one dated 21.01.2022.

The Accreditation Certificate No. 893-3, to ELOT EN ISO 15189:2012, is valid until 26.11.2025.

Athens,  01.06.2023

Christos Nestoras

CEO of ESYD