Hellenic Accreditation System

Annex G1/2 to the Certificate No1302 SCOPE of ACCREDITATION of the Biochemistry Department of the LABZ Α to Ζ medical solutions Private Diagnostic Laboratory S.A.

| Materials/Products tested | Types of test/Properties measured | Applied methods/Techniques used |
| --- | --- | --- |
| Biochemical Tests |
| Blood serum | Determination of 42 parameters | Αυτόματα Συστήματα Cobas Pro Integrated Solutions, C503 (1&2), ISE (1&2), Ε801(1&2) Roche* Π1/4η/29.11.2023 |
|  | Glucose (GLU) | Enzymatic colorimetric reaction hexokinase (HK) |
|  | Triglycerides (TGs) | Enzymatic colorimetric reaction |
|  | Total Cholesterol (CHOL) | Enzymatic colorimetric reaction |
|  | Uric acid (UA) | Enzymatic colorimetric reaction uricase-peroxidase |
|  | Urea (UREA) | Kinetic colorimetric urease |
|  | Creatinine (CREA) | Kinetic colorimetric JAFFE METHOD (compensated) |
|  | Total Lipids (TL) | Calculated by CHOL and TGs (Enzymatic colorimetric) |
|  | Calcium total (CA) | Colorimetric method NM BAPTA |
|  | Phosphorus (P) | Colorimetric method PHOSPHOMOLYBDATE |
|  | Iron | Colorimetric method FERROZINE |
|  | Total Protein (TP) | Colorimetric method BIURET |
|  | Albumin (ALB) | Colorimetric method BROMOCRESOL GREEN |
|  | Magnesium (Mg) | Colorimetric method XYLIDYL BLUE |
|  | Phospholipids (PL) | Calculated by CHOL (Enzymatic colorimetric) |
|  | Serum glutamic-oxaloacetic transaminase (SGOT) | Colorimetric method IFCC** with P-S-P |
|  | Serum glutamic-pyruvic transaminase (SGPT) | Colorimetric method IFCC** with P-S-P |
|  | Gamma-glutamyl trasferase (GGT) | Enzymatic colorimetric IFCC** (Glutamyl-3-carboxy-4nitroanillide) |
|  | Alkaline phosphatase (ALP) | Colorimetric method liquid acc to IFCC** |
|  | Creatinine kinase (CK/CPK) | Enzymatic colorimetric method liquid IFCC** |
|  | Lactate dehydrogenase (LDH) | Colorimetric method liquid IFCC** |
|  | Amylase (AMY) | Enzymatic colorimetric method IFCC** (G7-PNP) |
|  | Globulins | Calculated by TP and ALB (Enzymatic colorimetric) |
|  | HDL cholesterol (HDL-C) | Homogeneous enzymatic colorimetric |
|  | VLDL cholesterol (VLDL-C) | Calculated by TGs (Enzymatic colorimetric) |
|  | Total Bilirubin (TBIL) | Colorimetric method of diazonium (DPD) |
|  | Direct Bilirubin (DBIL) | Colorimetric method of diazonium (DPD) |
|  | Indirect Bilirubin (IBIL) | Calculated by TBIL and DBIL (Colorimetric) |
|  | Potassium | Potentiometric ISE (ion‑selective membrane to develop an electrical potential (electromotive force, EMF) for the measurements of ions in solution). |
|  | Sodium | Potentiometric ISE (ion‑selective membrane to develop an electrical potential (electromotive force, EMF) for the measurements of ions in solution). |
|  | Chloride (Cl) | Potentiometric ISE (ion‑selective membrane to develop an electrical potential (electromotive force, EMF) for the measurements of ions in solution). |
|  | CK-MB (CK-MB a) | Immunological UV assay |
|  | Transferrin (Tf) | Immunoturbidimetric assay |
|  | High Sensitive C-reactive protein (hs CRP) | Particle enhanced immunoturbidimetric assay |
|  | C Reactive Protein (CRP) | Particle‑enhanced immunoturbidimetric assay |
|  | Total Lipids | Calculated by CHOL and TGs (Enzymatic colorimetric) |
|  | Immunoglobulin A (IgA) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Immunoglobulin G (IgG) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Immunoglobulin M (IgM) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Immunoglobulin E (IgE) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Complement C3 (C3) | Immunoturbidimetric assay |
|  | Complement C4 (C4) | Immunoturbidimetric assay |
|  | RA Test (RF) | Immunoturbidimetric assay |
|  | Antistreptolysin-O (ASTO) | Immunoturbidimetric assay |
| Immunochemical Tests |
| Blood serum | Determination of 30 parameters |  |
|  | Ferritin | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Prostate Specific Antigen (PSA) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Thyrotropin Hormone (TSH) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Thyroxin total (T4) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Triidothyronine total (T3) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Free Thyroxin (FT4) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Free Triidothyronine (FT3) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Troponin Τ (hs) (Tn-I (hs)) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Alpha Fetoprotein (AFP) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Carcinoembryonic antigen (CEA) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Cancer antigen (CA 125) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Cancer antigen (CA 15-3) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Cancer antigen (CA 19-9) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Free Prostatic Specific Antigen (FPSA) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | B2 Microsphere (B2M) |  |
|  | Cortisol (CORT) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | β-Human Chorionic Gonadotropin (HCG) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Luteinizing Hormone (LH) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Follicle Stimulating Hormone (FSH) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Estradiol (Ε2) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Progesterone (PRG) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Prolactin (PRL) | Electro-Chemiluminescense (ΕCLIA) (Competitive) |
|  | Testosterone (TESTO) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Follate (FOL) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Vitamin B12 (B12) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Thyroglobulin (TG) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Thyroid Autoantibodies Against Microsomal Antibodies (A-TPO) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Antithyroglobulin Antibodies (A-TG) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | NT-pro BNP - Pro-Brain Natriuretic Peptide (NT-pro BNP) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | 25 OH Vitamin D (25OHD) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
| Immunological Tests |
| Blood serum | Determination of 6 parameters |  |
|  | Toxoplasma IgM antibοdies (Toxo IgM) | Electro-Chemiluminescense (ΕCLIA) (Competitive) |
|  | Cytomegalovirus IgG antibodies (CMV IgG) | Electro-Chemiluminescense (ΕCLIA) (Competitive) |
|  | Cytomegalovirus IgM antibodies (CMV IgM) | Electro-Chemiluminescense (ΕCLIA) (Competitive) |
|  | Antibodies to Rubella virus IgM Ab (Rubella IgM) | Electro-Chemiluminescense (ΕCLIA) (Competitive) |
|  | Antibodies against herpes simplex virus 1 IgG (Herp. 1 IgG) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
|  | Antibodies against herpes simplex virus 2 IgG (Herp. 2 IgG) | Electro-Chemiluminescense (ΕCLIA) (non competitive type of sandwich) |
| Hematological Test |
| Whole blood (EDTA) | Determination of 1 parameter |  |
|  | Determination of glycated hemoglobin A1c (HbA1c) | Immunological analysis turbimetric inhibition (TINIA) |
| Coagulation Tests |
| Blood plasma (Citrate) | Determination of 5parameters |  |
|  | Prothrombin time (PT) | Coagulopathy |
|  | Prothrombin time -INR (INR) | Coagulopathy |
|  | Activated partial prothrombine time (PTT) | Coagulopathy |
|  | Fibrinogen (FIB) | Coagulopathy |
|  | Antithrombin ΙΙΙ (AT III) | Activity |

*Reference to the commercial name of a specific analyzer/kit,  refers to a specific analytical method and protocol

- **IFCC: International Federation of Clinical Chemistry

- ***DGKC: Deutsche Geselschaft fur Klinusche Chemie

- Site of assessment : Laboratory permanent premises, 7 Giannopoulou str, Neo Faliro

- Piraeus, Greece.

- Approved signatories : Anagnostou Archimidis, Sofianou Anna

# The Accreditation Certificate No1302 to ELOT EN ISO 15189:2012, is valid until

# 13.07.2026.

- Athens, 01.04.2024

- Christos Nestoras

- CEO of ESYD