M Hellenic Accreditation System

| Annex F2/17 to the Certificate No. 421-4 SCOPE of ACCREDITATION of the Calibration Laboratory of HELLAMCO A.E. |
| --- |
| Measurand / Calibration item | Range of measurement | Calibration & Measurement Capability (k=2)* | Remarks |
| Mass Measurements |
| Mass / Non-automatic electronic weighing instruments | 1 mg 2 mg 5 mg 10 mg 20 mg 50 mg 100 mg 200 mg 500 mg 1 g 2 g 5 g 10 g 20 g 50 g 100 g 200 g 500 g 1 kg 2 kg 5 kg 10 kg 20 kg 50 kg 60 kg | 4,0 μg 4,0 μg 4,0 μg 5,0 μg 7,0 μg 8,0 μg 11 μg 13 μg 17 μg 20 μg 26 μg 33 μg 40 μg 53 μg 66 μg 0,11 mg 0,20 mg 0,53 mg 1,06 mg 6,61 mg 16,5 mg 0,33 g 0,66 g 1,65 g 1,69 g | Calibration is performed according to the EURAMET/cg-18/v.04-2015 Use of Weight Standards according to OIML : Class Ε2 in the range: 1 mg - 1 kg Maximum total available weight: 2,1 kg. Κλάσης F1 in the range: 1 g - 5 kg Maximum total available weight: 13,2 kg. Κλάσης M1 in the range: 10 kg - 20 kg Maximum total available weight: 63,2 kg Calibration is performed on-site. |

* 	Where uncertainty is accompanied by the corresponding unit, it is absolute, while where it is not accompanied by a unit, it is relative..

Site of assessment: Permanent laboratory premises, Delfon Str. 3, Chalandri, 196 00 Attiki, Greece.

Approved Signatories:  N. Denis, D. Valilis, P. Kostrivas.

This Scope of Accreditation replaces the previous one dated 16.10.2020

The Accreditation Certificate No. 421-4, to ΕΛΟΤ EN ISO/IEC 17025: 2017, is valid until 16.04.2024.

Athens, 1.12.2020

Spyridon Podaras

CEO of ESYD