# Εθνικό Σύστημα Διαπίστευσης

| Παράρτημα C5/6 του Πιστοποιητικού Αρ.732-4 ΕΠΙΣΗΜΟ ΠΕΔΙΟ ΕΦΑΡΜΟΓΗΣ της ΔΙΑΠΙΣΤΕΥΣΗΣ της ΕΛΛΗΝΙΚΗΣ ΕΠΙΤΡΟΠΗΣ ΑΤΟΜΙΚΗΣ ΕΝΕΡΓΕΙΑΣ ΤΜΗΜΑ ΑΔΕΙΩΝ ΚΑΙ ΕΛΕΓΧΩΝ ως Φορέα Ελέγχου, Τύπου Α, στον προαιρετικό τομέα ή /και σύμφωνα με τις Εθνικές Κανονιστικές Διατάξεις |
| --- |
| Aντικείμενο του ελέγχου | Τύπος του ελέγχου | Κανονιστικές διατάξεις /Πρότυπα/ Εσωτερικές Διαδικασίες |
| 1. Εγκαταστάσεις Ακτινολογικών εργαστηρίων (Ιατρικών, οδοντιατρικών και κτηνιατρικών εφαρμογών) Ακτινογράφησης Ακτινοσκόπησης Ακτινογράφησης & ακτινοσκόπησης Οδοντιατρικά συστήματα ακτινογράφησης Μαστογράφοι Ορθοπαντομογράφοι Οστεοπυκνόμετρα Αξονικοί τομογράφοι Οδοντιατρικοί αξονικοί τομογράφοι 10. Στεφανιογράφοι/Αγγειογρά φοι | Αρχικός, περιοδικός και έκτακτος έλεγχος εγκαταστάσεων | ΝΟΜΟΘΕΣΙΑ Υπ. Απόφ. Αριθ. 1014(ΦΟΡ)94/6.3.2001 (ΦΕΚ/Β/216) Κανονισμοί Ακτινοπροστασίας Η από 18.10.06 εγκύκλιος της ΕΕΑΕ για τα πρωτόκολλα ελέγχου ακτινολογικών εργαστηρίων (σε εφαρμογή της § 1.1.4.7.1 των κανονισμών ακτινοπροστασίας) Νόμος 4310/2014 (ΦΕΚ 258/Α/08.12.2014) ΟΔΗΓΙΕΣ – ΣΥΣΤΑΣΕΙΣ ΔΙΕΘΝΩΝ ΟΡΓΑΝΙΣΜΩΝ & ΕΠΙΤΡΟΠΩΝ EURATOM Directive 2013/59 ICRP 103: 2007: Recommendations of the International Commission on Radiological Protection AAPM TG 31 Standardized Methods for Measuring Diagnostic X-ray exposures, 1990 ICRP 33 1982 : Protection against ionizing radiation from external sources used in medicine NCRP Report No. 147:2004: Structural Shielding Design for Medical X-Ray Imaging Facilities NCRP Report No. 49:1976: Structural Shielding Design and Evaluation for Medical Use of X-Rays and Gamma Rays of Energies up to 10MeV ΠΡΟΤΥΠΑ INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) IEC 60522: 02.1999: Determination of the permanent filtration of X-ray tube assemblies IEC 60601-2-43:2000: Ιατρικές ηλεκτρικές συσκευές-Μέρος 2-43¨Ειδικές απαιτήσεις για την ασφάλεια συσκευών ακτίνων Χ για παρεμβατικές διαδικασίες IEC 60601-2-44:2001: Ειδικές απαιτήσεις για την ασφάλεια εξοπλισμού ακτίνων Χ για αξονική τομογραφία |
| Aντικείμενο του ελέγχου | Τύπος του ελέγχου | Κανονιστικές διατάξεις /Πρότυπα/ Εσωτερικές Διαδικασίες |
| 1. Εγκαταστάσεις Ακτινολογικών εργαστηρίων (Ιατρικών, οδοντιατρικών και κτηνιατρικών εφαρμογών) 1. Ακτινογράφησης 2. Ακτινοσκόπησης 3. Ακτινογράφησης & ακτινοσκόπησης 4. Οδοντιατρικά συστήματα ακτινογράφησης 5. Μαστογράφοι 6. Ορθοπαντομογράφοι 7. Οστεοπυκνόμετρα 8. Αξονικοί τομογράφοι 9. Οδοντιατρικοί αξονικοί τομογράφοι 10. Στεφανιογράφοι/Αγγειογρά φοι | Αρχικός ,περιοδικός και έκτακτος έλεγχος εγκαταστάσεων | IEC 61223-3-5:2004: Imaging performance of computed tomography X-ray equipment IEC 1223-2-6:1994: Evaluation and routine testing in medical imaging departments, Part 2-6: Constancy tests-X-ray equipment for computed tomography IEC 61223-3-1:1999: Evaluation and routine testing in medical imaging departments, Part 3-1: Acceptance tests- Imaging performance of X-ray equipment for radiographic and radioscopic systems IEC 1223-3-2:1996: Evaluation and routine testing in medical imaging departments, Part 3-2: Acceptance tests- Imaging performance of mammographic X-ray equipment IEC 1223-3-3:1996: Evaluation and routine testing in medical imaging departments, Part 3-3: Acceptance tests- Imaging performance of X-ray equipment for digital subtraction angiography (DSA) IEC 61223-3-4:2000: Evaluation and routine testing in medical imaging departments, Part 3-4: Acceptance tests- Imaging performance of dental X-ray equipment IEC 61674: 10.1997: Medical electrical equipment – Dosimeters with ionization chambers and/or semi-conductor detectors as used in X-ray diagnostic imaging IEC 846 : 06.1989: Beta, X and gamma radiation dose equivalent and dose equivalent rate meters for use in radiation protection IEC 1267: 09.1994: Medical diagnostic X-ray equipment – Radiation conditions for use in the determination of characteristics IEC 61526: 04.1998: Radiation protection instrumentation –Measurement of personal dose equivalents Hp(10) and Hp(0.07) for X, gamma and beta radiations – Direct reading personal dose equivalent and/or dose equivalent rate dosemeters. INTERNATIONAL COMMISSION OF RADIATION UNITS AND MEASUREMENTS (ICRU) ICRU Report 51: 1.9.1993: Quantities and units in radiation protection dosimetry ICRU Report 39: 1.2.1985 : Determination of dose equivalents resulting from external radiation sources ICRU Report 43: 15.12.1988 : Determination of dose equivalents resulting from external radiation sources – Part 2 ICRU Report 47: 15.4.1992 : Measurement of dose equivalents from external photon and electron radiations |
| Aντικείμενο του ελέγχου | Τύπος του ελέγχου | Κανονιστικές διατάξεις /Πρότυπα /Εσωτερικές Διαδικασίες |
| 2. Eγκαταστάσεις Εργαστηρίων Πυρηνικής Ιατρικής (Ιατρικών και κτηνιατρικών εφαρμογών γ-camera γ-counters Dose calibrators PET-CT Κύκλοτρο 6. Οστεοπυκνόμετρο | Αρχικός ,περιοδικός και έκτακτος έλεγχος εγκαταστάσεων | ΝΟΜΟΘΕΣΙΑ Υπ. Απόφ. Αριθ. 1014(ΦΟΡ)94/6.3.2001 (ΦΕΚ/Β/216) Κανονισμοί Ακτινοπροστασίας. Την Αριθ. ΔΥΓ2/οικ67752/07.06.2007 (ΦΕΚ909/Β/07) Τροποποίηση της υπ΄ αριθ. Α2στ/οικ.4430/1985 (ΦΕΚ 576 τ.Β) απόφασης «Καθορισμός χρονικής διάρκειας ισχύος των χορηγούμενων αδειών λειτουργίας των εργαστηρίων ακτινοβολιών». Την Αριθμ. ΔΥΓ2/92027/11.12.2007 (ΦΕΚ2345/Β/07) Καθορισμός Διαγνωστικών Επιπέδων Αναφοράς (ΔΕΑ) για την ακτινολογική εξέταση της μαστογραφίας και Καθοδηγητικών Επιπέδων Δόσεων (ΚΕΔ) για τις διαγνωστικές εξετάσεις πυρηνικής ιατρικής. Την υπ. Αριθμ. Π/105 /388 / 30.11.06 εγκύκλιο της ΕΕΑΕ για την αποδέσμευση των εκκριμάτων ασθενών που έχουν υποβληθεί σε θεραπευτικές εφαρμογές Πυρηνικής Ιατρικής. Νόμος 4310/2014 (ΦΕΚ 258/Α/08.12.2014) ΟΔΗΓΙΕΣ – ΣΥΣΤΑΣΕΙΣ ΔΙΕΘΝΩΝ ΟΡΓΑΝΙΣΜΩΝ & ΕΠΙΤΡΟΠΩΝ EURATOM Directive 2013/59 ICRP 103: 2007: Recommendations of the International Commission on Radiological Protection ICRP 33 1982: Protection against ionizing radiation from external sources used in medicine IAEA: Safety Reports Series No 40, Applying Radiation Safety Standards in Nuclear Medicine IAEA: 2003: Quality Control Atlas for Scintillation Camera Systems NEMA NU 1: Performance measurements of gamma cameras NEMA NU2 Performance Measurements of Positron Emission Tomographs. EC Radiation Protection 97 Radiation protection following iodine-131 therapy (Exposures due to outpatients or discharged inpatients), 1998. EC Radiation Protection 99 Guidance on medical exposures in medical and biomedical research, 1998. EC Radiation Protection 100 Guidance for protection of unborn children and infants irradiated due to parental medical exposures, 1998. EC Radiation Protection 109 Guidance on diagnostic Reference Levels (DRLs) for Medical Exposures, 1999. EC Radiation Protection 157 Comparative Study of EC and IAEA Guidance on Exemption and Clearance Levels, 2010. IAEA Safety Reports Series No. 58 Radiation Protection in newer medical imaging techniques: PET/CT, 2008. IAEA Safety Reports Series No. 63 Release of patients after radionuclide, 2009. IAEA Nuclear Medicine Resources Manual, 2006. |
| Aντικείμενο του ελέγχου | Τύπος του ελέγχου | Κανονιστικές διατάξεις /Πρότυπα /Εσωτερικές Διαδικασίες |
| 2. Eγκαταστάσεις Εργαστηρίων Πυρηνικής Ιατρικής (Ιατρικών και κτηνιατρικών εφαρμογών 1. γ-camera 2. γ-counters 3. Dose calibrators 4. PET-CT 5. Κύκλοτρο 6. Οστεοπυκνόμετρο | Αρχικός ,περιοδικός και έκτακτος έλεγχος εγκαταστάσεων | IAEA-TECDOC-1000 Clearance of materials resulting from the use of radionuclides in medicine, industry and research 1998. IAEA Human Health Series No. 11 Planning a Clinical PET Centre, 2010. IAEA Technical Reports Series No. 465 Cyclotron Produced Radionuclides: Principles and Practice, 2008. IAEA Technical Reports Series No. 468 Cyclotron Produced Radionuclides: Physical Characteristics and Production Methods, 2009. IAEA Technical Reports Series No. 471 Cyclotron Produced Radionuclides: Guidelines for Setting Up a Facility, 2009. IAEA Safety Requirements No. WS-R-5 Decommissioning of Facilities Using Radioactive Material, 2006. IAEA Safety Guide No. WS-G-2.2 Decommissioning of Medical, Industrial and Research Facilities, 1999. IAEA Safety Guide No. RS-G-1.7 Application of the Concepts of Exclusion, Exemption and Clearance, 2004. IAEA Safety Guide No. RS-G-1.10 Safety of Radiation Generators and Sealed Radioactive Sources, 2006. IAEA Safety Standards Series No. GSG-1 Classification of Radioactive Waste, 2009. IAEA Safety Guide No. WS-G-2.7 Management of Waste from the Use of Radioactive Material in Medicine, Industry, Agriculture, Research and Education, 2005. IAEA Safety Guide No. WS-G-6.1 Storage of Radioactive Waste, 2006. IAEA Safety Requirements No. WS-R-2 Predisposal Management of Radioactive Waste, Including Decommissioning, 2000. NCRP Report No. 124 Sources and magnitude of occupational and public exposures from Nuclear Medicine Procedures 1996. NCRP Report No. 155 Management of radionuclide therapy patients 2006. World Health Organization Manual on radiation Protection in hospitals and general practice Volume 2 Unsealed Sources 1975. Health Protection Agency Protection of pregnant patients during diagnostic medical Exposures to ionizing radiation RCE-9 2009. ICRP Publication 80 Radiation dose to patients from radiopharmaceuticals (Addendum 2 to ICRP Publication 53), 1997. ICRP Publication 88 Doses to the embryo and fetus from intakes of radionuclides by the mother, 2002. ICRP Publication 94 Release of patients after therapy with unsealed radionuclides, 2004. IPEM Report No. 86 Quality Control of Gamma Camera Systems, 2003. |

| Aντικείμενο του ελέγχου | Τύπος του ελέγχου | Κανονιστικές διατάξεις /Πρότυπα /Εσωτερικές Διαδικασίες |
| --- | --- | --- |
| 2. Eγκαταστάσεις Εργαστηρίων Πυρηνικής Ιατρικής (Ιατρικών και κτηνιατρικών εφαρμογών 1. γ-camera 2. γ-counters 3. Dose calibrators 4. PET-CT 5. Κύκλοτρο 6. Οστεοπυκνόμετρο | Αρχικός ,περιοδικός και έκτακτος έλεγχος εγκαταστάσεων | ΠΡΟΤΥΠΑ INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) IEC 846: 06.1989: Beta, X and gamma radiation dose equivalent and dose equivalent rate meters for use in radiation protection IEC 61526: 04.1998: Radiation protection instrumentation –Measurement of personal dose equivalents Hp(10) and Hp(0.07) for X, gamma and beta radiations – Direct reading personal dose equivalent and/or dose equivalent rate dosimeters. IEC TR 61948-1:2001(E) Nuclear medicine instrumentation – Routine tests – Part 1: Radiation counting systems. IEC TR 61948-2:2001(E) Nuclear medicine instrumentation – Routine tests – Part 2: Scintillation cameras and single photon emission computed tomography imaging. IEC TR 61948-3:2005(E) Nuclear medicine instrumentation – Routine tests – Part 3: Positron emission tomographs. IEC TR 61948-4:2006(E) Nuclear medicine instrumentation – Routine tests – Part 4: Radionuclide calibrators. IEC 61675-1: Edition 1.1 2008-06 Radionuclide imaging devices – Characteristics and test conditions – Part 1: Positron emission tomographs. IEC 61675-2:1998+A1:2004(E) Radionuclide imaging devices – Characteristics and test conditions – Part 2: Single photon emission computed tomographs. IEC 61675-3:1998(e) Radionuclide imaging devices – Characteristics and test conditions – Part 3: Gamma camera based whole body imaging systems. INTERNATIONAL COMMISSION OF RADIATION UNITS AND MEASUREMENTS (ICRU) ICRU Report 51 : 1.9.1993 : Quantities and units in radiation protection dosimetry ICRU Report 35 : 15.9.1984 : Radiation dosimetry: Electrons beams with energies between 1 and 50 MeV ICRU Report 43 : 15.12.1988 : Determination of dose equivalents resulting from external radiation sources – Part 2 4. ICRU Report 47 : 15.4.1992 : Measurement of dose equivalents from external photon and electron radiations. |

| Aντικείμενο του ελέγχου | Τύπος του ελέγχου | Κανονιστικές διατάξεις /Πρότυπα /Εσωτερικές Διαδικασίες |
| --- | --- | --- |
| 3. Εγκαταστάσεις Εργαστηρίων Ακτινοθεραπείας Γραμμικοί επιταχυντές (Φωτονίων/Ηλεκτρονίων) Συστήματα Co-60 Συστήματα βραχυθεραπείας (LDR/HDR) Συστήματα ακτίνων-Χ Ακτινοβολητές αίματος 6. Αξονικός τομογράφος (σύστημα εξομοίωσης) | Αρχικός , περιοδικός και έκτακτος έλεγχος εγκαταστάσεων | ΝΟΜΟΘΕΣΙΑ Υπ. Απόφ. Αριθ. 1014(ΦΟΡ)94/6.3.2001 (ΦΕΚ/Β/216) Κανονισμοί Ακτινοπροστασίας Την υπ. αριθμ. Π/199/239 / 19.07.10 απόφαση του ΔΣ της ΕΕΑΕ αναφορικά με τα πρωτόκολλα ελέγχου ακτινοθεραπευτικών τμημάτων. Νόμος 4310/2014 (ΦΕΚ 258/Α/08.12.2014) ΟΔΗΓΙΕΣ – ΣΥΣΤΑΣΕΙΣ ΔΙΕΘΝΩΝ ΟΡΓΑΝΙΣΜΩΝ & ΕΠΙΤΡΟΠΩΝ EURATOM Directive 2013/59 ICRP 103: 2007: Recommendations of the International Commission on Radiological Protection IAEA TRS 110 : 1970 : Manual of dosimetry in radiotherapy AAPM TG21 : 1983 : A protocol for determination of absorbed dose from high energy photon and electron beams AAPM TG51 protocol for clinical reference dosimetry of high energy photons and electron beams, 1999 AAPM TG 46: 1994: Comprehensive QA for radiation oncology. Med.Phys.21, 581-616 ICRP 33 1982 : Protection against ionizing radiation from external sources used in medicine NCRP Report No. 151:2005:Structural Shielding Design and Evaluation for Megavoltage X- and Gamma-Ray Radiotherapy F ΠΡΟΤΥΠΑ INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) IEC 60731: 07.1997 : Medical electrical equipment – Dosimeters with ionization chambers as used in radiotherapy IEC 846 : 06.1989 : Beta, X and gamma radiation dose equivalent and dose equivalent rate meters for use in radiation protection IEC 61526: 04.1998: Radiation protection instrumentation –Measurement of personal dose equivalents Hp(10) and Hp(0.07) for X, gamma and beta radiations – Direct reading personal dose equivalent and/or dose equivalent rate dose meters. IEC 976: 10.1989: Medical electrical equipment: Medical electron accelerators – Functional performance characteristics. IEC 977: 10.1989: Medical electrical equipment: Medical electron accelarators in the range 1 MeV to 50 MeV – Guidance’s for functional performance characteristics. |

| Aντικείμενο του ελέγχου | Τύπος του ελέγχου | Κανονιστικές διατάξεις /Πρότυπα /Εσωτερικές Διαδικασίες |
| --- | --- | --- |
| 4. Εγκαταστάσεις Εργαστηρίων βιομηχανικών εφαρμογών και ραδιογραφήσεων. Ραδιενεργές πηγές Συστήματα παραγωγής ακτίνων-Χ | Αρχικός, περιοδικός και έκτακτος έλεγχος εγκαταστάσεων | ΝΟΜΟΘΕΣΙΑ Υπ. Απόφ. Αριθ. 1014(ΦΟΡ)94/6.3.2001 (ΦΕΚ/Β/216) Κανονισμοί Ακτινοπροστασίας Νόμος 4310/2014 (ΦΕΚ 258/Α/08.12.2014) ΟΔΗΓΙΕΣ – ΣΥΣΤΑΣΕΙΣ ΔΙΕΘΝΩΝ ΟΡΓΑΝΙΣΜΩΝ & ΕΠΙΤΡΟΠΩΝ EURATOM Directive 2013/59 ICRP 103: 2007: Recommendations of the International Commission on Radiological Protection ΠΡΟΤΥΠΑ INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) IEC 846: 06.1989: Beta, X and gamma radiation dose equivalent and dose equivalent rate meters for use in radiation protection IEC 61526: 04.1998: Radiation protection instrumentation –Measurement of personal dose equivalents Hp(10) and Hp(0.07) for X, gamma and beta radiations – Direct reading personal dose equivalent and/or dose equivalent rate dose meters. INTERNATIONAL COMMISSION OF RADIATION UNITS AND MEASUREMENTS (ICRU) ICRU Report 51 : 1.9.1993 : Quantities and units in radiation protection dosimetry ICRU Report 21 : 15.5.1972 : Radiation Dosimetry: Electrons with initial energies between 1 and 50 MeV ICRU Report 35 : 15.9.1984 : Radiation dosimetry: Electrons beams with energies between 1 and 50 MeV ICRU Report 39: 1.2.1985: Determination of dose equivalents resulting from external radiation sources ICRU Report 43: 15.12.1988: Determination of dose equivalents resulting from external radiation sources – Part 2 6. ICRU Report 47: 15.4.1992: Measurement of dose equivalents from external photon and electron radiations |
| Aντικείμενο του ελέγχου | Τύπος του ελέγχου | Κανονιστικές διατάξεις /Πρότυπα /Εσωτερικές Διαδικασίες |
| 5. Εργαστήρια ακτινοβολιών για έρευνα και εκπαίδευση Ραδιενεργές πηγές Συστήματα παραγωγής ακτίνων-Χ | Αρχικός , περιοδικός και έκτακτος έλεγχος εγκαταστάσεων | ΝΟΜΟΘΕΣΙΑ Υπ. Απόφ. Αριθ. 1014(ΦΟΡ)94/6.3.2001 (ΦΕΚ/Β/216) Κανονισμοί Ακτινοπροστασίας Νόμος 4310/2014 (ΦΕΚ 258/Α/08.12.2014) ΟΔΗΓΙΕΣ – ΣΥΣΤΑΣΕΙΣ ΔΙΕΘΝΩΝ ΟΡΓΑΝΙΣΜΩΝ & ΕΠΙΤΡΟΠΩΝ EURATOM Directive 2013/59 ICRP 103: 2007: Recommendations of the International Commission on Radiological Protection ΠΡΟΤΥΠΑ INTERNATIONAL ELECTROTECHNICAL COMMISSION (IEC) IEC 846 : 06.1989: Beta, X and gamma radiation dose equivalent and dose equivalent rate meters for use in radiation protection IEC 61526: 04.1998: Radiation protection instrumentation –Measurement of personal dose equivalents Hp(10) and Hp(0.07) for X, gamma and beta radiations – Direct reading personal dose equivalent and/or dose equivalent rate dosimeters. INTERNATIONAL COMMISSION OF RADIATION UNITS AND MEASUREMENTS (ICRU) ICRU Report 21: 15.5.1972: Radiation Dosimetry: Electrons with initial energies between 1 and 50 MeV ICRU Report 35: 15.9.1984: Radiation dosimetry: Electrons beams with energies between 1 and 50 MeV. ICRU Report 39: 1.2.1985: Determination of dose equivalents resulting from external radiation sources ICRU Report 43: 15.12.1988: Determination of dose equivalents resulting from external radiation sources – Part 2 ICRU Report 47: 15.4.1992: Measurement of dose equivalents from external photon and electron radiations ICRU Report 51 : 1.9.1993: Quantities and units in radiation protection dosimetry |
| Aντικείμενο του ελέγχου | Τύπος του ελέγχου | Κανονιστικές διατάξεις /Πρότυπα /Εσωτερικές Διαδικασίες |
| 6. Μεταφορείς ραδιενεργών υλικών 1. Οχήματα μεταφοράς και χώροι αποθήκευσης ραδιενεργών υλικών | Αρχικός , περιοδικός και έκτακτος έλεγχος εγκαταστάσεων | ΝΟΜΟΘΕΣΙΑ Υπ. Απόφ. Αριθ. 1014(ΦΟΡ)94/6.3.2001 (ΦΕΚ/Β/216) Κανονισμοί Ακτινοπροστασίας Την Υπ. Απόφ. Αριθ. 19403/1388/08/02.05.08 (ΦΕΚ/Β/781) Οδική μεταφορά επικίνδυνων εμπορευμάτων Την Αριθ.Υ6/2610/28.5.1993 (ΦΕΚ389/Β/93) Καθορισμός διαδικασίας μεταφοράς, εισαγωγής και εξαγωγής προϊόντων αρμοδιότητας ΕΟΦ τρίτων χωρών & Κ-Μ της Ε.Ο.Κ. Το Π.Δ. 405/16.12.1996 (ΦΕΚ272/Α/96) Κανονισμός φόρτωσης, εκφόρτωσης, διακίνησης και παραμονής επικινδύνων ειδών σε λιμένες και μεταφορά αυτών δια θαλάσσης. Την Αριθ. 1218.74/1/95/20.06.1995 (ΦΕΚ531/Β/95) Αποδοχή του Διεθνή Ναυτιλιακού Κώδικα Επικινδύνων Ειδών (International Maritime Dangerous Goods Codes), του Διεθνούς Ναυτιλιακού Οργανισμού (Ι.Μ.Ο.) (IMDG0IMO-CODE). Την Αριθ. ΥΠΑ/Δ2/11894/3631/18.04.2007 (ΦΕΚ549/Β/07) Υιοθέτηση του Παραρτήματος (Annex) 18, έκδοση 3η, τροποποίηση 8 του Διεθνούς Οργανισμού Πολιτικής Αεροπορίας περί «Ασφαλούς αερομεταφοράς επικινδύνων υλικών» το οποίο έχει εκδοθεί βάσει της Σύμβασης του Σικάγου. Το Π.Δ. 83/03.09.2010 (ΦΕΚ147/Α/10) Προσαρμογή της ελληνικής νομοθεσίας στην Οδηγία 2006/117/Ευρατόμ του Συμβουλίου της 20ης Νοεμβρίου 2006 σχετικά με την επιτήρηση και τον έλεγχο των αποστολών ραδιενεργών αποβλήτων και αναλωμένου πυρηνικού καυσίμου. Το Νόμο υπ’ αριθ. 3710/23.10.2008 (ΦΕΚ216/Α/08) Ρυθμίσεις για θέματα μεταφορών και άλλες διατάξεις. Νόμος 4310 (ΦΕΚ 258/Α/08.12.2014) ΟΔΗΓΙΕΣ – ΣΥΣΤΑΣΕΙΣ ΔΙΕΘΝΩΝ ΟΡΓΑΝΙΣΜΩΝ & ΕΠΙΤΡΟΠΩΝ 1. Regulations for the Safe Transport of Radioactive Material 2005 Edition No.TS- R-1. 2. IAEA Safety Guide No. TS-G-1.1 (Rev. 1) Advisory Material for the IAEA Regulations for the Safe Transport of Radioactive Material, 2008. 3. IAEA Safety Guide No. TS-G-1.2 (ST-3) Planning and Preparing for Emergency Response to Transport Accidents Involving Radioactive Material, 2002. 4. IAEA Safety Guide No. TS-G-1.3 Radiation Protection Programs for the Transport of Radioactive Material, 2007. 5. IAEA Safety Guide No. TS-G-1.4 The Management System for the Safe Transport of Radioactive Material, 2008. |
| Aντικείμενο του ελέγχου | Τύπος του ελέγχου | Κανονιστικές διατάξεις /Πρότυπα /Εσωτερικές Διαδικασίες |
| 6. Μεταφορείς ραδιενεργών υλικών 1. Οχήματα μεταφοράς και χώροι αποθήκευσης ραδιενεργών υλικών | Αρχικός περιοδικός και έκτακτος έλεγχος εγκαταστάσεων | 6. IAEA Safety Guide No. TS-G-1.5 Compliance Assurance for the Safe Transport of Radioactive Material, 2009. 7. IAEA Safety Guide No. TS-G-1.6 Schedules or Provisions of the IAEA Regulations for the Safe Transport of Radioactive Material (2005 Edition), 2010 8. IAEA EPR-D-Values 2006 Emergency Preparedness and Response Dangerous quantities of radioactive material (D- values). 9. IAEA Nuclear Security Series No. 9 Implementing Guide Security in the Transport of Radioactive Material, 2008. |

Διεύθυνση του φορέα : Οδός Πατριάρχου Γρηγορίου & Νεαπόλεως , Αγία Παρασκευή Αττική

# Εξουσιοδοτημένοι υπεύθυνοι υπογραφής : Κωνσταντίνος Χουρδάκης, Χρήστος Παφίλης

Το παρόν  Πεδίο Διαπίστευσης αντικαθιστά το αντίστοιχο προηγούμενο με ημερομηνία  12.02.2019

To  Πιστοποιητικό  Διαπίστευσης Αρ.732-4, κατά ΕΛΟΤ ΕΝ ISO/IEC 17020:2012,  ισχύει  μέχρι

την  09.02.2023.

Αθήνα,  25.07.2019

Κωνσταντίνος Βουτσινάς

Διευθύνων Σύμβουλος του ΕΣΥΔ